## Slide 1: Monthly ESIID Consumption Data Loading Reports IDR Protocol Compliance Verification Daily Public Load Estimation Counts

## Slide 2
How do they compare?
  Consumption Data Loading
  Monthly PDF file
  NIDR and IDR
  Report percentages of Active ESIIDs by profiled meter type with usage loaded by MRE by Trade Date in graphs
  NIDR - percentages for trade dates from data used in data aggregation
  IDR - percentages for 07/01/2003 – current calculated after data agg/settlements and usage data loading
  IDR - 1st trade date MRE is out of compliance reported in chart
  RMS requested report in 2002
  Ongoing maintenance to accommodate market changes and data range changes
  Load Estimation Counts
  Daily PDF and CSV file
  NIDR and IDR
  Report counts and percentages of Active ESIIDs by profiled meter type by MRE by Trade Date for actual, historical and default data used in data aggregation in chart
  Counts and percentages for each trade date run in batch two nights before
  SCR 725 public report
  Protocol Compliance
  Daily xls file
  IDR
  Percentage of Active ESIIDs by IDR profiled meter type with usage loaded by MRE by Trade Date in chart
  Produced only when running True Up Settlements/Re-Settlements
  Percentages for minimum True Up trade date in that day’s batch run + 29 days
  Protocol requirement

## Slide 3
Reports Summary
Redundant Information
  NIDR Consumption Data Loading percentage data and IDR Consumption Data Loading percentage data (bar graph) provided daily through the Public Load Estimation Counts Report
  IDR Protocol Compliance provides 30 days (minimum True Up Settlement + 29 days) of trade date percentages every day that True Ups are run
  Exclusive Information
  IDR Consumption Data Loading Report provides the first trade date that the MRE/Market falls out of compliance
  Public Load Estimation Counts Report provides counts of Active ESIIDs for Actual, Historical, and Default data used for each trade date settlement everyday (the detail behind the percentage)

## Slide 4
ERCOT Summary
  ERCOT has worked with one MP who contacted us regarding their transition from using the monthly Consumption Data Loading Reports to the daily Load Estimation Counts Reports
  The monthly Consumption Data Loading reports were discontinued in September 2004.

## Slide 5
Thank You