| PRR Number | 533PRR | PRR Title | Definition of Transmission Facility Owner |
| --- | --- | --- | --- |
| Date |  | November 2, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Curtis Crews |  |
| E-mail Address |  | ccrews@lcra.org |  |
| Company |  | LCRA |  |
| Company Address |  | 3505 Montopolis Drive |  |
| Phone Number |  | 512-356-6082 |  |
| Fax Number |  | 512-385-2146 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

Remove definition of Transmission Facility Owner (TFO) and associated references to TFO.  Leave in the wording “transmission facility owner” to help all Market Participants determine responsibilities associated with ownership.  The original intent of the PRR is preserved with this change.

Revised Proposed Protocol Language

- Section 2:  Definitions and Acronyms

- Section 8:  Planned Outages and Maintenance Outages of Transmission and Resource Facilities

### 8.3.8	Information for Inclusion in Transmission Facility Outage Requests

Transmission Facility Outage requests submitted by TSPs shall include the following Transmission Facility-specific information:

- The identification of the Transmission Facility, including TSP and location;

#### 8.8.2.1	TSP Information to be provided to ERCOT

The TSP shall notify ERCOT at least thirty (30) days before starting to energize or place into service any new or relocated Facility.  The Notice shall include:

(1	TSP performing work;

(2)	Identification of new, existing, or the removal of Transmission Facilities involved;

(3)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(4)	General statement of work being performed with intermediate progress dates and events identified;

(5)	Supervisory Control and Data Acquisition modification work;

(6)	Drawings, including:

  - Existing status;

  - For each intermediate stage; and

  - Proposed final configuration of Facilities identified in #2 above.

#### 8.8.2.4	Approval of Work Requiring Coordination

ERCOT shall maintain a record of all work approved in accordance with Section 8.8, Coordination for System Topology Modifications, and shall publish information on the MIS regarding each Transmission Facility installed or to be installed on the ERCOT Transmission Grid.

- Section 12:  Market Information System

#### 12.4.4.1	ERCOT Power Operations

##### 12.4.4.1.1  QSE, Resource, and TSP Responsibilities

QSEs, Resourcesand TSPs are required to provide power operation data to ERCOT including, but not limited to:

- Real Time generation data from QSEs;

- Planned Outage information from Resources;

- Network data used by any TSP’s control center, including:

  - Breaker and line switch status of all ERCOT Transmission Grid devices;

  - Line flow MW and MVAR;

  - Breaker, switches connected to all Resources;

  - Transmission Facility Voltages; and

  - Transformer MW, MVAR and TAP.

- Real Time generation and Load acting as a Resource meter data from QSEs;

- Real Time Generation meter splitting signal from QSEs;

- Planned Transmission Outage information from TSP;

- Network transmission data (model and constraints) from transmission facility owner or transmission facilty owner-designated TSP;

- Resource Plans from QSE; and

- Dynamic Schedules from QSEs;

Real Time data will be provided to ERCOT at the same scan rate as the TSP or QSE obtains the data from telemetry.  Transmission facility owner and transmission facility owner-designated TSP must notify ERCOT upon responsibility designation regarding power operation data.  Notification shall include list of network model data affected by designation.

##### 12.4.4.1.2	ERCOT Responsibilities

ERCOT is required to provide the following power operation data to TSPs, in accordance with confidentiality as defined in Section 1.3, Confidentiality of these Protocols:

      - Relevant information for the purpose of providing reliability as determined by ERCOT, including but not limited to:

        - Status of any breakers and switches in ERCOT's Real Time data base;

        - State estimator solutions;

        - Transmission line flows and voltages;

        - Transformer information;

        - QSE Resource data;

        - Voltage schedules at major transmission busses;

ERCOT will give notice to the Entities supplying the above list of data to ERCOT upon the initial provision of such data to the TSP.

#### 12.4.4.2	ERCOT Market Operations

##### 12.4.4.2.2	TSP Responsibility

TSPs are required to provide market operation data to ERCOT including but not limited to:

- Retail consumption data;

- Transmission Outage requests;

- Any system limitations information including line limits;

- New Transmission  construction information;

- New or updated Premise level (ESI ID) information;

##### 12.4.4.2.3	ERCOT Responsibility

ERCOT shall post both secure QSE specific market operation data and public information as follows:

###### 12.4.4.2.3.1	Secure ERCOT Posting

ERCOT is required to securely provide QSE specific market operation data to each QSE, including but not limited to:

- QSE AS Obligation and requirements;

- AS award messages;

- LSE Load Ratio Share by Congestion Zone;

- Instructed Ancillary Services deployment;

- Resource, including Load acting as a Resource, meter data from ERCOT Metered Entities;

- Aggregated Retail Load Data received by ERCOT from TSP;

- Settlement data for billing determinants;

- Settlement Statements;