| PRR Number | 554PRR | PRR Title | ERCOT Approval of Transmission System Outages |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 8.3.1, Approval of Planned Outage and Maintenance Outage of Transmission Facilities |  |
| Revision Description |  | Changes language to allow ERCOT to approve requested outages that may interrupt provision of a required reliability service such as Black Start service or RMR service if an alternate supplier is available. |  |
| Reason for Revision |  | It will increase ERCOT operations reliability by planning and seeking alternative approaches to approve requested outages that relate to Black Start service or RMR service. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No, there is no credit impact. |  |
| PRR Withdrawal Date |  | 11/5/04 |  |

| Sponsor |  |
| --- | --- |
| Name | Ricson Chai on behalf of Black Start Task Force |
| E-mail Address | skinchai@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive, Taylor, TX 76574 |
| Phone Number | 512-248-3128 |
| Fax Number | 512-248-3055 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Operations Support – Outage Coordinator. | None | Increase system reliability. |
| MARKET SEGMENT | None | None | Increase market reliability. |
| Consumer | None | None | None |
| LSE: General, Including NOIE | None | None | None |
| LSE: CR & REP | None | None | None |
| QSE | None | None | None |
| Resource | None | None | None |
| TDSP | None | None | None |

Proposed Protocol Language Revision

## 8.3	ERCOT Approval of Transmission System Outages

8.3.1	Approval of Planned Outage and Maintenance Outage of Transmission Facilities

Proposed Transmission Facility Planned Outage or Maintenance Outage information submitted by a TSP in accordance with this Section constitutes a request for ERCOT’s approval of the Outage schedule associated with the Planned Outage or Maintenance Outage.  ERCOT shall not be deemed to have approved the Outage schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP of its approval pursuant to procedures adopted by ERCOT.  ERCOT shall evaluate requests as set forth in Section 8.3.10, Evaluation of Transmission Facility Planned Outage or Maintenance Outage Requests.

ERCOT shall approve Planned Outages and accept Maintenance Outages of Transmission Facilities schedules unless, in ERCOT’s determination, the requested Outage would cause ERCOT to violate applicable reliability standards or would unnecessarily interrupt provision of a required reliability service such as Black Start Service or RMR Service which does not have an adequate alternative supplier for the time in question.  ERCOT shall transmit its approvals and rejections to TSPs via the ERCOT Outage coordination interface.  Once approved, ERCOT may not withdraw its approval except under the conditions described in Section 8.3.6, Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities.

8.3.2	Receipt of TSP Requests by ERCOT

ERCOT shall acknowledge each request for approval of a Transmission Facility Planned Outage schedule within two (2) Business Hours of the receipt of the request.  ERCOT may request additional information or seek clarification from the TSP regarding the information submitted for a proposed Planned Outage or Maintenance Outage for Transmission Facilities.