4.8	Network Operational Modeling and Telemetry

(1)	ERCOT shall use the physical characteristics, ratings, and operational limits of all elements of the ERCOT Transmission Grid as well as other information from the TSPs to specify limits within which the transmission network is defined in the network models made available to Market Participants and used to operate the ERCOT Transmission Grid.

(2)	The ERCOT market requires accurate modeling of transmission elements in order to send reasonably accurate Base Points and pricing signals to Market Participants.  ERCOT is responsible for managing the ERCOT Network Operational Model.  By providing Base Points and pricing signals by transmission bus to Market Participants, the Market Participants’ responses result in power flows on all transmission elements that ERCOT must monitor and, if necessary for reliability reasons, manage within ratings provided by the TSP and limits assigned by ERCOT.

(3)	TSPs and Resources shall provide ERCOT with equipment ratings and update the ratings as required by ERCOT.  ERCOT may request TSPs to provide detailed information on the methodology, including data for determination of each requested rating.  ERCOT may review and comment on the methodology.  ERCOT shall post ratings and methodologies to the extent practicable on the MIS Secure Area.  ERCOT may refer to NERC Standard 600 for applicable definitions and other information.

(4)	To the extent practicable, ERCOT shall strive to use consistent information in the various models used by ERCOT Operations, ERCOT Planning, and other workgroups.  To the extent practicable, ERCOT shall strive to utilize consistent names between the CRR Auction system and the Network Operational Model.  An independent audit will be performed at least annually to confirm that consistent information is used in all ERCOT Operations models to the extent practicable.

(5)	ERCOT shall use a Network Operational Model Change Request (NOMCR) process to control all information entering the Network Operational Model.  ERCOT shall track each request received from TSPs and Resources via the NOMCR process, through implementation and final testing of the change.  ERCOT shall notify each NOMCR requestor when the requested change is processed and implemented in accordance with Section 4.8.1, Timeline for Network Operational Model Change Requests.  ERCOT will also provide the submitting TSP a link to a network model containing the change for verifying the implementation of the NOMCR and associated one-line displays.  To the extent possible, ERCOT shall post all NOMCRs on the MIS Secure Area. When posting a NOMCR, each change should be posted using an industry standard data exchange format showing incremental changes to the last posted ERCOT network model, to facilitate TSPs and other Market Participants in updating their internal network models to reflect changes made at ERCOT. ERCOT shall also provide current status on the in-service date for the NOMCR and will also update the status when the change has been implemented. The following process flow chart is provided to help clarify this process and its relationship to the table contained in Section 4.8.1.

(6)	ERCOT will provide assurance that the Network Operational Model is updated according to the provisions of this Section and coordinated with the Planning Models for consistency to the extent applicable.

(7)	TSPs and Resources must receive approval from ERCOT of an NOMCR prior to connection of any associated equipment to the ERCOT Transmission Grid.    ERCOT shall give feedback to the requestor who has submitted an incomplete or indeterminate NOMCR, and the requestor may correct the request if the corrections are received by the required submittal date. ERCOT will make this information available on the MIS Secure Area. On receipt of the information set forth in Section 4.8.6	ERCOT System Modeling Requirements, ERCOT shall review the information and notify the TSP and Resource Entities of any required modifications.  ERCOT may, at its discretion, require changes to and more details regarding the work plan for the NOMCR.  The requesting TSP shall consult with other Entities likely to be affected and shall revise the work plan, following any necessary or appropriate discussions with ERCOT and other affected Entities.  ERCOT shall approve or reject the request, including any revisions made by the TSP, within fifteen (15) days of receipt of the complete request and any revisions.  Following ERCOT approval, where appropriate, ERCOT shall publish a summary of the NOMCR on the MIS Secure Area.

(8)	The TSP shall notify ERCOT and any other affected TSPs as soon as practicable of any requested changes to the work plan.  ERCOT shall review and approve or reject changes to the work in accordance with this section. ERCOT will post all changes to the MIS Secure Area after they have been approved by ERCOT.

4.8.1	Time Line for Network Operational Model Change Requests

(1)	ERCOT shall perform periodic updates to the ERCOT Network Operational Model.  Market Participants may provide Network Operational Model updates to ERCOT to implement planned transmission and Resource construction one (1) year before the required submittal date in Section 4.8.1(4) below.  TSPs and Resource Entities must timely submit Network Operational Model changes per the schedule in Section 4.8.1, Time Line for Network Operational Model Change Requests, paragraph (4), to be included in these updates.

(2)	ERCOT shall update the Network Operational Model based on the table below.  For a Facility addition, revision, or deletion to be included in any Network Operational Model update, all technical modeling information must be submitted to ERCOT per the ERCOT NOMCR process before the deadlines in this section.

(3)	Updates to the Network Operational Model will be made according to the following table.

| Deadline to Submit Information to ERCOT 1 | Model Complete and Available for Test 2 | Updated Network Operational Model Testing Complete3 | Update Network Operational Model Production Environment | Target Physical Equipment In-Service Date 4 |
| --- | --- | --- | --- | --- |
| Jan 1 | Feb 15 | March 15 | April 1 | Month of April |
| Feb 1 | March 15 | April 15 | May 1 | Month of May |
| March 1 | April 15 | May 15 | June 1 | Months of June–August SUMMER MODEL |
| June 1 | July 15 | August 15 | September 1 | Month of September |
| July 1 | August 15 | September 15 | October 1 | Month of October |
| August 1 | September 15 | October 15 | November 1 | Month of November |
| September 1 | October 15 | November 15 | December 1 | Month of December |
| October 1 | November 15 | December 15 | January 1 | Month of January (the next year) |
| November 1 | December 15 | January 15 | February 1 | Month of February (the next year) |
| December 1 | January 15 | February 15 | March 1 | Month of March (the next year) |

Notes:

1.	Transmission and Resource data submissions complete per ERCOT Network Operational Model Change Request process for inclusion in next update period.

2.	Network Operational Model data changes and preliminary fidelity test complete.  The test version of the Network Operational Model will be available for market review and test.

3.	Testing of the Network Operational Model by Market Participants is complete.

4.	Updates include changes starting at this date and ending within the same month.

(4)	In order to allow for construction schedules, each TSP’s NOMCR should be packaged as a single package describing an incremental change, using an industry standard data exchange format. A package should contain a series of instructions that define the changes that need to be made to implement a network model modification. It is expected that this would take the form of sequential change packages which effect appropriate changes in the model. Each package will be verified for completeness and accuracy prior to the period it is to be implemented. ERCOT will have a system to manage the packages loaded into the network model so that each package can be enabled as required to update the network model, as each construction phase is completed. Each NOMCR should also be associated with commands to update the graphical displays associated with the network model modification. It is understood that due to the nature of construction projects that the sequencing of the packages can get out of order during the operating period. ERCOT along with the reporting TSP will work to correct any problem as it occurs during the operation period. During the testing phase, each NOMCR will be tested for proper sequencing and its affects on down stream applications.

4.8.2	Annual Planning Model <Donohoo – pls look at this section for Round 2.>

(1)	ERCOT shall develop an annual model for planning purposes that contains, as much as practicable, the same information as the Network Operational Model.

(2)	ERCOT shall perform updates to the ERCOT Annual Planning Models for each of the next five years as follows:

(a)	Annual Planning Model updates are due September 1st;

(b)	The Annual Planning Models are released October 1st.

(c)	Models used for CRR auctions as described in Section 7, Congestion Revenue Rights, with updates due a minimum of two (2) months in advance.

(3)	ERCOT will make available to TDSPs and all appropriate Market Participants, consistent with applicable policies regarding release of critical energy infrastructure information (CEII), the transmission model used in transmission planning. ERCOT will provide model information through the use of the Electric Power Research Institute (EPRI) and NERC sponsored “Common Information Model” and web based XML communications.

{Fidelity Requirements for Transmission Element Modeling in Planning Systems 0510} Language revised from whitepaper in (3) above. ERCOT will perform periodic updates to the ERCOT planning models. ERCOT will establish a detailed submittal schedule for updating transmission information. Such information and the model will be provided to Market Participants six (6) months prior to the annual and two-year CRR auctions.

4.8.3	ERCOT Responsibilities

(1)	ERCOT shall design, install, operate, and maintain its systems and establish applicable related processes to meet the TAC-approved State Estimator (SE) performance standard for transmission elements that under typical system conditions potentially affect the calculation of LMPs as described in Section 4.9.8, Telemetry Criteria and State Estimator Performance Standard.  ERCOT shall post all relevant documents relating to the State Estimator Performance Standard on the MIS Secure Area.

(2)	During Real-Time, ERCOT shall calculate LMPs and take remedial actions to ensure that actual flow on a given transmission element is less than the Normal Rating and any calculated flow due to a contingency is less than the applicable Emergency Rating and 15-Minute Rating.

(3)	ERCOT shall install a test facility that accommodates execution of the State Estimator and LMP calculator with a model data set before that model is loaded into the active system.  The test facility will require Real-Time ICCP and SCADA links to test the state estimation function using actual Real-Time conditions with data uploads from the production system providing QSE Resource offers, TSP outage schedules, Current Operating Plans, etc.  The test system should also be able to perform Load flows and contingency analysis to test the new data set representation of a new transmission model.  ERCOT shall acquire model comparison software that will indicate all differences between the current and new model and shall make provisions to post this information to market participants during the “mirror” test run.  This comparison shall indicate differences in device parameters, missing or new devices, and status changes.

(4)	When implementing transmission system element changes, ERCOT shall correct errors uncovered during testing that are due to submission of inaccurate information.  TSPs are required to provide reasonably accurate information at the time of the original submission.  ERCOT may update the model on an interim basis, outside of the timeline described in Section 4.8.1, Time Line for Network Operational Model Change Requests, for the correction of temporary configuration changes in a system restoration situation, such as after a storm, or correction of impedances and ratings.  Interim updates to the Network Operational Model caused by unintentional inconsistencies of the model with the physical transmission grid may be made.  Upon such an interim update, ERCOT shall report changes to the PUCT Market Oversight Division and the Independent Market Monitor, and ERCOT shall provide Notice via electronic means to all Market Participants and post on the MIS Secure Area detailing the changed model information and the reason for the interim update.

(5)	ERCOT shall make available to TSPs and other Market Participants, consistent with applicable policies regarding release of Critical Energy Infrastructure Information (CEII), the full transmission model used to manage the reliability of the transmission system as well as proposed models to be implemented at a future date.  ERCOT shall provide model information through the use of the Electric Power Research Institute (EPRI) and NERC-sponsored Common Information Model (CIM) and Web-based XML communications.

4.8.4	TSP Responsibilities

(1)	TSPs shall design, implement, operate, and maintain their systems to meet the TAC-approved ERCOT Telemetry Criteria pursuant to Section 4.8.6.4, Continuous Telemetry, for measurements facilitating the observability of the Resource and Load Nodes used for SCED.  However, there is no obligation to re-construct or retrofit already existing installations except as shown to be needed in order to achieve TAC-approved observability criteria and SE performance standard.

(2)	TSPs shall add telemetry at ERCOT’s request to maintain observability and redundancy requirements as specified herein, including Section 4.8.6.4, Continuous Telemetry, and Section 4.8.8, Telemetry Criteria and State Estimator Performance Standard.  ERCOT shall request such additions when a lack of data telemetry has caused, or can be demonstrated to result in, inaccuracies between real-time measurements and modeling outcomes that could result in incorrect LMP prices or potential reliability problems.

4.8.5	Resource Entity Responsibilities

(1)	QSEs and Resource Entities shall provide ERCOT and TSPs with information describing each Generation Resource and Load Resource connected to the transmission system that it represents pursuant to Section 4.8.6.2, Modeling of Resources and Transmission Loads.

(2)	Resource Entities will provide information on step-up transformers to TSPs pursuant to Section 4.8.6.1.4, Transmission Transformers.

    - ERCOT System Modeling Requirements

(1) 	The TSP shall notify ERCOT via the Market Information System of any changes in system topology or telemetry per the schedule in 4.8.1. This notification is part of the NOMCR and should include the following information.

(a)	TSP performing work;

(b)	Station identification code;

(c)	Identification of existing Transmission Facilities involved and new Transmission Facilities (if any) being added or existing Transmission Facilities being permanently removed from service;

(d)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(e)	General statement of work to be completed with intermediate progress dates and events identified;

(f)	Supervisory Control and Data Acquisition modification work providing information on equipment being installed, changed, or monitored;

(g)	Complete descriptions of any new data telemetry points or changes to existing telemetry;

(h)	Procedure for reporting work accomplished, including reporting to ERCOT, TSP, and the QSE representing any Resources involved;

(i)	General description of the method to be used to energize and test planned/relocated Transmission Facilities;

(j)	In-service testing, including:

(i)	Procedure to be performed; and

(ii)	Notice of testing completion.

(k)	Statement of completion, including:

(i)	Statement to be made at the completion of each section of program; and

(ii)	Statement to be made at completion of total project.

(l)	Drawings, including:

(i)	Existing status;

(ii)	Each intermediate stage; and

(iii)	Proposed final configuration.

(2)	The following sections contain the fidelity requirements that should also be contained in the NOMCR.

4.8.6.1	Modeling of Transmission Elements and Parameters

(1)	ERCOT, TSPs, and Resource Entities shall coordinate to define each transmission system element such that the TSP’s control center operational model and ERCOT’s Network Operational Model are consistent.  Transmission system elements include lines, buses, breakers, automated and manual switches, transformers connected between transmission voltages, generator step-up transformers, reactors, capacitor banks, and Resource Facilities.

(2)	Each element must have a unique identifier mutually developed between ERCOT and TSPs with TAC approval.  In addition to the Network Operational Model releases described in Section 4.8.1, Time Line for Network Operational Model Change Requests, ERCOT shall provide all names and parameters of all transmission elements to Market Participants posted on MIS Secure Area.

(3)	If the responsible TSP submits an NOMCR for non-operational changes, such as name changes for transmission elements, ERCOT shall strive to implement the request.

4.8.6.1.1	Transmission Lines

(1)	ERCOT shall model each transmission line that operates in excess of 60kV.

(2)	For each of its transmission lines operated as part of the ERCOT Transmission Grid, each TSP shall provide ERCOT with the following information consistent with the ratings methodology prescribed in the ERCOT Operating Guides:

(a)	Equipment owner(s),

(b)	Equipment operator(s),

(c)	Element name,

(d)	Line impedance,

(e)	“From” and “to” bus information,

(f)	Line type (overhead or cable), and

(g)	Normal Rating, Emergency Rating, and 15-Minute Rating.

(3)	The TSP may submit special transfer limits and stability limits for secure and reliable grid operations for ERCOT approval.  ERCOT has sole decision-making authority and responsibility to determine the limits that will be applied in grid operations.

(4)	The TSP may implement protective relay and control systems, setting values appropriate to de-energize faulted equipment and meet TSP obligations for public or employee safety and when necessary to prevent in-service or premature equipment failure consistent with Good Utility Practice and accepted industry standards.  TSP will include such limits when providing ERCOT with ratings or proposed transfer limits.

(5)	The Network Operational Model must use rating categories for transmission elements as defined in the ERCOT Operating Guides.

4.8.6.1.2	Transmission Buses

(1)	ERCOT shall model each transmission bus that operates as part of the ERCOT Transmission Grid in excess of 60kV required to model switching stations or transmission loads.

(2)	Each TSP shall provide ERCOT with the following information:

(a)	Equipment owner(s),

(b)	Equipment operator(s),

(c)	The element name,

(d)	The substation name, and

(e)	A description of all transmission circuits that may be connected through breakers or switches.

(3)	To accommodate the Outage Scheduler, the TSP may define a separate name and element for any bus that can be physically separated by a manual switch or breaker within a substation.  Breakers and switches may only be connected to defined buses.

4.8.6.1.3	Transmission Breakers and Switches

(1)	ERCOT’s Network Operational Model shall include all transmission breakers and switches, the operation of which may cause a change in the flow on transmission lines or transmission load buses.  Breakers and switches may only be connected to defined buses.

(2)	Each TSP shall provide ERCOT with the following information:

(a)	Equipment owner(s),

(b)	Equipment operator(s),

(c)	The element name,

(d)	The substation name,

(e)	Connectivity, and

(f)	Normal status.

(3)	ERCOT shall develop methods to accurately model changes in transmission line loading resulting from Load rollover schemes transferring more than ten (10) MW.  This may include modeling distribution circuit breakers, dead line sensing, or other methods that signal when the load should be transferred from one transmission line to another transmission line.  ERCOT may employ heuristic rule sets for all manual load transfers and for automated transfers where feasible.  ERCOT application software is required to model the effects of automatic or manual schemes in the field transfer load under line outage conditions.  TSPs shall define the load rollover schemes pursuant to Section 4.8.6.2, Modeling of Resources and Transmission Loads, and furnish this information to ERCOT.  Any transmission field (right-of-way) switches must be connected to a named transmission bus and be included in the Network Operational Model.

4.8.6.1.4	Transmission and Generation Resource Step-Up Transformers

(1)	ERCOT shall model all transformers with a nominal low side (i.e., secondary, not tertiary) voltage above 60 kV and Generation Resource step-up transformers.  Each TSP and Resource Entity shall provide ERCOT with information to accurately describe each transformer in the Network Operational Model including any tertiary load.

(2)	Each TSP and Resource Entity shall provide ERCOT with the following information:

(a)	Equipment owner(s),

(b)	Equipment operator(s),

(c)	The element name,

(d)	The substation name,

(e)	Winding ratings,

(f)	Connectivity, and

(g)	Transformer parameters, including all tap parameters.

(3)	ERCOT shall model all Generation Resource step-up transformers greater than ten (10) MVA to provide for accurate representation of generator voltage control capability including the capability to accept a system operator entry of a specific no-load tap position, or if changeable under load, accept telemetry of the current tap position.

(4)	The Generation Entity shall provide parameters for each step-up transformer to ERCOT, which shall provide the information to TSPs.  TSPs shall coordinate with the generator operators of the Resources connected to their respective systems to establish the proper transformer tap positions (no-load taps) and report any changes to ERCOT using the NOMCR process or other ERCOT prescribed means.

(5)	ERCOT shall make available to all Market Participants information regarding all transformers represented in the Network Operational Model through the MIS Secure Area.

4.8.6.1.5	Reactors, Capacitors, and other Reactive Controlled Sources

(1)	ERCOT shall model all controlled reactive devices. Market Participants shall provide ERCOT with complete information on each device’s capabilities and normal switching schema.

(2)	Each Market Participant shall provide ERCOT with the following information:

(a)	Equipment owner(s),

(b)	Equipment operator(s),

(c)	The element name,

(d)	The substation name,

(e)	Voltage or time switched on,

(f)	Voltage or time switched off,

(g)	Associated switching device name,

(h)	Connectivity, and

(i)	Nominal voltage and associated capacitance or reactance.

(3)	The ERCOT Operating Guides must include parameters for standard reactor and capacitor switching plans for use in the Network Operational Model.  ERCOT shall model the devices pursuant to Section 4.8.3, ERCOT Responsibilities, in all applicable ERCOT applications and systems.  ERCOT will provide copies of the switching plan to the Market Participants via the MIS Secure Area.  Any change in TSP guidelines or switching plan must be provided to ERCOT prior to implementation (except for emergency). Any change in guidelines or switching plan will be provided in accordance with the NOMCR process or other ERCOT-prescribed process.

4.8.6.2	Modeling of Resources and Transmission Loads

(1)	Resource Entities shall provide ERCOT and TSPs with information describing each Generation Resource and Load Resource connected to the transmission system.  All Generation Resources greater than ten (10) MW, Generation Resources less than ten (10) MW but providing Ancillary Services, and the Non-TSP owned step-up transformers greater than ten (10) MVA, must be modeled to provide generation injections to the ERCOT Transmission Grid.  ERCOT shall coordinate the modeling of Generation Resources and Load Resources with their owners to ensure consistency between TSP models and ERCOT models.

(2)	TSPs shall provide ERCOT with information describing all transmission Load Connections on the ERCOT Transmission Grid.  Individual load connections may be combined internal to a station, at the discretion of ERCOT, with other load connections on the same transmission line to represent a Model Load to facilitate state estimation of Loads that do not telemeter load measurements.  ERCOT shall define Model Loads, which may be one or more combined Loads, for use in its Network Operational Model.  A Model Load cannot be used to represent Load Connections that are in different Load Zones.

(3)	ERCOT may require TSPs to provide additional load telemetry to provide adequate modeling of the transmission system in accordance with Section 4.8.6.4, Telemetry Criteria.  When the TSP does not own the station that additional load telemetry is being requested for, the TSP will identify to ERCOT the owner so that ERCOT can request that the owner makes telemetry available to the TSP for providing to ERCOT.

The TSPs shall also provide information to ERCOT information describing automatic load transfer (rollover) plans and the events that trigger which loads are switched to other transmission elements on detection of outage of a primary transmission element.    ERCOT shall be responsible for accommodating load rollover plans in the Network Operational Model

(4)	Loads on the same bus as a Generation Resource and served through a transformer owned by the Generation Entity are treated as an auxiliary Load and must be netted first against any generation meeting the requirements pursuant to Section 10.3.2.3, Generation Netting for EPS Meters.

4.8.6.3	Definition of Special Protection Systems and Remedial Action Plans

(1)	All Special Protection Systems (SPS) and Remedial Action Plans (RAP) used by ERCOT and the TSPs to maintain a secure system must be defined in the Network Operational Model.

(2)	Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval by ERCOT and all directly affected TSPs and Resource Entities in accordance with the procedures in the ERCOT Operating Guides.  Once a new or changed SPS or RAP is approved by ERCOT and all directly affected TSPs and Resource Entities, the TSP shall submit the approved SPS or RAP to ERCOT using an NOMCR or other ERCOT prescribed process.  The NOMCR or other ERCOT prescribed process must include a detailed description of the system conditions required to implement the SPS or RAP.  Execution of an SPS or RAP must be included or assumed in the calculation of LMPs as well as the Network Operational Model.  To the extent possible, ERCOT shall post all approved SPSs and RAPs on the MIS Secure Area.

(3)	ERCOT shall model, and include in the Security Analysis, approved SPSs and RAPs, where feasible, to increase the utilization of the transmission system.

4.8.6.4	Telemetry Criteria

(1)	The appropriate TAC subcommittee shall establish a task force that is open to all Market Participants, comprised of technical experts to develop a set of Telemetry Criteria consistent with the minimum requirements of the Protocols.  TAC shall approve a set of Telemetry Criteria and the appropriate TAC subcommittee shall update the Telemetry Criteria annually each October or more often on a periodic basis as deemed necessary.

(2)	The Telemetry Criteria must define the performance and observability requirements of voltage and power flow measurements, including requirements for redundancy of telemetry measurement data, necessary to support the State Estimator in meeting the approved performance standard, and to support TAC-approved accuracy standards for the calculation of LMPs.

(3)	The telemetry provided to ERCOT by TSPs must be updated at a ten (10) second or less scan rate and be provided to ERCOT at the same rate.  TSPs and QSEs shall install appropriate condition detection capability to notify ERCOT of potentially incorrect data from loss of communication or scan function.  Condition codes must accompany the data to indicate its quality and whether the data has been measured within the scan rate requirement.  Also, ERCOT shall analyze data received for possible loss of updates.  Similarly, ERCOT shall provide condition detection capability on loss of telemetry links with the TSPs and QSEs.  ERCOT will use data from TSPs and QSEs to provide a consistent representation of data condition codes for applicable ERCOT applications.

(4)	TSPs and QSEs shall use fully redundant data communication links (ICCP or RTU) between their control center systems and ERCOT systems such that any single element of the communication system can fail and:

(a)	For server failures, complete information will be re-established within five (5) minutes by automatic failover to alternate server(s); and

(b)	For all other failures, complete information will continue to flow between a TSP’s, QSE’s, and ERCOT’s control centers with updates of all data continuing at a thirty (30) second or less scan rate.

(5)	When ERCOT identifies a reliability concern, a deficiency in system observability, or a deficiency in measurement to support the representation of Model Loads and that concern or deficiency is not due to any inadequacy of the State Estimator program, ERCOT may request that Market Participants provide additional telemetry measurements, beyond those required by the Telemetry Criteria, in a reasonable time frame for providing such measurements.  Such requests must be submitted to the Market Participant with a written justification for the additional telemetry measurements.  Such written justification must include documentation of the deficiency in system observability or representation of Model Loads.  In making the determination to request additional telemetry measurements, ERCOT shall consider the economic implications of inaccurate representation of Load Models in LMP results versus the cost to remedy.

(6)	Within thirty (30) days of submittal by ERCOT to a Market Participant with a written request justifying additional telemetry measurements, the Market Participant shall either (a) provide ERCOT an analysis of the cost to comply with the request, so that, ERCOT can perform a cost justification with respect to the LMP market; or, (b) if the Market Participant disagrees with the request, appeal such request to TAC or present an alternate solution to ERCOT for consideration.  Lack of a response by the Market Participant shall constitute agreement by the Market Participant with the request.  ERCOT shall use the designated contact positions from each Market Participant for this purpose.  If ERCOT rejects the alternate solution, the Market Participant may appeal the original request to TAC within thirty (30) days.  If, after receiving an appeal, TAC does not resolve the appeal within sixty-five (65) days, the Market Participant may present its appeal to the ERCOT Board.  Notwithstanding the foregoing, a Market Participant is not required to provide telemetry measurements from a location not owned by that Market Participant, if the location owner does not grant access to the Market Participant for the purpose of obtaining such measurements.  ERCOT will report such cases to the Independent Market Monitor.

4.8.6.4.1	Continuous Telemetry of the Status of Breakers and Switches

(1)	Market Participants shall provide telemetry, as described herein, to ERCOT on the status of all breakers and switches used to switch any transmission element or load modeled by ERCOT.   Market Participants are not required to install telemetry on individual breakers and switches, if the telemetered status shown to ERCOT is current and free from ambiguous changes in state caused by Market Participant switching operations and Market Participant personnel.  Market Participants shall update the status of any breaker or switch through manual entries, if necessary, to communicate the actual current state of the device to ERCOT, except if the change in state is expected to return to the prior state within one (1) minute.  If in the sole opinion of ERCOT, the manual updates of the Market Participant have been unsuccessful in maintaining the accuracy required to support State Estimator performance to a TAC-approved predefined standard as described in Section 4.8.8, Telemetry Criteria and State Estimator Performance Standard, ERCOT may request that the Market Participant install complete telemetry from the breaker or switch to the Market Participant, and then to ERCOT.  In making the determination to request installation of additional telemetry from a breaker or switch, ERCOT shall consider the economic implications of inaccurate representation of Load Models in LMP results versus the cost to remedy.

(2)	ERCOT shall measure Market Participant performance in providing accurate data free from ambiguous changes in state and shall report the performance metrics on the MIS Secure Area to all Market Participants.

(3)	Unless there is an emergency condition, Market Participants shall obtain approval from ERCOT to purposely open a breaker or switch unless that breaker or switch is shown in a Planned Outage in the Outage Scheduler, or the device will return to its previous state within one minute. Also, Market Participants shall obtain approval from ERCOT before closing any breaker or switch, except in response to a Forced Outage, or an emergency, or the device will return to its previous state within one minute.

(4)	ERCOT shall monitor the data condition codes of all breakers and switches showing loss of communication or scan function in the Network Operational Model.  When the telemetry of breakers and switches is lost, ERCOT shall use the last known state of the device for Security Analysis as updated by the Outage Scheduler and through verbal communication with the Market Participant.  ERCOT’s systems must identify probable errors in switch or breaker status and ERCOT shall act to resolve or correct such errors in a timely manner as described in Section 6.

(5)	ERCOT shall establish a system that provides alarms to ERCOT operators when there is a change in status of any monitored transmission breaker or switch, and an indication of whether the device change of status was planned in the Outage Scheduler.  ERCOT operators shall monitor any changes in status not only for reliability of operations, but also for accuracy and impact on the operation of the Security Constrained Economic Dispatch functions and subsequent potential for calculation of inaccurate LMPs.

4.8.6.4.2	Continuous Telemetry of the Real-Time Measurements of Bus Load, Voltages, Tap Position, and Flows

(1)	TSPs shall provide telemetry, as described herein, of voltages, flows, and Loads on any modeled transmission element to the extent such may be required to estimate all transmission Load withdrawals and generation injections to and from the ERCOT Transmission Grid using the State Estimator and as needed to achieve the TAC-approved SE performance standard with consideration given to the economic implications of inaccurate LMP results versus the cost to remedy.

(2)	TSPs shall provide telemetered measurements on modeled transmission elements to ensure State Estimator observability, per TAC-approved Telemetry Criteria, of any monitored voltage and power flow between their associated transmission breakers to the extent such can be shown to be needed in achieving the TAC-approved SE performance standard.  On monitored non-Load transmission buses, TSPs shall install, at the direction of ERCOT, sufficient telemetry such that there is an N-1 Redundancy.  An N-1 Redundancy exists if the transmission bus remains observable on the loss of any single measurement pair (kW, kVar) excluding station RTU communication path failures.    In making the determination to request additional telemetry, ERCOT shall consider the economic implications of inaccurate representation of Load Models in LMP results versus the cost to remedy.

(3)	The accuracy of the State Estimator is critical to successful market operations.  For this reason it is a critical objective for ERCOT to maintain reasonable and accurate results of the State Estimator.  ERCOT shall use all reasonable efforts to achieve that objective, including the provision of legitimate constraints used in calculating LMPs.

(4)	Market Participants and ERCOT staff shall develop a continuously operated program to maintain telemetry of all transmission element measurements to provide for accurate results in accordance with TAC-approved accuracy standards from the State Estimator.  For any location where there is a connection of multiple, measured, transmission elements, ERCOT shall have an automated process to detect and notify ERCOT system operators if the residual sum of all telemetered measurements is more than (i) five percent (5%) of the largest line rating at the bus or (ii) five (5) MW, whichever is greater.  If a location chronically fails this test, ERCOT shall notify the applicable Market Participant and suggest actions that the Market Participant could take to correct the failure.  Within thirty (30) days, the Market Participant shall take the actions necessary to correct the failure or provide ERCOT with a detailed plan with a projected timeframe to correct the failure.  ERCOT shall post a notice on the MIS Secure Area of any buses not meeting TAC-approved accuracy requirements, including a list of all measurements and the residual errors.

(5)	ERCOT shall use a Study Mode State Estimation System with special tools designed for troubleshooting and tuning purposes.  ERCOT shall implement a process to recognize inaccurate State Estimator results and shall create and implement alternative real-time LMP calculation processes for use when inaccurate results are detected.  ERCOT will be guided in this by TAC-approved accuracy standards.

(6)	ERCOT shall establish a system to provide overload and over/under limit alarming on all transmission elements monitored as constraints in the LMP models.

4.8.7	Dynamic Ratings

(1)	ERCOT will use Dynamic Ratings in place of the Normal Rating, Emergency Rating and 15-Minute Rating as applicable as provided under (a) or (b) below for transmission elements established in the Network Operational Model.

(a)	A TSP may provide Dynamic Ratings via ICCP for implementation in the next Operating Hour.  ERCOT shall use the Dynamic Ratings in its SCADA alarming, real-time Security Analysis, and SCED process.  In addition, the TSP shall provide ERCOT with a table of equipment rating versus temperature for use in operational planning studies.

(b)	TSPs may alternatively elect to provide ERCOT with a table of equipment rating versus temperature and a temperature values in Real-Time for each Weather Zone in which the transmission element is located.  ERCOT shall apply the table of temperature and rating relationships and ERCOT’s current temperature measurements to determine the rating of each such designated piece of equipment for each Operating Hour.  ERCOT shall use the TSP provided table for use in operational planning studies.

(2)	Each Operating Hour, ERCOT shall post on the MIS Secure Area updated Dynamic Ratings adjusted for the current temperature.

(3)	ERCOT may request that a TSP submit temperature-adjusted ratings on up to twelve (12) additional transmission elements per year that ERCOT identifies as contributing to significant congestion costs.  The TSPs shall provide the additional ratings within two (2) months of such a request using one of the two mechanisms for supplying temperature-adjusted ratings identified above.  Ratings for transmission elements operated by multiple TSPs must be supplied by each TSP that has control.  ERCOT shall use the most limiting rating and report the circumstance to the Independent Market Monitor.

4.8.7.1	Dynamic Ratings Delivered via ICCP

(1)	The TSP shall supply the following, via ICCP, updated every sixty (60) minutes:

(a)	Line ID;

(b)	From station;

(c)	To station; and

(d)	Each of the three ratings: Continuous Rating, Emergency Rating, and 15-Minute Rating.

(2)	ERCOT shall link each provided line rating with the ERCOT Network Operational Model and implement the ratings for the next Operating Hour.  ERCOT shall use the Dynamic Ratings in its SCADA alarming, real-time Security Analysis, and SCED process.  When the telemetry is not operational, ERCOT will use the last provided Dynamic Ratings from the TSP, which may be updated via telephone.

4.8.7.2	Dynamic Ratings Delivered via Static Table and Telemetered Temperature

(1)	ERCOT shall define a set of tables implementing the dynamic characteristics provided by the TSP of selected transmission lines, including:

(a)	Line ID;

(b)	From station;

(c)	To station;

(d)	Weather Zone;

(e)	TSP; and

(f)	Each of the three ratings: Continuous Rating, Emergency Rating, and 15-Minute Rating.

(2)	ERCOT shall link each transmission line defined in these tables to one SCADA point providing the temperature used to calculate Dynamic Ratings.  The TSPs shall provide a current temperature for each applicable Weather Zone through SCADA telemetry.  ERCOT shall determine the appropriate rating based upon the telemetered temperature, and adjust the Continuous Rating, Emergency Rating, and 15-Minute Rating within five (5) minutes of receipt for the next Operating Hour.  ERCOT shall use the Dynamic Ratings in its SCADA alarming, real-time Security Analysis, and SCED process.  On loss of telemetry, the TSP will manually provide updated temperatures to ERCOT for entry in the SCADA system.

4.8.7.3	Dynamic Rating Network Operational Model Change Requests

(1)	ERCOT shall use the NOMCR-based process by which TSPs provide electronically to ERCOT the dynamic rating table described in Section 4.8.7.2, Dynamic Ratings Delivered via Static Table and Telemetered Temperature, electronically to ERCOT.  ERCOT shall provide a system that allows secure access for TSPs and Market Participants, maintains a log of data provided and the provider, and implements the new dynamic rating automatically within twenty-four (24) hours of receipt.

4.8.7.4	ERCOT Responsibilities Related to Dynamic Ratings

(1)	ERCOT shall provide a system to accept and implement Dynamic Ratings or temperatures that will be applied to rating tables for each hour in the Day Ahead and the Operating Hour.  ERCOT shall also:

(a)	Provide software and processes to implement these Dynamic Ratings as described above; and

(b)	Use Dynamic Ratings for alarming, compliance with ERCOT and NERC requirements, and SCED purposes in both Real-Time Operations and operational planning.

(2)	ERCOT shall identify additional transmission elements that have a high probability of providing significant added economic efficiency to the ERCOT market through Dynamic Rating and request such Dynamic Ratings from the associated TSP.

4.8.7.5	Transmission Provider Responsibilities Related to Dynamic Ratings

(1)	Each TSP shall:

(a)	Provide ERCOT with tables of ratings for different ambient temperatures for up to a maximum of twelve (12) new lines per year, as required by ERCOT.

(b)	Submit within two (2) months a temperature adjusted rating table when a request is received from ERCOT unless multiple requests are made by ERCOT within the 2-month period or unusual circumstances prevent the request from being accommodated in a timely fashion.  Such circumstances must be explained to ERCOT in writing and will be posted by ERCOT.

(c)	Provide Real-Time temperatures for each Weather Zone in which the TSP has existing dynamically rated transmission equipment, or alternatively provide rating updates for each temperature-adjusted line rating updated at least once every ten (10) minutes.

4.8.8	State Estimator Performance Standard

(1)	The appropriate TAC subcommittee shall establish a task force that is open to Market Participants, comprised of technical experts to develop a State Estimator Performance Standard consistent with the minimum requirements of the Protocols.  TAC shall approve the State Estimator Performance Standards, and the appropriate TAC subcommittee shall update the State Estimator Performance Standards annually each October or more often on a periodic basis as deemed necessary.

(2)	The State Estimator Performance Standard must define the performance requirements necessary to provide State Estimator results within a TAC-defined level of confidence and results for LMP calculation that meet TAC-approved accuracy standards.  The appropriate TAC subcommittee shall coordinate with Market Participants to ensure a common understanding of the level of State Estimator performance required to enable LMP calculation that meets TAC-approved accuracy standards.  Further, this standard must address the State Estimator’s ability to detect, correct, or otherwise accommodate communications system failures, failed data points, stale data condition codes, and missing or inaccurate measurements to the extent these capabilities contribute to LMP accuracy and State Estimator performance or as needed to meet reliability requirements.

4.8.8.1	Considerations for Performance Standards

(1)	In development of the State Estimator Performance Standard recommendations to TAC, the following may be considered:

(a)	Desired confidence levels of State Estimator results.

(b)	Measurement requirements to estimate power injections and withdrawals at transmission voltage buses defined in the SCED transmission model, which may provide for variations in criteria based on:

(i)	The number of transmission elements connected to a given transmission voltage node;

(ii)	The peak demand of the load connected to a transmission voltage node;

(iii)	The total of Resource capacity connected to a transmission voltage node;

(iv)	The nominal transmission voltage level of a node;

(v)	The number of nodes with injections or withdrawals along a circuit between currently monitored transmission voltage nodes;

(vi)	Connection of loads along a continuous, non-branching circuit that may be combined for modeling purposes;

(vii)	The quantity of load at a node that may have its connection to the transmission system automatically transferred to a node other than the one to which it is normally connected (rollover operation);

(vii)	Electrical proximity to more than one Resource node;

(viii)	Degree or quality of continued observability following the loss of telemetry measurements resulting from a common mode failure of telemetry-related equipment (i.e., an n-1 telemetry condition); and

(ix)	Other parameters or circumstances, as appropriate;

(c)	Sensitivity of State Estimator results with respect to variations in input parameters;

(d)	Does this need to be here??;

(e)	Reasonable safeguards to assure State Estimator results are calculated on a non-discriminatory basis; and

(f)	Other parameters as deemed appropriate.

4.8.8.2	Telemetry and State Estimator Performance Monitoring

(1)	ERCOT shall monitor the performance of the State Estimator, Network Security Analysis, SCED, and LMP Calculator.  ERCOT shall post a monthly report of these items on the MIS Secure Area.