September 22, 2004 OWG Meeting Minutes

Attendance:

Jack Thormahlen	LCRA			QSE	Jack.Thormahlen@LCRA.org

David Darnell	CPS/Chair OGRTF	TO	Dadarnell@cps-ems.com

James Hinson	ERCOT				Jhinson@ercot.com

Stephen C. Knapp	Constellation	QSE	Steve.Knapp@constellation.com

Rick Keetch 	Reliant Energy											Chair OWG&ROS	QSE	rkeetch@reliant.com

Jeff Healy		ERCOT				Jhealy@ercot.com

Robert Potts	ERCOT				Rpotts@ercot.com

Frank Owens		Garland Chair

Black Start TF	TO	FrankO@gplops.org

Kent Grammer	ERCOT				kgrammer@ercot.com

Ross Owen		TXU EO		TO	rowen@txued.com

Wayne Kemper	CNP			TO	wayne.kemper@centerpointenergy.com

Sydney Niemeyer	TxGenco		QSE 	sydney_L_Niemeyer@txgenco.com

Wayne Bolton	Brazos		QSE	Wbolton@brazoselectric.com

Henry Zamora	Austin Energy	QSE	henry.zamora@austinenergy.com

Ron Wheeler		Dynegy 		QSE	RBWH@dynegy.com

Jerry Willms	LCRA			TO	jwillms@lcra.org

Jeff Gilbertson	ERCOT				jgilbertson@ercot.com

Van Weldon		ERCOT				vweldon@austin.rr.com

John Jonte		CNP/Chair OTF	TO	John.jonte@centerpointenergy.com

Dennis Starbuck	AEN			TO	Dennis.starbuck@austinenergy.com

Tip Tipton		BEPC			TO	Ttipton@brazoselectric.com

Jason Sweeney	TEMI			QSE	jsweeney@tractebelusa.com

Tom Peterson	TXU			QSE	tom.peterson@txu.com

Dennis Kunkel	AEP			TO	dKKunkel@aep.com

Rodger Berlanga	CPS			QSE	raberlanga@cps-satx.com

Pete Anguiano	CPS			QSE	panguiano@cps-satx.com

### NOTE: Action Items Shown in Bold

- Anti-Trust Admonition – Keetch reviewed anti-trust admonition.

- September 14, 2004 ROS Meeting Report--Keetch

- ROS amended and approved OGRR150 (Under Frequency Load Shed Trip Time). ERCOT Compliance will not enforce until 1-1-06.

- ROS amended and approved OGRR151 (NERC Operator Emergency Training Requirements) option 2 that includes QSEs. Keetch requested Compliance to provide template associated with this OGRR at the October OWG meeting.

- ROS approved OGRR152 (Vegetation Management) and Outage Reporting. Keetch requested Compliance to provide template associated with this OGRR at the October OWG meeting.

- TAC approved PRR409 (Voltage Support Service) with implementation dependent on ERCOT system changes. TAC/ROS assigned OWG to determine if OGRR or PRR is needed to insure that reactive support will not be delayed while generating resources wait on a VDI. The OWG agreed that the current Operating Guide section 3.1.4.1 includes language that obligates generating facilities to perform as instructed with or without a VDI. Keetch will report back to the ROS.

- ROS discussed confidentiality in regard to system events. ROS will continue to wait 180 days before discussing specific entities.

- August 18, 2004 Meeting Minutes –Keetch

- Hinson will carry forward to the next meeting the action item under the Operations Report dealing with OOMC events. Additionally, Hinson and Kent Grammer will investigate including the line rating along with the percent loading in the daily posting of congestion contingency/overloads.

- Minutes were amended and approved for posting.

- Operating Guides Task Force Report -- David Darnell

- The OGRTF recommends approval and forwarding of OGRR153 (Reactive Testing) as amended with Calpine comments. The OWG agreed to forward to the ROS with a recommendation for approval.

- OGRR154 (Generator Requirements) and comments will be posted for another month. Darnell requested additional review / comments from the market participants on this OGRR.

- OGRR155  (Section 3 Corrections and Clarifications) will be posted for another month. This OGRR requires additional work.

- NERC Certification, Continuing Education Hours and ERCOT Seminar-Van Weldon

- Van Weldon understands that the NERC Board will not consider the use Continuing Education Hours for renewing NERC certification until at least February 2005.

- OWG recommends continuing with CEH testing for the 2005 Seminar.

- New Operations Bulletins—Kent Grammer

Kent reviewed the previous month’s published operation bulletins. His presentation materials were provided to the OWG distribution list prior to the meeting.

- Operations TF — John Jonte

- The ERCOT Winter Preparedness Drill is scheduled for 11-10-04. Grammer provided copies of a letter announcing the drill as well as ERCOT and participant checklists and suggested entity activities. The OWG provided comments including a recommendation that the letter indicate that while the drill is not mandatory it can be used for NERC training requirements.

- The OTF plans to hold drills twice a year, prior to the summer and winter. Future drills could include Hurricanes, capacity emergencies and / or transmission outages.

- The next meeting is scheduled for November 18, 2004.

- Black Start Task Force Report—Frank Owens

- The task force is planning on meeting by the end of October.

- 2005 Black Start planning is on track.

- Compliance Report – Robert Potts

- Potts reviewed and amended the Compliance Report dated September 9, 2004 that was sent with the OWG agenda.

- Pat Most, LCRA customer representative, stated that LCRA recently received a VDI when they should have received an OOME. Hinson indicated that ERCOT would be training to correct this problem.

- Mark Henry invited participation in a September 30,2004 meeting at ERCOT to discuss the NERC functional model in relation to ERCOT. Mark stated that currently ERCOT Compliance does not require TOs or QSEs to be NERC certified. However, this could change depending on the application of the NERC functional model to ERCOT.

- Operations Report – Jeff Healy

- Healy presented the August Operations Report, which was provided with the OWG agenda.

- Poston will send out an Operating Bulletin when the Outage Scheduler upgrades are complete, expected to be soon.

- Future Meetings

- October 20, 2004

- November 17, 2004