| PRR Number | 527 | PRR Title | Revision to Ancillary Service Performance Conditions (formerly “OOME Definition”) |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Urgent | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 2.1 Definitions 6.6.4 Obligations to Honor Ancillary Services Commitments 6.10.6 Ancillary Service Deployment Performance Conditions |  |  |
| Proposed Effective Date |  | December 1, 2004 |  |  |
| Priority and Rank Assigned |  | Not Required |  |  |
| Revision Description |  | ERCOT issues Resource-specific OOME and Balancing Energy Dispatch Instructions to QSEs. In some instances the Resource-specific Dispatch Instruction causes the QSE to be unable to provide its Ancillary Service Obligation. This PRR modifies the Protocols to require ERCOT to issue a verbal Dispatch Instruction to the QSE to relieve the QSE from having to provide the Ancillary Service for the interval or retract the Resource-specific Dispatch Instruction if a unit-specific OOME or Balancing Energy Dispatch Instruction issued by ERCOT causes a QSE to be unable to provide Ancillary Services that it is obligated to provide. |  |  |
| Overall Market Benefit |  | Eliminates negative compliance scores resulting from the inability of QSEs to provide specific Ancillary Services due to Resource-Specific Dispatch Instructions issued by ERCOT. |  |  |
| Overall Market Impact |  | No cost impact to Market Participants. |  |  |
| Consumer Impact |  | Unknown |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | ERCOT Credit staff and the CWG have reviewed PRR527 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | Posted on 6/21/04; 6/22/04 urgent status approved via PRS email vote; 7/23/04 PRS remanded PRR527 (with PRR525) to WMS for clarification; discussed at WMS on 8/19/04 and 9/23/04 – Randa Stephenson (PSEG Tex-Gen, Independent Generator Segment) volunteered to rewrite PRR; discussed at PRS on 9/24/04 – Ms. Stephenson and ERCOT Staff agreed to complete additional work on PRR. Discussed at PRS on 10/22/04 and at TAC on 11/4/04. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On October 22nd, PRS unanimously recommended approval with no abstentions and all segments present. |  |  |
| Summary of PRS discussion |  | On 7/23/04 PRS discussed the possibility that the PRR could shrink the Regulation market and PUCT staff stated its opposition to the PRR. On 9/24/04 PRS identified two main issues: controlled capacity and the exclusion of certain intervals from the performance matrix. PRS reviewed the PRR at its 10/22/04 meeting. PRS also discussed the inclusion of an explanation related to the effect of a VDI in the market notification. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | TAC voted to recommend approval as submitted by PRS with 23 votes in favor and 5 votes opposing (from the consumer and independent REP segment); there were no abstentions. All Market segments were present. |  |  |
| Summary of TAC discussion |  | PUC Staff was concerned that the market pays QSEs for both capacity and energy if ERCOT issues Dispatch Instructions. TAC concluded that PUC Staff’s concern was a compensation issue different from the compliance issue that PRR527 addresses. TAC unanimously voted to instruct WMS to address the issues raised by PUC Staff and to report a proposed solution to TAC by January 2005. |  |  |

ERCOT/Market Segment Impacts and Benefits

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  | Modification to compliance and monitoring systems. | Consistent application of original intent of Protocols |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None |  |
| LSE: General, Including NOIE | None | None |  |
| LSE: CR & REP | None | None |  |
| QSE | None | None | Consistent application of original intent of Protocols |
| Resource | None | None |  |
| TDSP | None | None |  |

| Original Sponsor |  |
| --- | --- |
| Name | Larry Gurley |
| Company | On behalf of QSE Managers Working Group |
| Segment | Not applicable |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| ERCOT 06/23/04 | Overview of market and system changes required by PRR |
| Austin Energy 07/15/04 | Recommended rejection |
| PSEG 09/23/04 | Revised language |
| Garland 10/11/04 | Revised language |
| PSEG 10/19/04 | Supported comments by Garland and offered revised language. |

6.6.4	Obligations to Honor Ancillary Services Commitments

The Ancillary Service Obligations from the schedule submitted prior to the close of the Adjustment Period are binding commitments of the QSE to ERCOT.  If ERCOT issues Resource-specific OOME or Resource-specific Balancing Energy Dispatch Instructions to a QSE that causes the QSE to be unable to Supply its Ancillary Service Obligation(s), then ERCOT shall issue a verbal Dispatch Instruction that:

- Relieves that QSE from having to provide the specific Ancillary Service(s) for specific intervals and the reason or,

- Retracts the Dispatch given to the QSE so that the QSE may come back into compliance with their Ancillary Service Obligation(s).

-

6.10.6	Ancillary Service Deployment Performance Conditions

ERCOT shall determine the performance of providers of Ancillary Services under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

(1)	The twenty (20) minute period where the QSE has experienced a Forced Outage causing an ERCOT frequency deviation of greater than 0.02 Hz;

(2)	The entire Settlement Intervals for all QSEs in which ERCOT has deployed Balancing Energy in response to an Unusual Event;

(3)	The entire Settlement Interval in which ERCOT has issued a verbal Dispatch Instruction;.

(	-

(-4)	The period where ERCOT issues instructions to any QSE to be deployed at ramp rates in excess of bid ramp rates; and

(-5)	Certain other periods of abnormal operations as determined by ERCOT.

PIP112: Add item #5 below to the list when BUL is implemented: (5) If requested by a QSE, the two scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from Replacement Capacity that is using qualified Load as the QSE’s Resource; and (6) Certain other periods of abnormal operations as determined by ERCOT.