| PRR Number | 546PRR | PRR Title | PCR Treatment for Federal Hydropower Resources |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Urgent | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 7.5.6, Direct Allocation of Pre-Assigned Congestion Rights |  |  |
| Proposed Effective Date |  | Upon Board approval |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Revision Description |  | Modify Protocols so that long-term power purchase agreements for federal hydropower are eligible for Pre-Assigned Congestion Rights (PCR) treatment if a long-term allocation was in place prior to September 1, 1999. |  |  |
| Overall Market Benefit |  | None. |  |  |
| Overall Market Impact |  | PRR would benefit Tex-La by allowing PCR treatment of its contract with the Southwestern Power Administration (SWPA) for the output of Denison Dam for 2004. Additional PCRs will reduce the number of Transmission Congestion Rights (TCRs) available for auction and may shift these costs from the PCR holder to other market participants. |  |  |
| Consumer Impact |  | Increased costs may increase costs to non-PTB customers. Quantitative impact is unknown. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | ERCOT Credit staff and the CWG have reviewed PRR546 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | PRR 546 was posted on 10/1/04. Comments were due on 10/22/04. PUCT Staff filed comments on 10/21/04. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | At its October meeting, PRS recommended approval of the PRR with seven abstentions from the independent power marketers, investor owned utilities and consumer segments. No participant present at the meeting voted against approval of the PRR. All segments were present for the vote. |  |  |
| Summary of PRS discussion |  | David Brian (Tex-La Electric Cooperative) gave a presentation that outlined the need to modify the Protocols to accommodate such purchase agreements (current Protocols require that a contract be in place by September 1, 1999, and, therefore, such agreements would not be eligible for PCRs). PRS discussed the comments opposing this PRR submitted by PUCT Staff. PUCT Staff did not participate in the discussion. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  |  |  |  |
| Summary of TAC discussion |  |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | None |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | None |
| LSE: General, Including NOIE | If approved, Tex-La and possibly Rayburn as LSEs will see reduced Congestion rights costs, and less ERCOT TCR auction revenue will be uplifted to other LSEs. | None | For 2004, Tex-La paid $52,704 for 12 MW of TCRs over the NE-North constrained path. PCRs would have cost 15% of that, saving Tex-La approximately $44,000. |
| LSE: CR & REP | None | None | None |
| QSE | None | None | None |
| Resource | None | None | None |
| TDSP | None | None | None |

| Original Sponsor |  |
| --- | --- |
| Name | John Butts John Kirkland |
| Company | Tex-La Electric Cooperative, Inc. Rayburn Country Electric Cooperative, Inc. |
| Segment | Load Serving Entity (Non-Opt In Entity) |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| PUCT Staff 10/21/04 | Recommended rejection. |

Proposed Protocol Language Revision

7.5.6	Direct Allocation of Pre-assigned Congestion Rights

Upon the zonal method being implemented and once auctioned TCRs are available for use, MOUs and ECs which own or have a long-term (greater than five years) contractual commitment for annual capacity and energy from a specific remote Generation Resource, and that commitment was entered into prior to September 1, 1999, are eligible for Pre-assigned Congestion Rights (PCRs).  In addition, MOUs and ECs which have a long-term (greater than five years) allocation from the federal government for annual capacity and energy produced at a federally-owned hydroelectric Generation Resource, and that allocation was in place prior to September 1, 1999, are eligible for PCRs.  The PCRs will be allocated as follows:

(1)	PCRs are available on an annual basis until the date upon which a MOU or EC implements retail Customer Choice, or, alternatively, until such other date as may be specified by Order of the PUCT.  NOIEs that opt in after the first of the year shall pay a pro rata share of the full value for remaining months:  (Applicable Annual TCR Clearing Price * 85% * Quantity of PCRs * Number of hours remaining in the year).

(2)	The cost of PCRs shall be equal to fifteen percent (15%) of the applicable annual TCR auction clearing price for each CSC for which a PCR is allocated.

PCRINVyp	=	Σ ((ATCRCPCSCyp  * .15 ) * PCRCSCyp * H))CSC

Where:

p	PCR owner of record

y	Year

ATCRCP	Annual TCR Clearing Price ($/MW)

CSC	Commercially Significant Constraint

H	Number of Hours eligible for PCRs (hours/year)

PCRCSCyp	Total number of PCRs allocated for each of the CSCs, per PCR owner of record, for a given year (MW)

PCRINVyp	TCR payment per hour, per TCR owner of record ($/year)

(3)	The allocation of PCRs to any single Entity shall not exceed twenty-five percent (25%) of the total available TCRs at a CSC interface for any single direction.

(4)	The distribution of PCRs will be sufficient to isolate the MOUs and ECs from any direct-assigned costs associated with transporting the output of their remote Generation Resources to their native Load.

(5)	ERCOT shall distribute PCRs and accordingly populate the TCR ownership database for those months where the NOIE meets eligibility requirements.  PCRs will be included in applicable monthly TCR auctions when the NOIE does not meet eligibility requirements across the year.

(6)	PCRs may be traded in the secondary market.

(7)	Holders of PCRs shall not be precluded from participating in the market to purchase additional TCRs.