# OGRTF 8-20-03 Meeting Notes

Attendance:

Wayne Kemper		CenterPoint Energy	TO	713-207-2192

Rick Keetch		RRI			QSE	713-497-2526

Cheryl Moseley		ERCOT				512-225-7057

Leo Villanueva		ERCOT				512-248-3135

David Darnell 		CPS			TO	210-353-2208

Tom Peterson		TXUPM			QSE	214-875-9299

Jack Thormahlen		LCRA			QSE	512-473-3200 ext2635

Dennis Kunkel		AEP			TO	361-289-4003

Wayne Bolton		Brazos Electric		QSE	254-750-6270

Jeff Gilbertson		ERCOT				512-225-7043

Stephen Knapp		Constellation		QSE	410-468-3606

Lacy Seybold		ERCOT				512-225-7426

Harry Holloway		Texas Genco		QSE	713-207-8139

## NOTE: Action Items are shown in Bold

- Cheryl Moseley introduced ERCOT employee Lacy Seybold who is now reporting to Cheryl.

- Keetch gave a summary of the ROS meeting of August 13, 2003.  OGRR132 was amended and approved. OGRR133 was approved as presented. Both will be included on the next PRS meeting agenda. TAC approved OGRR129, 130, 131 and 134 and these will be included in the September 1, 2003 Operating Guides update.

- The TF amended and approved the 7-22-03 OGRTF meeting notes. All  action items were completed

- The TF reviewed OGRR137 (Limit for LaaRs from PRR415) which had been posted for the minimum required time without receiving any comments. The TF agreed to forward without change to the OWG with a recommendation for approval and forwarding to the ROS.

- The TF reviewed OGRR 138 (Generator Reactive Design Curves—Submission to ERCOT) which had been posted for the minimum required time and comments from LCRA and CenterPoint Energy. The OGRR was revised to include comments and clarifications. The TF agreed to send the amended OGRR to the OWG with a recommendation for approval and forwarding to the ROS.

- The TF reviewed draft OGRR created by David Darnell updating RAP/SPS language.  The TF suggested one revision to the draft OGRR that Darnell accepted. Jeff agreed to send this OGRR to the webmaster for posting.  Note:  OWG decided that this OGRR was not ready for official submission, so it has not been submitted for posting.

- The TF reviewed and amended a portion of the draft OGRR clarifying and correcting OG Section 2. The TF agreed that Kemper should send section 2.2.3.2, section2.2.6 and section 2.2.7.2, to the PDC Chairman for review and comment. The TF agreed to continue the review of the draft OGRR at the next meeting.

- The TF discussed a revised time line / procedures for OGRR revision process drafted by Jeff Gilbertson. The TF provided comments and revisions. Jeff will use this time line to draft proposed changes to the Operating Guides.

- Lacy discussed problems with having the OGRTF meeting the same week as the PRS and ERCOT Board meetings. Lacy will review the ERCOT meeting calendar and make any recommendations for changing the OGRTF meetings. If changes are necessary, the day after the ROS meeting was discussed as a good alternative.

- OGRTF future meeting dates and locations:

- September 23, 2003 at the ERCOT Met Center

- October 22, 2003 at the ERCOT Met Center  Note:  This OGRTF meeting was changed to October 16, 2003.

- November 18, 2003 at the ERCOT Met Center