Attendance:

| Wayne Kemper | CenterPoint Energy | TO | 713-207-2192 |
| --- | --- | --- | --- |
| Rick Keetch | RRI | QSE | 713-497-2526 |
| David Darnell | CPS | TO | 210-353-2208 |
| Jack Thormahlen | LCRA | QSE | 512-473-3200 ext2635 |
| Joe Weatherly | LCRA | TO | 512-482-6288 |
| Leo Villanueva | ERCOT |  | 512-248-3135 |
| Jeff Gerber | ERCOT |  | 512-225-7033 |
| Mike Corral | ERCOT |  | 512-225-7176 |
| Lane Robinson | ERCOT | Compliance | 512-225-7211 |
| Tom Peterson | TXUPM | QSE | 214-875-9299 |

## NOTE: Action Items are shown in Bold

- Darnell reviewed the Anti-Trust admonition.

- Darnell gave a summary of the most recent TAC and ROS meetings.

- OGRR142 (DOE/NERC Reporting) was approved by ROS.

- ROS agreed to draft an OGRR to remove references to the PARWG.

- The TF approved the 1-13-04 OGRTF meeting notes. All action items were completed.  Jeff Gilbertson or Jeff Gerber will post the minutes.

- Jeff Gerber and Mike Corral agreed to take over responsibility from Jeff Gilbertson to provide a regular report to the OGRTF of PRRs that appear to impact the Operating Guides.

- Reviewed Lacy Seybold’s comments on OGRR143 (Change Control Process).  These changes were accepted with some modifications.  OGRR recommends OWG approval of the amended OGRR143.

- Reviewed OGRR144 (Generation UF trip coordination).  This OGRR has been posted for the minimum comment period without any comments.

- Reviewed OGRR145 (Reactive Requirements) and comment received from Brazos Electric Cooperative. Since the comment seeks to change language approved previously by TAC, the OGRTF recommends approval by the OWG without change.  The ROS and/or TAC can discuss the Brazos comment as appropriate.

- Reviewed OGRR146 (Annual Evaluation Forms for LaaR).  Agreed to recommend approval by the OWG pending approval of PRR490.

- Reviewed OGRR147 (System Fuel Availability) this OGRR has not been posted for the minimum time period and so no action is required at this time.

- Reviewed draft OGRR removing reference to the PARWG and made some minor changes. Mike Corral agreed to submit this OGRR for comments.

- The OGRTF reviewed and revised the Section 3 cleanup / correction OGRR.

- OGRTF future meeting dates and locations:

- March 8, 2004