# OGRTF 6-15-04 Meeting Notes

Attendance:

Wayne Kemper		CenterPoint Energy	TO		713-207-2192

Rick Keetch		RRI			QSE		713-497-2526

David Darnell 		CPS			TO		210-353-2208

Leo Villanueva		ERCOT			Operations	512-248-3135

Jeff Gilbertson		ERCOT			Market Rules	512-225-7043

Joe Weatherly		LCRA			TO		512-482-6288

Kristy McKendrick	ERCOT			Market Rules	512-275-7416

Lane Robinson		ERCOT			Compliance	512-225-7211

Stephen Knapp		Constellation		QSE		410-468-3606

## NOTE: Action Items are shown in Bold

- Darnell reviewed the Anti-Trust admonition.

- Darnell gave a summary of the most recent TAC and ROS meetings.

- TAC approved PRR499 (Emergency Notice on Fuel Problems).

- TAC approved OGRR148 (Elimination of PAR).

- ROS assigned OGRR with Task to convert the white paper on VAR Testing to Operating Guide revisions. Jack Thormahlen has volunteered to draft an OGRR.

- Reviewed and approved the 5-18-04 meeting notes. Jeff will post.

- The TF reviewed OGRR147 (System Fuel Availability) and revised to reflect revisions to PRR499 (expected to be approved 6-15-04). The TF reviewed and agree to forward to the OWG with a recommendation for approval.

- Darnell informed the TF that the draft OGRR on Under-Frequency relays had been returned to him due to a procedural problem.  Darnell will resolve this problem and resubmit. (OGRR150 (under frequency load shed trip time) was posted on 6-16-04.)

- Wayne Kemper addressed an action item from the previous meeting to review section 3.1.5 for redundancies. Kemper identified that the protocol reference in operating guide 2.6.2 concerning changes in transmission status is also included in guide 3.1.5. After discussion, the TF agreed to delete section 2.6.2.in the draft revision.

- The OGRTF reviewed draft OGRR language to implement NERC training requirements outlined in Compliance Template P8T3. The TF revised and agreed to forward draft language to the OWG and ROS for review.

- The OGRTF reviewed draft OGRR language to implement NERC vegetation requirements as outlined in NERC Compliance Template on Vegetation Management. The TF revised and agreed to forward draft language to the OWG and ROS for review.

- The TF continued to review Section 3 of the Operating Guides. Steve Knapp agreed to evaluate and seek opinions as to whether Section 3.2, which is composed of Protocol references and paraphrasing, can be eliminated. Jeff agreed to review the boxed items in the draft section 3 revisions and update as appropriate. Jeff will also attempt to show all levels of Section 3 in the contents.

- Steve Knapp agreed to continue monitoring PRR359 and PRR423 and draft any necessary OGRRs when appropriate.

- OGRTF future meeting dates are July 20, August 17, September 21, October 19, and November 16.