# OGRTF 8-17-04 Meeting Notes

Attendance:

Wayne Kemper		CenterPoint Energy	TO		713-207-2192

Rick Keetch		RRI			QSE		713-497-2526

David Darnell 		CPS			TO		210-353-2208

Jeff Gilbertson		ERCOT			Market Rules	512-225-7043

Joe Weatherly		LCRA			TO		512-482-6288

Stephen Knapp		Constellation		QSE		410-468-3606

Jack Thormahlen		LCRA			QSE		512-473-3200

Jeff Healy		ERCOT					512-248-3079

Lane Robinson		ERCOT			Compliance	512-225-7211

## NOTE: Action Items are shown in Bold

- Darnell reviewed the Anti-Trust admonition.

- Summary of the most recent TAC and ROS meetings-Darnell.

- TAC approved OGRR147 (Fuel Availability) and OGRR149 (Types of Responsive Reserve).

- The OGRTF reviewed and approved the 7-20-04 meeting notes. Darnell will send to ERCOT for posting.

- The TF reviewed OGRR150 (Under Frequency Load Shed Trip Time). The TF discussed comments from System Protection Relay Working Group members and CenterPoint Energy. The Dynamics Working Group responded to Keetch that the SPWG revisions are acceptable. The DWG will include this revision in the 2005 NERC required study of under frequency load shedding and report any concerns to the ROS. The TF consolidated changes resulting from comments submitted by STEC, SPWG, CenterPoint and the OGRTF and agreed to forward to the OWG with a recommendation for approval.

- The OGRTF discussed that presently ERCOT is unable to implement OGRR149. The OGRTF recommends that this OGRR effective date be revised to take place when PRR502 has been implemented. Jeff will include the implementation status on the OGRR summary web page by adding a bullet showing approved OGGRs awaiting system implementation.

- OGRR152 (Vegetation Management and Outage Reporting) has not received any comments. The OGRTF will submit this OGRR to the OWG as posted with a recommendation for approval.

- The OGRTF reviewed comments on OGRR151 (NERC Operator Emergency Training requirements). The OGRTF agreed to forward alternate versions (with and without QSE training requirements) to the OWG.

- The OGRTF discussed ROS extractions from the Interim Reactive Standard. ERCOT compliance commented that these requirements or similar requirements are needed for NERC compliance. CenterPoint Energy and AEP had commented that more restrictive language is needed for the duration of a low voltage event. The TF agreed to post an OGRR with the requirements that had previously been published in the Interim Reactive Standard.  Suggested changes can then submitted through the OGRR comment process.

- The OGRTF reviewed and amended the revised draft OGRR incorporating the Generator Reactive Testing Procedures authored by the ROS Generation Reactive Testing Task Force. The TF agreed to submit as an OGRR.

- The TF reviewed draft OGRR clarifying and correcting section 3 of the Operating Guides. The TF agreed to post as an OGRR.

- The OGRTF future meeting dates are September 21, October 19, and November 16.