# OGRTF 9-21-04 Meeting Notes

Attendance:

Wayne Kemper		CenterPoint Energy	TO		713-207-2192

Rick Keetch		RRI			QSE		713-497-2526

David Darnell 		CPS			TO		210-353-2208

Jeff Gilbertson		ERCOT			Market Rules	512-225-7043

Stephen Knapp		Constellation		QSE		410-468-3606

Jack Thormahlen		LCRA			QSE		512-473-3200 ext2635

Leo Villanueva		ERCOT					512-248-3135

Lane Robinson		ERCOT			Compliance	512-225-7211

Dennis Kunkel		AEP			TO		361-289-4003

Curtis Crews		LCRA			TO		512-356-6082

Tom Peterson		TXU 			QSE		214-875-9299

## NOTE: Action Items are shown in Bold

- Darnell reviewed the Anti-Trust admonition.

- Summary of the most recent TAC and ROS meetings-Keetch

- ROS amended and approved OGRR150 (Under Frequency Load Shed Trip Time). However, ERCOT Compliance will not enforce till 1-1-06. ROS amended and approved OGRR151 (NERC Operator Emergency Training requirements).  ROS approved OGRR152 Vegetation Management and Outage Reporting). TAC approved PRR409 (Voltage Support Service) with implementation dependent on ERCOT system changes.

- The OGRTF reviewed and approved the 8-17-04 meeting notes.

- Darnell will send to ERCOT for posting.

- The TF reviewed OGRR153 (Reactive Capability Testing) and a comment from Calpine. The TF agreed to submit the OGRR, as amended by Calpine, to the OWG with a recommendation for approval.

- The TF discussed PRR409

- Need to determine whether URL or .95 high side P.F will be used as triggering point for payment.

- The TO, QSE and ERCOT need visibility of the MVAR amount and measurement location which will trigger VDIs and ultimately payments for reactive generation.

- Jack Thormahlen took an action item to investigate Operating Guide changes needed for the implementation of PRR409.

- Currently, ERCOT is unable to implement OGRR149. The OGRTF recommends that this OGRR effective date be revised to coordinate with PRR502 implementation.  Jeff will include the implementation status on the OGRR summary web page by adding a bullet showing approved OGRRs awaiting system implementation.

- The TF reviewed comment submitted by CenterPoint Energy on OGRR154 (Generator Protection) which due to a glitch had not yet been posted.  The TF agreed to table this OGRR for a month to allow time for additional comments and responses to the CenterPoint Energy proposed amendment.

- The TF reviewed OGRR155 (Section 3 Corrections and Clarifications).

- Knapp agreed to work with ERCOT to reword the section on generation Resource Forced Outage reporting.

- Keetch agreed to review and recommend changes to paragraph 3 on page 14.  Knapp agreed to review and correct the protocol reference labeled 6.5.7 Voltage Support Service.

- Darnell requested the TF to review and suggest any needed additional changes to OGRR155 prior to the next OGRTF meeting.

- Keetch agreed to evaluate the need for Form 6.2.5 Off Line Unit Start Capability Non Spinning Reserve Testing.

- The TF agreed to administratively correct bad Operating Guide references in Section 7.

- Kemper agreed to review other sections of the Operating Guides to determine if additional OG changes are needed to be consistent with OGRR150 (Under Frequency Load Shed Trip Time).

- Operating Guide changes may be required if pending PRR543 is approved. The TF agreed to table until this PRR has completed processing.

- OGRTF future meeting dates are October 19 and November 16.