# Final

# OGRTF 10-19-04 Meeting Notes

Attendance:

Wayne Kemper		CenterPoint Energy	TO		713-207-2192

Rick Keetch		RRI			QSE		713-497-2526

David Darnell 		CPS			TO		210-353-2208

Jeff Gilbertson		ERCOT			Market Rules	512-225-7043

Stephen Knapp		Constellation		QSE		410-468-3606

Jack Thormahlen		LCRA			QSE		512-473-3200 ext2635

Leo Villanueva		ERCOT					512-248-3135

Lane Robinson		ERCOT			Compliance	512-225-7211

Gary Miller		TXU 			QSE		214-875-9048

Joe Weatherly 		LCRA			TO		512-482-6288

## NOTE: Action Items are shown in Bold

- Darnell reviewed the Anti-Trust admonition.

- Summary of the most recent TAC and ROS meetings-Darnell

- TAC approved OGRR150 (Under Frequency Load Shed Trip Time), OGRR151 (NERC Operator Emergency Training requirements) and OGRR152 Vegetation Management and Outage Reporting). ROS approved OGRR153 (Reactive Capability Testing).

- The OGRTF reviewed and approved the 9-21-04 meeting notes. Darnell will send to ERCOT for posting. The following Knapp action items will be carried over to the next meeting.

- Work with ERCOT to reword the section on generation Resource Forced Outage reporting in Section 3.

- Review and correct the protocol reference labeled 6.5.7 Voltage Support Service in section 3..

- The TF reviewed OGRR154 (Generation Protection Requirements) and comments from CNP, AEP and CPS. The TF agreed to request the SPWG to review and provide feedback on the OGRR and comments.  Darnell will request the OWG to request the ROS to so direct the SPWG.

- The TF discussed OGRR149 (Types of Responsive Reserve)

- TAC approved OGRR149. However, currently this OGRR is scheduled for implementation with Release 5 in May 05.

- Darnell agreed to update the OWG on the status of this OGRR.

- The OGRTF reviewed OGRR155 (Section 3 Corrections and Clarifications) and recommendations from Keetch’s review of Section 3.1.4.2. The TF amended OGRR155. Lane Robinson agreed to take an Action item for Compliance to review section 3 to determine if any enforcement verbiage should be moved to the Compliance web site particularly section 3.1.4.8 Enforcement of Load acting as a Resource (LaaR) testing requirements. The TF created a new subsection in Section 3 on Testing Requirements. Turbine Speed Governors and AVR testing requirements were moved to this new section from Section 2.

- The TF discussed the need for Non-Spinning Reserve Testing Form 6.2.5. The TF agreed this form could be deleted. Keetch will draft an OGRR to delete this test form.

- The TF reviewed a spreadsheet created by Jeff Gilbertson listing the Protocol References in the Operating Guides. The spreadsheet is color coded so that green indicates references are exactly correct, no color indicates minor format / style differences and red indicates substantive changes needed due to Protocol changes. The TF agreed to have Jeff make the minor format / style changes administratively.  Darnell  agreed to review the red changes before the next TF meeting and make any preliminary comments in preparation for the OGRTF to determine if any changes, other than the reference, itself are needed.

- The TF reviewed a draft OGRR created by Jack Thormahlen in response to his assigned action item to investigate OG changes needed for the implementation of PRR409. The draft OGRR was amended to reflect comments from the TF as well as Randy Jones of Calpine. Jack will revise the OGRR and submit to the ERCOT web site for posting.

- The TF reviewed a draft OGRR (Revision of OG2.9.1 to be consistent with approved OGRR150) created by Kemper in response to his assigned action item. No changes were suggested and Kemper will submit to the ERCOT web site for posting.

- The next OGRTF meeting is scheduled for November 16, 2004.