PRS acted upon the following PRRs and presents them to the TAC for consideration:

# PRRs Recommended for Approval:

The following PRRs were approved by PRS and are recommended to the TAC for approval:

- PRR542 – Clarifying the LaaR Three Hour Limit.  Proposed effective date: February 1, 2005.  No budgetary impact; no impact to ERCOT staffing; no impacts to ERCOT computer systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR clarifies the Protocols to allow QSEs to replace LaaR Responsive Reserve with Responsive Reserve from a Generating Resource or other uncommitted LaaR following a deployment of Responsive Reserve Service.  PRS completed initial review of the PRR at its October meeting and voted unanimously to recommend approval of PRR542.  There were no abstentions and all market segments were present.  PRS confirmed the impact analysis at its November meeting.  ERCOT credit staff and the CWG have reviewed PRR542 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR544 – Twelve Month Window for Scaling NIDR to IDR ESI IDs.  Proposed effective date: Upon system implementation (must follow Lodestar 3.7 upgrade).  No budgetary impact; the Lodestar code change will be completed in conjunction with changes approved by the Board in PRR514 (Twelve Month Window for Non-IDR Scaling); no impact to ERCOT staffing; no impact to ERCOT business functions; no impact to grid operations.  PRR544 modifies the window for Non-Weather Sensitive Proxy Day selection from six months to twelve months.  This revision will make the profile scaling methodology for ESI IDs that have changed from non-Interval Data Recorder (NIDR) to IDR meters the same as the methodology used for all other profiled ESI IDs.  PRS completed initial review of the PRR at its October meeting and voted unanimously to recommend approval of PRR544.  There were no abstentions and all market segments were present.  PRS confirmed the impact analysis at its November meeting.  ERCOT credit staff and the CWG have reviewed PRR544 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR545 – Retail Market Extracts. Proposed effective date: February 1, 2005.  No budgetary impact; no impact to ERCOT staffing; no impacts to ERCOT computer systems; no impact to ERCOT business functions; no impact to grid operations.   PRR545 creates new Section 11.3 addressing ESI ID-level extract information provided to LSEs.  This revision will incorporate the information surrounding the current process for providing ESI ID-level information to LSEs and for correcting errors in this ESI ID-level information into the Protocols.  PRS completed initial review of the PRR at its October meeting and voted unanimously to recommend approval of PRR545.  There were no abstentions and all market segments were present.  PRS confirmed the impact analysis at its November meeting.  ERCOT credit staff and the CWG have reviewed PRR545 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR550 - Pace of Short Pay Uplift to LSEs - URGENT.  Proposed effective date:  January 1, 2005.  No budgetary impact; relatively small incremental effort for ERCOT Finance to track and manage pace of short pay, however, no incremental staffing is required; no impacts to ERCOT computer systems; minor impact to ERCOT business functions for ERCOT Finance processes in allocating/pacing the collections; no impact to grid operations.  This PRR sets a rate at which money due from QSEs representing load is collected.  PRS unanimously voted to declare PRR550 urgent at its November meeting.   PRS then recommended approval of PRR550 as amended by PRS with one abstention from the IOU segment.  All market segments were present for the vote.  ERCOT credit staff and the CWG have reviewed PRR550 and conclude that providing for uplift to QSEs representing Load in a timely and defined manner has positive credit implications.

# Pending PRRs:

The following PRRs are pending and the current status is explained below:

- PRR356 – SCE Performance Requirement. This PRR was remanded by PRS to WMS and ROS Task Force on 09/25/03.

- PRR358 – Negative Impact SCE.  This PRR will be considered along with PRR356 in the WMS and ROS Task Force review.

- PRR462 – Market Solution Definition.  This PRR was tabled with concurrence of the PUC until more progress is made by the stakeholders at WMS and PRS concerning Market Solution.

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  PRS remanded this PRR to RMS in November.  Based on a request by the submitter, RMS recommended deferral of consideration of PRR472 until late 2004.

- PRR476 - Ramp Rate Adherence During Local Congestion.  PRS approved this PRR on 5/21/04; TAC approved it on 6/3/04.  On 6/15/04, the Board remanded PRR476 back to the TAC for the development of a cost estimate, noting that there is more than one way to implement the PRR and that further direction from the stakeholders is needed.  On 7/8/04, TAC remanded to the PRS with instructions that the WMS is to further define how PRR476 should be implemented.

- PRR525 - SCE Performance and Monitoring. This PRR was posted on 06/10/04 and is on a normal timeline.  At its July meeting, PRS voted to remand PRR525 to WMS for clarification.

- PRR533 - Definition of Transmission Facility Owner.  PRS remanded the PRR to a task force, at its August meeting, to review the comments and bring solutions back to PRS.  The remand included two concepts for the task force to consider: (1) inclusion of “private owner” in the Protocols; and (2) whether the private owner has responsibilities.

- PRR539 – OOMC Claw Back Correction.  This PRR was posted on 9/1/04.  At its September meeting, PRS voted to remand PRR539 to WMS for additional review.

- PRR540 – OOM Cost Recovery Process Clarification.  This PRR was posted on 9/1/04.  PRS tabled this PRR to allow additional time for Market Participants and ERCOT to work on language.  At its October meeting, PRS tabled this PRR for further discussions off-line to resolve these issues.  After discussion during its November meeting, PRS remanded the PRR to the taskforce for resolution of cost recovery issues.

- PRR541 – Regulation Deployment Ramp Rate.  This PRR was posted on 9/1/04.  PRS voted to remand PRR541 to WMS at its September meeting.

- PRR543 – Schedules and Emergency Assistance Over CFE-ERCOT DC Ties.  ERCOT posted this PRR on 9/14/04.  PRS discussed PRR543 at its October meeting and tabled it pending further discussions with Comision Federal de Electricidad (CFE) and final development.  The ERCOT CWG has reviewed PRR 543 and notes that credit risk exists to the extent energy flows to CFE from the ERCOT System as a result of the proposed Agreement.  See CWG comments dated 10/19/04 for details.

- PRR547 - Trading Hubs.  At its October meeting, PRS voted to recommend approval of PRR547 as revised subject to a positive audit result from the U Plan Study, with abstentions from the independent power marketers, independent generators and consumer segments.  No committee member voted against approval of the PRR.  All market segments were present.

- PRR548 - Settlement for Mismatched Inter-QSE Energy Schedules.  ERCOT posted this PRR on 10/4/04.  At its November meeting, PRS voted to recommend approval of the PRR with one abstention from the independent generator segment.  All market segments were present.  PRS will review ERCOT’s impact analysis for PRR548 at its December meeting.

- PRR549 - Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November meeting, PRS remanded the PRR to ROS and PGC for further review.

- PRR551 – Security Interest.  ERCOT posted this PRR on 10/15/04.  PRS voted to recommend approval of the PRR with one opposing vote from the independent power market segment and one abstention from the MOU segment.  PRS will review ERCOT’s impact analysis for PRR551 at its December meeting.

- PRR552 - Clarification of Relaxed Balanced Schedules.  ERCOT posted this PRR on 10/15/04.  PRS approved recommendation of the PRR, as amended by PRS, with two abstentions from the independent REP and MOU segments.  All market segments were present for the vote.  PRS will review ERCOT’s impact analysis for PRR552 at its December meeting.

- PRR553 - Scheduling Trading Hubs.  ERCOT posted this PRR on 10/20/04.  PRS recommended approval of this PRR pending approval of PRR547, Trading Hubs.  The motion for approval passed with one abstention from the MOU segment.  PRS will review ERCOT’s impact analysis for PRR553 at its December meeting.

- PRR555 – Modify Number of Sub-QSEs a Single Entity Can Partition.  ERCOT posted this PRR on 11/9/04.  It is on a normal timeline and PRS will address it at its December meeting.

- PRR556 – Elimination of ERCOT-Wide Uplift of costs Related to OOMC, OOME, LBES and RMR Payments.  ERCOT posted this PRR on 11/12/04.  Because PRR556 failed to garner sufficient support for urgent status through an email vote, it is on a normal timeline.  PRS will address it at its December meeting.

- PRR557 – Late Fees and Late Fee Recovery.  ERCOT posted this PRR on 11/23/04 in response to discussion at the 11/19/04 PRS meeting.  It is on a normal timeline and PRS will address it at its December meeting.

- PRR558 - Market Notice of LaaR Proration.  ERCOT posted this PRR on 11/23/04.  It is on a normal timeline and PRS will address it at its December meeting.

- PRR559 - Regulation E10 Update and SCPS1/SCPS2 References.  ERCOT posted this PRR on 11/23/04.  It is on a normal timeline and PRS will address it at its December meeting.

- PRR560 - QSE Qualification Using LaaRs.  ERCOT posted this PRR on 11/23/04.  It is on a normal timeline and PRS will address it at its December meeting.