| PRR Number | 559 | PRR Title | Regulation E10 Update and SCPS1/SCPS2 References |
| --- | --- | --- | --- |
| Date |  | 12-9-04 |  |
| Submitter’s Information |  |  |  |
| Name |  | PDC Working Group – Chair: Sydney L. Niemeyer |  |
| E-mail Address |  | Sydney_l_Niemeyer@txgenco.com |  |
| Company |  | Texas Genco II, LP |  |
| Company Address |  | 12301 Kurland Drive, Houston, Texas 77034 |  |
| Phone Number |  | 713-945-3551 |  |
| Fax Number |  | 713-945-2145 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | N/A | N/A | Reflect what is currently being done. |
| MARKET SEGMENT | N/A | N/A | N/A |
| Consumer | N/A | N/A | N/A |
| LSE: General, Including NOIE | N/A | N/A | N/A |
| LSE: CR & REP | N/A | N/A | N/A |
| QSE | N/A | N/A | Allow QSEs to obtain correct value from the Protocols if they choose to shadow ERCOTs data |
| Resource | N/A | N/A | N/A |
| TDSP | N/A | N/A | N/A |

Comments

The Performance, Disturbance Compliance Working Group agrees with ERCOT’s suggested additions in the use of the abbreviation “SCPS1” for “Suppliers” of Regulation Ancillary Service Control Performance Standard 1 minute measure and “SCPS2” for the 10 minute control performance measure.

At its June 25, 2003 meeting, the PDCWG also recommended that the “E10” be changed from 0.0073 Hz to 0.01315 Hz to better correlate to “E1” being increased to 0.030 Hz.

Revised Proposed Protocol Language