| OGRR Number | 157OGRR | OGRR Title | Delete Test Form For Non-Spinning Reserve Service |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Operating Guide Section Requiring Revision |  | 6.2.5 Off-Line Unit Start (30 Minutes) Capability for Non-Spinning Reserve |  |
| Protocol Section Requiring Revision, if any. |  | ## None |  |
| Proposed Effective Date |  | February 1, 2005 |  |
| Revision Description |  | Remove unit specific non-spin test form from Operating Guides. |  |
| ###### Benefit |  | QSEs are currently qualified to provide Non-Spin on a portfolio basis. There is not a Protocol or Operating Guide requirement to complete this unit specific Non-Spin test form in order to participate as a provider of this Ancillary Service. |  |
| OWG Recommendation |  | OWG recommends approval of OGRR157 as submitted. |  |

| Sponsor |  |
| --- | --- |
| Name | Rick Keetch |
| E-mail Address | rkeetch@reliant.com |
| Company | Reliant Energy |
| Company Address | 1000 Main, Houston, TX |
| Phone Number | 713-497-2526 |
| Fax Number | 713-537-2526 |

Proposed Operating Guide Language Revision

Contents

6	Reports and Forms	6-3

6.1	Reports	6-3

6.1.1	Disturbance Report	6-3

6.1.2	Relay Misoperation Report	6-4

6.2	Forms	6-5

6.2.1	Turbine Governor Speed Regulation Tests	6-5

6.2.2	Seasonal Unit Net Real Power Capability Verification	6-13

6.2.3	Biennial Unit Reactive Limits (Lead and Lag) Verification	6-14

6.2.4	Seasonal Hydro Responsive Reserve Net Capability Verification	6-16

6.2.5	Annual LaaR Telemetry Test	6-18

6.2.6	Biennial Test for LaaRs Providing Responsive Reserve Service	6-19

6.3	Document Control	6-20