ROS Summary Report to TAC for November 4, 2004

# Documents Recommended for TAC Approval:

- OGRR 153 – Reactive Capability Testing - Revision of Operating Guide Section 3.1.4.3 and Section 6.2.3 to conform to ERCOT Generator Reactive Testing Procedures as prescribed in PRR 535 - Reactive Testing, which was effective November 1, 2004.

- State Estimator Observability and Redundancy Requirements – A TNT assignment to ROS requiring TAC approval as stated in the Telemetry Addendum to the Fidelity Requirements white paper. The document was written by ERCOT Staff at the request of ROS as the result of two separate State Estimator Workshops to address stakeholder comments and concerns. This document explains the proposed levels of observability, redundancy, and analysis to be established for the data requirements for the ERCOT State Estimator. ROS approved the document based on the need for improved observability in ERCOT regardless of zonal or nodal market design.

## Status of TAC Assignments to ROS

Reliable Fuel Source Requirement – As part of the ongoing effort to acquire necessary data, ERCOT distributed an Alternative Fuel Survey to the registered Resource contacts on Friday, October 29th.  The survey’s objective it to identify those units capable of dual fuel operation, installed dual fuel infrastructure, typical secondary fuel storage levels, and to assess the preparedness of generation units to operate on their secondary fuel should their primary fuel become unavailable. The completed survey is due to ERCOT Client Relations by November 10, 2004. Those TAC members and Market Participants representing Generation Resources are encouraged to verify survey receipt and make its completion a priority.  ROS anticipates reporting survey results at TAC’s December meeting.

#### Verify Operating Guide Language Supports PRR 409 Voltage Support Service – Prior to implementation of PRR 409, currently waiting for system changes, ERCOT is expected to revise its procedures and OGRR 156 – Reactive Considerations due to PRR 409 has been posted and is in its comment period.

## Other ROS Activities

NERC Disturbance Control Standard Event – August 18, 2004 - Currently under Performance Disturbance Compliance Working Group review.

Winter Preparedness Drill scheduled for November 10, 2004 to allow participant QSE and TDSP Operators to test back-up facilities and drill scenarios in concert with ERCOT. Drill is not mandatory, however drill participation can be counted as operator training hours.