COMPLIANCE REPORT TO ROS

Dec. 13, 2004

Mark Henry, ERCOT Compliance

- ERCOT Frequency Control Related Issues:

  - August 18th DCS event: Final version of August 18th DCS event will be issued shortly; responses were received from all 12 QSE’s who had SCE contributing to the event and some are still being followed-up.  ERCOT is working to address its ability to manually call for additional deployments, and will likely provide a PRR in January that mandates declaring EECP if over 33% of responsive reserves are deployed.   Compliance will track various followup recommendations until addressed.

  - Regulation (10-minute) scores are as shown below; November scores are still in review by QSE’s and may change.  One QSE apparently did not meet the one-minute measure, also:

  - ERCOT Control Area November CPS1 score was just under 117.  Poor hourly performance is noted around the 16 hour ramp periods, HE 1800, and just after midnight.  Spreadsheet is attached separately.

  - WMS selected means to apply SCE measurement across all QSEs based on amount of change in schedules (Austin Energy’s proposal for PRR525).  It will go to PRS next.

  - PUCT has begun an ancillary services monitoring project; Compliance met with MOD and Electric Division staff on Compliance’s observations, data and Protocol measures.

  - November instances of high Schedule Control Error (SCE) with high market clearing prices were sent previously to ROS.

  - Compliance will continue providing performance of QSEs for balancing energy performance criteria (Protocol 6.10.5.2 until PRR525 eliminates the need.   This requires QSEs to have an average SCE within 5% of their obligation, 90% of the intervals when they are awarded Balancing Energy in a month.   Scores for the past several months are shown below:

- Transmission Security Issues:  No apparent NERC Interconnect Reliability Limit (IROL) violations in November.  The project for a historian for Real Time Contingency Analysis continues to move forward slowly.

- Resource Plan Performance Metrics – ERCOT began providing PUCT with scores and held a meeting on these.   Efforts to review effectiveness of these measures and propose changes are underway.   WMS discussed an issue with treatment of nuclear plant capacity in the measures of capacity “range” is shown in the Resource Plans and zonal down-balancing bids. Compliance staff is preparing a response, which may lead to a PRR.  Average scores across all QSE’s for August - November are shown below (90% is currently expected level):

- NERC Issues –

  - Work continues on NERC Northeast blackout follow-up activity, specifically on tasks within ERCOT, here is the status of work involving ROS or working groups to address issues related to the NERC Board recommendations for September reporting:

    - An OGRR for adding GPS time synchronization to fault recording devices was discussed at their Nov. meeting and a draft is in progress.

    - All 345kV owners with Zone 3 relays are asked to turn in their detailed forms (spreadsheets) and exception requests by 12/31/04 to: transrep@ercot.com.

    - DWG discussed NERC Blackout recommendation on event simulation and model validation.  OGRR’s to request governor and exciter model validation should be part of ERCOT’s overall response; ROS is asked to consider making an assignment for AVR and PSS testing to be included in the Operating Guides.   There is currently no requirement for event simulation; DWG indicated in their September report to ROS that perfoming more than a couple of such studies each year would tax their capability without additional support.   NERC asked for each Regions response by February 2005.  Recently NERC assigned its Multiregional Modeling Working Group to review responses; Doug Evans in ERCOT System Planning has been assigned coordination.

    - ERCOT Compliance reported to NERC on its tracking of these Blackout recommendations as well as others.   Compliance tracks progress on these as well as investigations and corrective actions for non-compliance.

  - One measure in the 2004 compliance program involves re-assessment of existing undervoltage load shedding; this will apply to AEP, BPUB and MVEC and will need to be completed by the end of 2004.   These are due to ERCOT Compliance by 12/31/04.

  - Development of NERC Organizational Standards continues through the transition and blackout recommendations.

    - Balloting of the Version 0 Reliability Standards began on December 3 and ends today, December 13. A recirculation ballot, if required by one or more negative votes with comments, will be conducted from December 20 to January 7. If approved by the industry, the Version 0 standards will be presented to the NERC Board of Trustees for adoption in February.   See it and related documents at:  www.nerc.com/~filez/standards/Version-0.html.

    - Workshops on the NERC 1200 cyber security standard are planned for January 12th and 26th, 2005.  A new standard “1300” is in draft and will replace the so-called “Urgent Action” standard now in place; the workshop will be helpful for this as well.   This new standard will apply to other entities besides ERCOT, although it is not finalized; the present standard has only been applied to ERCOT as a control area.   LCRA and Tenaska personnel (Mike Allgeier and John Varnell, respectively) have been involved in the drafting process.  Also, Tom Flowers of Centerpoint is on the NERC Critical Infrastructure Protection Committee.  For details see:  http://www.nerc.com/~filez/standards/Cyber-Security-Permanent.html.

    - NERC has posted six Standard Authorization Requests (SARs) for industry review and comment through January 7, 2005. A comment form has been provided for each SAR. NERC is also seeking nominations for drafting team members on two of these SARs. Nominations are requested by December 21, 2004.

      - System Personnel Training: http://www.nerc.com/~filez/standards/System- Personnel-Training.html. Nominations are being solicited for drafting team members for the proposed System Personnel Training Standard and the proposed Phase III/IV Planning Standards. Candidates should have expertise in personnel training and NERC system operator certification. A nomination form is provided on the SAR web page; self-nominations are welcome.

      - Phase III/IV Planning Standards: http://www.nerc.com/~filez/standards/Phase-III-IV.html. Four SARs intended to address the Phase III and Phase IV Planning Standards are posted for comment. The posted standards include several Phase III and Phase IV Planning Standards that were not part of the NERC Compliance Enforcement Program and for which industry consensus was not achieved in time to include them in the Version 0 Reliability Standards. Stakeholders are encouraged to submit comments on the SARs and nominations to serve on the drafting teams. Persons interested in working on the drafting teams should have expertise in one or more of the following areas: disturbance monitoring and reporting, system modeling (including dynamic modeling), system and generator protection and controls, reactive power and voltage control, generator capabilities and testing, black start  capability, and under-frequency and under-voltage load shedding. Previous experience working on or applying NERC standards is beneficial, but not a requirement. A nomination form is provided on the SAR web page; self-nominations are welcome.

      - Nuclear Offsite Electricity Supply Reliability:
http://www.nerc.com/~filez/standards/Nuclear-Offsite-Supply.html. Requests for drafting team nominations are not being sought at this time.

    - NERC Resources Subcommittee is reviewing ERCOT’s request for a waiver of reserve increases associated with the August 18th event.

    - NERC Compliance Templates for 2005 were selected and will be posted.  Program is little changed from 2004, although passage of the Rev. 0. standards may change that.   Rev. 0 includes many operating-type requirements that have not been assessed previously.

- Investigations –    There were two SPS operations in November that are currently in review with the TDSP.  TAC indicated its desire to know about SPS operations at the December meeting, as well as to obtain status of the August 18th DCS event followup.

- Audits –

  - ERCOT Compliance conducted 2 audits of transmission operators related to NERC compliance measures; one more is planned for a “sub-entity” as a followup to an earlier audit to validate TO vs. TDSP responsibilities.  A QSE audit for 3 NERC measures was conducted as well.   Minor matters of non-compliance have been noted, mostly relating to relay maintenance behind schedule or operator knowledge of plans for loss of primary control facilities.

  - Annual self-certification forms for TO’s (for companies who will not be audited in 2005) are requested back to ERCOT by Dec. 17th.

  - ERCOT Operations and Compliance personnel are also assisting NERC “readiness” audits outside of ERCOT.

  - NERC’s VP of Compliance is expecting inclusion of TO’s and QSEs in NERC’s readiness audit program.  ERCOT Compliance is opposed to this, due to issues with new NERC standards and the functional model, duplication with ongoing ERCOT compliance audits, and manpower issues that are apparent at other audits.   Further discussion is ongoing; a compromise may be obtained.

  - ERCOT’s control area/reliability coordinator audit (Nov. 2005) will be discussed this month by NERC Compliance Managers.

Mark R. Henry, ERCOT Compliance

mhenry@ercot.com