## NERC CPS Survey
CPS Form 1
Region: | ERCOT |  | Control Area: |  | ERCOT
L10 - | 115.6477 |  | Month - | 2004-11-30 | Year - | 2004-01-01 | e - | 30 mHz
| CPS1 |  |  |  | CPS2
Hour
Ending
CENTRAL |  |  | Number of |  |  |  | Unavailable
Time | CF | % | Samples |  | Violations |  | Periods
0100 | 1148.99 | 72.3344 | 1800 |  | 41 |  | 0 |  | -0.82907 | -87.2475
0200 | 667.16 | 125.8711 | 1800 |  | 14 |  | 0 |  | 3.7902 | 33.21
0300 | 588.67 | 134.5922 | 1800 |  | 5 |  | 0 |  | 2.5475 | 52.8325
0400 | 607.11 | 132.5433 | 1800 |  | 8 |  | 0 |  | 2.7486 | 48.2225
0500 | 626.5 | 130.3889 | 1800 |  | 17 |  | 0 |  | 3.0061 | 43.375
0600 | 939.66 | 95.5933 | 1800 |  | 46 |  | 0 |  | -2.7379 | -34.915
0700 | 1119.11 | 75.6544 | 1800 |  | 35 |  | 0 |  | -0.94832 | -79.7775
0800 | 943.76 | 95.1378 | 1800 |  | 28 |  | 0 |  | -2.6471 | -35.94
0900 | 836.18 | 107.0911 | 1800 |  | 25 |  | 0 |  | -11.8398 | -9.045
1000 | 596.15 | 133.7611 | 1782 |  | 10 |  | 1 |  | 2.6247 | 50.9625
1100 | 626.49 | 130.39 | 1798 |  | 12 |  | 0 |  | 3.0059 | 43.3775
1200 | 547.02 | 139.22 | 1798 |  | 12 |  | 0 |  | 2.2013 | 63.245
1300 | 679.48 | 124.5022 | 1794 |  | 17 |  | 1 |  | 4.1322 | 30.13
1400 | 669.86 | 125.5711 | 1791 |  | 16 |  | 1 |  | 3.8596 | 32.535
1500 | 667.26 | 125.86 | 1794 |  | 19 |  | 0 |  | 3.7927 | 33.185
1600 | 536.05 | 140.4389 | 1795 |  | 6 |  | 0 |  | 2.1283 | 65.9875
1700 | 579.2 | 135.6444 | 1800 |  | 11 |  | 0 |  | 2.4573 | 55.2
1800 | 952.75 | 94.1389 | 1800 |  | 48 |  | 0 |  | -2.4652 | -38.1875
1900 | 836.82 | 107.02 | 1800 |  | 32 |  | 0 |  | -11.6263 | -9.205
2000 | 558.81 | 137.91 | 1800 |  | 11 |  | 0 |  | 2.2872 | 60.2975
2100 | 458.54 | 149.0511 | 1800 |  | 8 |  | 0 |  | 1.746 | 85.365
2200 | 962.06 | 93.1044 | 1800 |  | 27 |  | 0 |  | -2.298 | -40.515
2300 | 1046.93 | 83.6744 | 1800 |  | 36 |  | 0 |  | -1.3554 | -61.7325
2400 | 822.87 | 108.57 | 1791 |  | 15 | Total =499 | 1 |  | -18.9891 | -5.7175
200
CPS1(%) |  |  |  | CPS2(%) | 499
Month | 750.7263 | 116.586 | 43143 | Month | 88.4384 |  | 4
CF12-month
CPS1(%)
Notes:
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods
Record the total number of samples for each of the 24 hour-averages
Record the total number of CPS2 violations for each of the 24 hour-periods during the month
Record the total number of unavailable ten-minute periods during the month for each of the 24 hour-periods

## Current Month
NERC Control Performance Standard Survey
Regional Summary
CPS Form 2
Region: ERCOT | Month: November | Year: 2004 | Date:11/01/04
Control Area |  | Control Performance Compliance
CPS1
Compliance
%
ERCOT |  | 116.59
* Calculated with an E1 of 30 MHz
CPS-Nov04.xls

## CPS 12 Month Rolling Average
CPS1 Twelve Month Rolling Average Through November 2004
Region: ERCOT | 12 Month Rolling Average | 2004-01-01 | 2004-02-01 | 2004-03-01 | 2004-04-01 | 2004-05-01 | 2004-06-01 | 2004-07-01 | 2004-08-01 | 2004-09-01 | 2004-10-01 | 2004-11-01 | 2003-12-01
ERCOT | 127.8008 | 133.6 | 137 | 122.3 | 115.9 | 110.75 | 123.6 | 143.64 | 139.6 | 123.86 | 126.17 | 116.59 | 140.6
Notes: 1) CPS1 Standard requires rolling 12 month average performance of at least 100%
2) Calculated with an E1 of 30 MHz
CPS-Nov04.xls

## CPS1 Graph Data
Month | CPS1 | 12 Month Rolling Average | Days | DayXMo Avg | Old Formula | Old Value | New Value | Normalized | Year | Cum Days | Cum Score | YTD Score
2001-08-01 | 127.3449 |  | 31 | 3947.6918 | 127.3449 | 290.6204 | 167.7088 | 127.3449 | 2001 | 153 | 12111.1737 | 79.158
2001-09-01 | 79.5371 |  | 30 | 2386.1125 | 79.5371 | 481.8517 | 146.4609 |  | 2002 | 365 | 38249.06 | 104.7919
2001-10-01 | 87.9611 |  | 31 | 2726.7955 | 87.9611 | 448.1554 | 150.205 |  | 2003 | 365 | 46198.605 | 126.5715
2001-11-01 | 62.178 |  | 30 | 1865.3406 | 62.178 | 551.2879 | 138.7458 |  | 2004 | 335 | 42429.36 | 126.6548
2001-12-01 | 38.2333 |  | 31 | 1185.2333 | 38.2333 | 647.0667 | 128.1037
2002-01-01 | 62.484 |  | 31 | 1937.0027 | 62.484 | 550.0642 | 138.8818
2002-02-01 | 68.4 |  | 28 | 1915.2 | 68.4 | 526.4 | 141.5111
2002-03-01 | 62.3779 |  | 31 | 1933.7154 | 62.3779 | 550.4883 | 138.8346
2002-04-01 | 64.6172 |  | 30 | 1938.5156 | 64.6172 | 541.5312 | 139.8299
2002-05-01 | 67.8633 |  | 31 | 2103.7612 | 67.8633 | 528.5469 | 141.2726
2002-06-01 | 83.0976 |  | 30 | 2492.9281 | 83.0976 | 467.6096 | 148.0434
2002-07-01 | 146.912 | 79.2505 | 31 | 4554.2731 |  |  | 146.912 | 143.8758 |  | -100 | 1200 | 66.6667
2002-08-01 | 152.6943 | 81.363 | 31 | 4733.522 |  |  | 152.6943 | 142.6246
2002-09-01 | 143.1144 | 86.6611 | 30 | 4293.4333 |  |  | 143.1144 | 142.3457
2002-10-01 | 129.6071 | 90.1316 | 31 | 4017.8196 |  |  | 129.6071 | 140.6292
2002-11-01 | 138.556 | 96.4964 | 30 | 4156.6792 |  |  | 138.556 | 140.6134
2002-12-01 | 134.5874 | 104.5259 | 31 | 4172.2096 |  |  | 134.5874 | 141.1537
2003-01-01 | 136.3305 | 110.6798 | 31 | 4226.2458 |  |  | 136.3305 | 140.9411
2003-02-01 | 121.7457 | 115.1253 | 28 | 3408.8794 |  |  | 121.7457 | 139.294
2003-03-01 | 129.2256 | 120.6959 | 31 | 4005.9922 |  |  | 129.2256 | 138.4932 |  | e = 20
2003-04-01 | 123.806 | 125.6283 | 30 | 3714.1792 |  |  | 123.806 | 137.1579 |  | e = 30
2003-05-01 | 110.6834 | 129.1967 | 31 | 3431.1862 |  |  | 110.6834 | 134.6088
2003-06-01 | 115.7107 | 131.9144 | 30 | 3471.3222 |  |  | 115.7107 | 131.9144
2003-07-01 | 137.1 | 131.0968 | 31 | 4250.1 |  |  | 137.1 | 131.0968
2003-08-01 | 123 | 128.6222 | 31 | 3813 |  |  | 123 | 128.6222
2003-09-01 | 115.9 | 126.3544 | 30 | 3477 |  |  | 115.9 | 126.3544
2003-10-01 | 125.1 | 125.9788 | 31 | 3878.1 |  |  | 125.1 | 125.9788
2003-11-01 | 138.8 | 125.9991 | 30 | 4164 |  |  | 138.8 | 125.9991
2003-12-02 | 140.6 | 126.5002 | 31 | 4358.6 |  |  | 140.6 | 126.5002
2004-01-01 | 133.6 | 126.2726 | 31 | 4141.6 |  |  | 133.6 | 126.2726
2004-02-01 | 137 | 127.5438 | 29 | 3973 |  |  | 137 | 127.5438
2004-03-01 | 122.3 | 126.9667 | 31 | 3791.3 |  |  | 122.3 | 126.9667
2004-04-01 | 115.9 | 126.3078 | 30 | 3477 |  |  | 115.9 | 126.3078
2004-05-01 | 110.75 | 126.3134 | 31 | 3433.25 |  |  | 110.75 | 126.3134
2004-06-01 | 123.6 | 126.9708 | 30 | 3708 |  |  | 123.6 | 126.9708
2004-07-01 | 143.64 | 127.5158 | 31 | 4452.84 |  |  | 143.64 | 127.5158
2004-08-01 | 139.6 | 128.8992 | 31 | 4327.6 |  |  | 139.6 | 128.8992
2004-09-01 | 123.86 | 129.5625 | 30 | 3715.8 |  |  | 123.86 | 129.5625
2004-10-01 | 126.17 | 129.6517 | 31 | 3911.27 |  |  | 126.17 | 129.6517
2004-11-01 | 116.59 | 127.8008 | 30 | 3497.7 |  |  | 116.59 | 127.8008
2004-12-02

## CPS2 Graph
For Information Only
*ERCOT is not required to report CPS2 or
comply as a control area.

## CPS2 Data
Date | CPS2 | E10 | Bias10 | L10 | K | Normalized
2002-03-01 | 67.2 | 0.0073 | 5330 | 64.1998 | 0.81
2002-04-01 | 66.29 | 0.0073 | 5330 | 64.1998 | 0.81
2002-05-01 | 64.95 | 0.0073 | 6040 | 72.7518 | 0.81
2002-06-01 | 63.3 | 0.0073 | 6040 | 72.7518 | 0.81 | 88.0158
2002-07-01 | 68.42 | 0.0073 | 6040 | 72.7518 | 0.81 | 87.4433
2002-08-01 | 71.95 | 0.0073 | 6040 | 72.7518 | 0.81 | 89.43
2002-09-01 | 70.51 | 0.0073 | 5800 | 69.861 | 0.81 | 88.3263
2002-10-01 | 70.29 | 0.0073 | 3120 | 37.5804 | 0.81 | 89.6283
2002-11-01 | 67.7 | 0.0073 | 3120 | 37.5804 | 0.81 | 88.7703 | ADJL10 = (L10*K*sqrt(PF))
2002-12-01 | 64.18 | 0.0073 | 3120 | 37.5804 | 0.81 | 86.5337
2003-01-01 | 63.95 | 0.0073 | 3120 | 37.5804 | 0.81 | 86.3799 | L10= (1.65*E10*Bias10)
2003-02-01 | 58.74 | 0.0073 | 5330 | 64.1998 | 0.81 | 81.87
2003-03-01 | 66.4 | 0.0073 | 5330 | 64.1998 | 0.81 | 86.9176
2003-04-01 | 61.98 | 0.0073 | 5330 | 64.1998 | 0.81 | 83.9128
2003-05-01 | 57.21 | 0.0073 | 6040 | 72.7518 | 0.81 | 79.7803
2003-06-01 | 58.12 | 0.0073 | 6040 | 72.7518 | 0.81 | 80.2647
2003-07-01 | 86.07 | 0.01315 | 6040 | 131.0529 | 0.81 | 86.07
2003-08-01 | 81.95 | 0.01315 | 6040 | 131.0529 | 0.81 | 81.95
2003-09-01 | 80.7 | 0.01315 | 6040 | 131.0529 | 0.81 | 80.7
2003-10-01 | 84.53 | 0.01315 | 5330 | 115.6477 | 0.81 | 84.53
2003-11-01 | 88.3 | 0.01315 | 5330 | 115.6477 | 0.81 | 88.3
2003-12-01 | 88.5 | 0.01315 | 5330 | 115.6477 | 0.81 | 88.5
2004-01-01 | 87.58 | 0.01315 | 5330 | 115.6477 | 0.81 | 87.58
2004-02-01 | 88.19 | 0.01315 | 5330 | 115.6477 | 0.81 | 88.19
2004-03-01 | 86.92 | 0.01315 | 5330 | 115.6477 | 0.81 | 86.92
2004-04-01 | 84.33 | 0.01315 | 5330 | 115.6477 | 0.81 | 84.33
2004-05-01 | 84.75 | 0.01315 | 6040 | 131.0529 | 0.81 | 84.75
2004-06-01 | 87.37 | 0.01315 | 6040 | 131.0529 | 0.81 | 87.37
2004-07-01 | 90.46 | 0.01315 | 6040 | 131.0529 | 0.81 | 90.46
2004-08-01 | 91.59 | 0.01315 | 6040 | 131.0529 | 0.81 | 91.59
2004-09-01 | 88.13 | 0.01315 | 6040 | 131.0529 | 0.81 | 88.13
2004-10-01 | 89.42 | 0.01315 | 5330 | 115.6477 | 0.81 | 89.42
2004-11-01 | 88.44 | 0.01315 | 5330 | 115.6477 | 0.81 | 88.44
2004-12-01