| PRR Number | 563 | PRR Title | Standard Form Black Start Agreement – Payment |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 22 Attachment A Section 9 B. (1), “Available” definition |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | To redefine “Available” for Black Start service. |  |
| Reason for Revision |  | With PRR487 (Black Start Resources) approval, Black Start resources, within close proximity of another power pool, which are capable of starting from such power pool via a firm standby power supply contract, are available if the resources and the transmission line(s) connecting the Black Start resource and the external power pool are both in service. |  |
| Credit Implications (Yes or No, and summary of impact) |  |  |  |
| Timeline |  |  |  |
| Date Posted |  | 12/17/04 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens (on behalf of BSTF) |
| E-mail Address | franko@gplops.org |
| Company | City of Garland |
| Company Address | 525 East Ave B, Garland TX 75040 |
| Phone Number | 972-205-3003 |
| Fax Number | 972-205-3106 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Not known | Not known | Not known |
| MARKET SEGMENT | Not known | Not known | Not known |
| Consumer | Not known | Not known | Not known |
| LSE: General, Including NOIE | Not known | Not known | Not known |
| LSE: CR & REP | Not known | Not known | Not known |
| QSE | Not known | Not known | Not known |
| Resource | Not known | Not known | Not known |
| TDSP | Not known | Not known | Not known |

Proposed Protocol Language Revision

Section 22

Attachment A

Standard Form Black Start Agreement

Section 9. Payment.

A.	For the transfer of any funds under this Agreement directly between ERCOT and Participant and pursuant to the Settlement procedures for Ancillary Services described in the ERCOT Protocols, the following shall apply:

- Participant appoints ERCOT to act as its agent with respect to such funds transferred and authorizes ERCOT to exercise such powers and perform such duties as described in this Agreement or the ERCOT Protocols, together with such powers or duties as are reasonably incidental thereto.

(2)	ERCOT shall not have any duties, responsibilities to, or fiduciary relationship with Participant and no implied covenants, functions, responsibilities, duties, obligations or liabilities shall be read into this Agreement except as expressly set forth herein or in the ERCOT Protocols.

B.	Hourly Standby Fee Payments. ERCOT shall pay Participant the Hourly Standby Fee, except as specified otherwise in Section 7 above.

- (1)	Availability

- a.	“Available” means, with respect to a given hour, that;

- Participant has declared, in its Availability Plan, that the Black Start Resource is able to black start.

- b.	The Black Start Resource is not “Available” if

- the Black Start Resource utilizes a power pool outside of ERCOT to black start  and the transmission path(s) between the Resource and the other power pool is on an outage; or

- the Black Start Resource utilizes a power pool outside of ERCOT to black start but fails to maintain a firm standby supply contract for that power pool; or

- the Black Start Resource has failed a black start test, as described in the ERCOT Protocols or Operating Guides; or

- the Black Start Resource has failed to black start when required to black start under this Agreement, and it has not since passed a subsequent black start test.

c.	At its option, ERCOT may use the Black Start unit’s Resource Plan as the source of Black Start availability information instead of the Availability Plan.

(2)	“Hourly Rolling EAF” means, with respect to a given hour, the quotient (expressed as a percentage) of (a) the number of hours, including the given hour and the immediately preceding 4,379 hours, in which the Black Start Resource was Available, divided by (b) 4,380; provided that, to the extent that 4,379 hours have not elapsed since the Start Date (the difference between 4,379 and the hours that have elapsed being referred to herein as the “Assumed Hours”), the Black Start Resource shall be deemed, for purposes of this calculation, to be Available for the Assumed Hour.  A Force Majeure Event is treated the same as any other cause for unavailability for the purposes of calculating Hourly Rolling EAF.