| PRR Number | 536PRR | PRR Title | Mandatory IDR Threshold Reduction |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement 18.6.6, Peak Demand Determination for Non-IDR Premises |  |
| Proposed Effective Date |  | December 1, 2004 |  |
| Priority & Rank Assigned |  | Not Applicable |  |
| Revision Description |  | Lower the mandatory threshold for IDR mandatory installation to 700 kW (or kVA). IDR installation is to be completed by April 30, 2006. |  |
| Benefit |  | The proposed revisions to make step changes in the mandatory threshold for IDR installation will allow a streamlined approach to reducing the threshold. This approach should provide an appropriate timeline for TDSPs or customers to begin installing IDRs without significantly impacting the supply of IDR meters. Further, the timeline will allow appropriate time to prepare customers in the market for the change. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| PRS Recommendation |  | PRS recommends approval of PRR536 as revised by PRS. |  |

| Sponsor |  |
| --- | --- |
| Name | Ernie Podraza, on behalf of the PWG |
| E-mail Address | epodraza@reliant.com |
| Company | Reliant Energy |
| Company Address | 1000 Main, Houston Tx 77002 |
| Phone Number | 713-497-5295 |
| Fax Number | 713-497-1177 |

Proposed Protocol Language Revision

### 18.6.1	Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Mandatory Installation Threshold:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVA), or

  - Service provided at transmission voltage (above 60 kV).

As of October 1, 2005, the IDR Mandatory Installation Threshold shall be a peak demand greater than 700 kW (or 700 kVA) and all meter changes shall be completed by the later of April 30, 2006 or within 120 days of the CR being notified that the IDR Mandatory Installation Threshold has been met, or

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Mandatory Installation Threshold.  Except as stated in item (4) of this Section, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Sections 18.6.7, IDR Optional Removal Threshold.  If a Customer or CR requests installation of an IDR meter, the same Customer may not request removal of the IDR meter for a period of twelve (12) months following such installation.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Mandatory Installation Threshold.  These Loads shall be settled using Load Profiles.

- For Premises not subject to the IDR Mandatory Installation Threshold in item (1) of this Section:

(a)	IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes: or

(b)	IDRs previously used specifically for separating NOIE Load from competitive Load shall be exempt from the requirement to use an IDR for retail Customer settlement purposes, provided that the IDR meter has been removed within one hundred and twenty (120) days after the NOIE has fully implemented Customer Choice.   IDR meters used for NOIE separation that do not meet the IDR Mandatory Installation Threshold shall not be used for retail Customer settlement purposes.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.

### 18.6.6	Peak Demand Determination for Non-IDR Premises

For the purpose of determining the peak demand level for the IDR Mandatory Installation Threshold in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, the demand will be determined in accordance with PUCT rulemaking or through a consensus process with ERCOT and Market Participants.  In the absence of a clear definition of peak demand in the “price to beat” rulemaking, the following application shall be used in determining the peak demand level for IDR Mandatory Installation Threshold in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement:

A Premise (ESI ID) has a peak demand greater than the applicable level in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, above, when measured in any two (2) billing months of the most recent twelve (12) month period.  Competitive Retailers may dispute an IDR assignment through the ERCOT settlement dispute process, described in Section 9.5 Settlement and Billing Dispute Process.

ERCOT shall be responsible for receiving and storing demand information necessary for determining mandatory IDR installations.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
|  | None submitted |

| Sponsor's Revision Description | Lower the mandatory threshold for IDR mandatory installation to 700 kW (or kVA) and be complete by January 30, 2006. |
| --- | --- |
| Sponsor's Reason for Revision | The proposed revisions to make step changes in the mandatory threshold for IDR installation will allow a streamlined approach to reducing the threshold. This approach should provide an appropriate timeline for TDSPs or customers to begin installing IDRs without significantly impacting the supply of IDR meters. Further, the timeline will allow appropriate time to prepare customers in the market for the change. |