| PRR Number | 540 | PRR Title | OOM Cost Recovery Process Clarification |
| --- | --- | --- | --- |
| Date |  | October 21, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randa Stephenson |  |
| E-mail Address |  | rstephenson@tielp.com |  |
| Company |  | PSEG Tex-Gen |  |
| Company Address |  | 13760 Noel Road Suite 930, Dallas, TX 75240 |  |
| Phone Number |  | 972-628-2752 |  |
| Fax Number |  | 972-490-4635 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

PSEG supports the intent of this PRR and agrees that the protocol language addressing verifiable costs needs to be detailed and tightened. However, PSEG has a concern on Section 6.8.2.3 Energy Payments 4 b (ii) on the cost based recovery method for OOME Service. This section described the process for determining incremental fuel costs. The current language states ERCOT will use the heat rate of the Resource at the deployed level, not the heat rate of the Resource at the actual generation level. My concern arises when a Resource is not generating at its deployed level. A Resource could be over or under paid if this calculation is based off the deployed OOME level. We recommend the calculation is based off the actual generation level the Resource achieves.

Revised Proposed Protocol Language