| PRR Number | 540PRR | PRR Title | OOM Cost Recovery Process Clarification |
| --- | --- | --- | --- |
| Date |  | November 12, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Kenneth Ragsdale |  |
| E-mail Address |  | kragsdale@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 W Lake Dr Taylor TX 76574 |  |
| Phone Number |  | (512) 248-3917 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Should “push” ambiguity out of the process:. |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

ERCOT believes that clearly itemizing the eligible costs for verifiable cost submittals in the protocols will provide information to new ERCOT Market Participants on which costs are eligible and should also provide more transparency to those Market Participants who are paying for OOMC and OOME.  Having the list in the Protocols should reduce repetitive questioning of what are eligible costs and potentially reduce ADR’s on verifiable costs.

PRS may consider including documentation requirements in the Protocols for the cost categories listed below, in addition to the revisions added by PRR540.

Revised Proposed Protocol Language

Possible Non-fuel Start-up Costs (to be considered for PRR 540).

- Unit Cycling Costs

Generator Field Rewinds

Generator Inspection and repair

- Turbine Valves Cost

Service Hours

Stop valve inspection

Control valve inspection

- Turbine Rotor Bore Inspections

- Boiler Hydrogen Embrittlement Costs

- Other Equipment

Boiler Casing Costs, Leaks

- Startup power use

- Water use

City water

R/O water

- Chemicals

- Labor (Incremental labor cost --- realized only because of the OOMC instruction)

Only variable costs that are additional costs and are directly attributable to the OOMC instruction should be considered. The above costs should be converted to a “cost per start” or “cost per MWh”.