## Slide 1: Aug 18 DCS Event Update
QSE selection criteria for investigation
  SCE @ 15 minutes - NERC DCS evaluation point
  PDCWG % of Obligation analysis
  SCE @ 10 minutes after RRS deployed
  RRS Performance Monitoring Criteria 6.10.5.4

## Slide 2: QSEs Selected
11 QSEs selected based on snapshot 15 min after event
  Contributing SCE
  % Obligation below 95% in PDC analysis
  Failing RRS Performance Monitoring Criteria
1 QSE selected based on snapshot 10 min after RRS deployed
  Contributing SCE
  Failing RRS Performance Monitoring Criteria

## Slide 3: Selected QSE Performance

## Slide 4: QSE Response Summary
Operator / Communications Issues (4)
Controls Issues / Mechanical Failures (3)
Start-up Problems / Unit trips (3)
Further Investigation Required (3)
Data / Telemetry Issues (2)
*Some QSE’s indicated multiple issues