## Slide 1: South and North Region Transmission Project: Clear Springs – Salado 345-kV Project
December 2, 2004

## Slide 2: Project Description
San Antonio
Austin
Temple
Harris
Zorn
Clear Springs
Hutto
Salado
Line Segment Lengths
Switching Stations
Capital Costs

## Slide 3: Project Justification
Mitigates $47.5 million dollars of reliability-driven transmission projects.
Results in $49 million of production cost savings annually, or $368 million over ten years.
3. Significantly reduces Central Texas generation congestion
4. Provides two new 345/138-kV injection points, with potential for more
5. Reduces the cost of taking regular transmission maintenance outages
ERCOT also examined the sensitivity of these savings to several factors, including the Houston Import Constraint Project, gas prices, new generation, and mothballed generation. In all cases the project was still justified.

## Slide 4: Mitigated Projects

## Slide 5
Stakeholder Review
Three Stakeholder review periods were held for this project dating back to April of 2002.
Most recent comment period included supporting comments from
Golden Spread Cooperative
Milam Power Company
Alcoa
Austin Energy
Brazos Electric Cooperative
Texas Independent Energy
TXU Energy
All Stakeholder comments received supported the construction of the project

## Slide 6
ERCOT staff supports the need for the Clear Springs to Salado 345-kV double-circuit line with associated switching stations and autotransformers.
ERCOT Support for Project