| PRR Number | 547 | PRR Title | Trading Hubs |
| --- | --- | --- | --- |
| Date |  | 12-22-2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Sam Zhou |  |
| E-mail Address |  | Sam.zhou@puc.state.tx.us |  |
| Company |  | PUCT Staff, Market Oversight Division (MOD) |  |
| Company Address |  | 1701 N. Congress Ave., PO Box 13326, Austin, TX 78711-3326 |  |
| Phone Number |  | 512-936-7362 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

MOD realizes that the majority of stakeholders prefer to go ahead and establish trading hubs within the current market design.  To facilitate the desire of stakeholders, MOD is willing to not object to this PRR547 if TAC is willing to revise the PRS-approved PRR547 to accommodate the following two conditions:

- Modify the hub proposal to exclude six 345 kV buses out of Houston or North hubs

- Require ERCOT to conduct a statistical cluster analysis study by the end of June 2005 that determines appropriate buses that should be included within each of the proposed hubs

MOD shared its proposed conditions with TXUE, Reliant (sponsor of this PRR), and CPS, who support this modification.  In addition, ERCOT staff members, Mr. Bill Bojorquez and Dan Woodfin, were consulted regarding the ERCOT study and agreed to conduct such study.

The proposed ERCOT study will not affect the hubs to be created by this PRR.  Rather, the experience gained by this study will be useful for future hub determination and will provide additional information to retail electric providers and other market participants to assist them in making more informed decisions regarding their future bilateral power contracts.

Explanation

In the following paragraph, MOD summarizes its main concerns regarding the PRR547 that was approved by the Protocol Revision Subcommittee:

PRR547 defines six trading hubs in ERCOT by aggregating all 345 kV buses within each of the four 2003 ERCOT Congestion Zones: North, South, Houston, and West, and creates two average ERCOT Trading Hubs that use simple averages for hub prices.  Unfortunately, these hub definitions overlook a) the potential LMP differences which are caused by the intra-hub congestion and b) the significant shift factor differences between buses within a hub.  These two factors can significantly reduce hub price stability and predictability and, therefore, increase risk of hub price manipulation while reducing liquidity in the proposed trading hubs.

Getting the right mix of transmission buses in a trading hub is an important market design issue because bilateral contracts account for 90%-95% of energy trading.  Based on current TNT White Papers, the trading hubs will be integrated into the settlement system of a redesigned ERCOT wholesale market design and will impact CRR configuration and settlement because the trading hubs could be either source or sink points for CRRs.  As a result, adjusting the trading hubs after they have become the basis for settling bilateral contracts and CRRs could be problematic because any subsequent changes would create winners and losers who likely would “vote their pocketbooks” at ERCOT..

In order to appropriately define trading hubs, MOD staff surveyed other U.S. wholesale electricity markets on how they define their trading hubs.  We found several significant differences between the proposal in this PRR and trading hubs in other wholesale markets:

- Participants in other markets have taken much more time to analyze available information before they defined their trading hubs.  For instance, CAISO took more than a year to make a final decision;

- Other markets established formal processes to define trading hubs. For instance, ISO-NE and MISO have a special committee or working groups that discuss and select buses within trading hubs.  ISO-NE conducted a special study and issued a white paper on hub definition;

- All other markets first developed basic principles for selecting buses within a trading hub, followed by careful study before making a final decision.  For instance, PJM trading hubs are each comprised of a subset of nodes within a targeted region that are statistically selected to maximize hub price stability;  and

- Other markets used buses at lower voltage levels in their trading hubs to bridge the delivery risk of electricity between load and resources.   For instance, PJM’s Western Hub includes 111 buses with different voltage levels.

Indeed, TXUE conducted a UPLAN simulation that ERCOT staff verified.  Many significant simplified assumptions were made in the UPLAN simulation that ignored planned and forced transmission outages and generation forced outages (significant factors for congestion and price spikes), relied on marginal cost-based dispatch, and used a more stable fuel cost index.  These assumptions are not very comparable with the price data from the PJM West Hub that consists of real world LMPs, which are influenced by outages, unexpected weather-related load changes, bidding behaviors, all other market dynamics, and other random factors.  The UPLAN study provided some useful references but it alone could not demonstrate future LMP differences between buses within a trading hub.

In comments provided by ERCOT staff on December 3, 2004, ERCOT staff noted that there are four months that ERCOT LMP standard deviations were larger than the PJM West Hub without the CenterPoint-proposed Houston Import Project and the TXUE-proposed Johnson – Venus upgrade. Both of these projects are currently under planning review and have not yet been endorsed by ERCOT.   Significant price differences of monthly average LMPs are observed from this study.  For instance, two buses (Tomball and Kuykendahl) within the proposed Houston hub and four buses (Johnson Switch, Concord, Wolf Hollow and Comanche Peak for the North hub) within the proposed North Hub have more than 10% price differences from hub average prices in some months.  We believe these and other similar buses should be excluded from the proposed hub definition.

MOD realizes that the majority of stakeholders prefer to go ahead and establish trading hubs within the current market design that may evolve into our new market design.  In addition, MOD sees a lot of benefit to seeing some actual data generated within the next couple of years reflecting experiencing with actual hub operation.  To facilitate stakeholders’ desire, MOD is willing to not object to this PRR 547, and proceed with the creation of these six hubs, if TAC accommodates the following two conditions:

- Modify the hub proposal to exclude the following six 345 kV buses out of Houston or North hubs: Tomball, Kuykendahl, Johnson Switch, Concord, Wolf Hollow, and Comanche Peak.

- Require ERCOT to conduct a statistical cluster analysis study by the end of June 2005 to maximize hub price stability by meeting the following criteria:

  - Take into consideration buses that may reflect lower voltage levels than 345 kV

  - The difference between hub average shift factor and the shift factor of any bus within the hub to major CSC or other frequently binding constraints should not exceed X%.  Two scenarios should be considered using X = 5% and X = 10%, respectively; and

  - The R2 (coefficient of determination) from the cluster analysis should be greater than an appropriate threshold level determined to be reasonable by ERCOT Staff.

ERCOT may utilize its UPLAN model to measure the price stability of its hub determination method.   To benefit from stakeholders expertise, maintain transparency, and allow ERCOT flexibility to perform its independent analysis, MOD recommends that ERCOT:

- Provide its study assumptions for stakeholders’ comments

- Consider stakeholders’ comments

- Publicize final list of study assumptions to be used in the study, and

- Make available the final study

The study that we propose will provide greater confidence to Retail Electric Providers who will be using hub prices to facilitate their bilateral contracts with generators.

MOD shared its proposed conditions with TXUE, Reliant (sponsor of this PRR), and CPS.  They have expressed their support for the above proposed conditions.  In addition, ERCOT staff, Mr. Bill Bojorquez and Dan Woodfin, were consulted regarding the ERCOT study and Mr. Bojorquez agreed to conduct such study.

MOD proposes to make a slight modification to PRR 547 – Trading Hubs, as approved by the ERCOT Protocol Revision Subcommittee (PRS) at its December 16, 2004 meeting.  Specifically, MOD proposes to delete a total of six (6) 345 kV buses from the lists of 345 kV buses included in PRR 547.  Four (4) of the deleted buses are in the North 345 kV Trading Hub and two (2) of the deleted buses are in the South 345 kV Trading Hub.  The deleted buses are:

|  | ERCOT Operations |  | Steady State Working Group |  |  | Trading Hub |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV |  |
| 23 | CPSES | 345 | 1900 | COM PEAK | 345 | NORTH |
| 24 | CRD | 345 | 393 | CONCORD | 345 | NORTH |
| 41 | JONSW | 345 | 1902 | JOHN SS | 345 | NORTH |
| 88 | WOFHO | 345 | 1876 | WLFHOL | 345 | NORTH |
| 12 | KDL | 345 | 45791 | KUYDAL5 | 345 | HOUSTON |
| 20 | TB | 345 | 46500 | TOMBAL 5 | 345 | HOUSTON |

Thus, the total number of buses in each trading hub (after these deletions) is:

| Trading Hub | Number of Buses | Percentage of Buses |
| --- | --- | --- |
| North 345 kV Trading Hub | 84 | 55% |
| South 345 kV Trading Hub | 33 | 21% |
| Houston 345 kV Trading Hub | 20 | 13% |
| West 345 kV Trading Hub | 17 | 11% |
| Total | 154 | 100% |

The changes below shown are based on the “clean” version of PRR 547 approved by the PRS at its December 16, 2004 meeting (i.e., with all previous redline changes accepted).

Revised Proposed Protocol Language

7.9	Trading Hubs

The purpose of this section is to define each Trading Hub, list the transmission buses that are included in each Trading Hub, describe how to calculate the Trading Hub Price for each Trading Hub, and establish the duties of ERCOT and Market Participants related to transactions involving Trading Hubs.

7.9.1	Definition of a Trading Hub

(1)	A Trading Hub is a specified group of Transmission Buses (60 kV and above) within the ERCOT System used for scheduling bilateral energy or capacity transactions between one or more Market Participants and/or ERCOT.

(2)	All Trading Hubs are defined in Section 7.9.2, ERCOT Trading Hubs, and the only way to create other Trading Hubs is by amending Section 7.9.2 through the PRR process, as described in Section 21, Process for Protocol Revision.

(3)	If a Transmission Bus that is included in a Trading Hub is physically removed from service, ERCOT shall file a Protocol Revision Request to revise the appropriate Trading Hub to reflect that event.

(4)	Transactions involving a Trading Hub shall be expressed in a minimum of one (1) MW increments, unless specified otherwise in Section 7.9.3.4, Scheduling of Transactions Using ERCOT Trading Hubs.

7.9.2	ERCOT Trading Hubs

7.9.2.1	North 345 kV Trading Hub

(1)	The North 345 kV Trading Hub is composed of the following Transmission Buses:

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 1 | ANASW | 345 | 2373 | ANNA SS | 345 | NORTH |
| 2 | CN345 | 345 | 2372 | COLLINSS | 345 | NORTH |
| 3 | WLSH | 345 | 5925 | DCEAST | 345 | NORTH |
| 4 | FMRVL | 345 | 1685 | FARM SW | 345 | NORTH |
| 5 | LPCCS | 345 | 1684 | LAMARPWR | 345 | NORTH |
| 6 | MNSES | 345 | 1695 | MOSES | 345 | NORTH |
| 7 | PRSSW | 345 | 1692 | PARIS SS | 345 | NORTH |
| 8 | SSPSW | 345 | 1697 | SULSP SS | 345 | NORTH |
| 9 | VLSES | 345 | 1690 | VALLEY | 345 | NORTH |
| 10 | ALNSW | 345 | 2513 | ALLEN1SS | 345 | NORTH |
| 11 | ALNSW | 345 | 2514 | ALLEN2SS | 345 | NORTH |
| 12 | ALLNC | 345 | 1855 | ALLIANCE | 345 | NORTH |
| 13 | BNDVS | 345 | 970 | BEN DV B | 345 | NORTH |
| 14 | BNBSW | 345 | 1869 | BENB A T | 345 | NORTH |
| 15 | BBSES | 345 | 3380 | BIGBRN | 345 | NORTH |
| 16 | BOSQUESW | 345 | 246 | BOSQUESW | 345 | NORTH |
| 17 | CDHSW | 345 | 2420 | C HILL | 345 | NORTH |
| 18 | CNTRY | 345 | 1929 | CENTURY1 | 345 | NORTH |
| 19 | CNTRY | 345 | 1930 | CENTURY3 | 345 | NORTH |
| 20 | CRLNW | 345 | 2361 | CLT NW | 345 | NORTH |
| 21 | CMNSW | 345 | 1440 | CMCHE SS | 345 | NORTH |
| 22 | CNRSW | 345 | 2453 | CNVIL | 345 | NORTH |
| 23 | CRTLD | 345 | 1931 | COURTLND | 345 | NORTH |
| 24 | DCSES | 345 | 1888 | DEC T | 345 | NORTH |
| 25 | EMSES | 345 | 1859 | EAGLE MT | 345 | NORTH |
| 26 | ELKTN | 345 | 3105 | ELKTON | 345 | NORTH |
| 27 | ELMOT | 345 | 3406 | ELM MOTT | 345 | NORTH |
| 28 | EVRSW | 345 | 1882 | EV WEST | 345 | NORTH |
| 29 | KWASS | 345 | 11690 | FANNIN | 345 | NORTH |
| 30 | FGRSW | 345 | 3130 | FOR GROV | 345 | NORTH |
| 31 | FORSW | 345 | 2437 | FORNEY | 345 | NORTH |
| 32 | FRNYPP | 345 | 12410 | FPLEFRB1 | 345 | NORTH |
| 33 | FRNYPP | 345 | 12420 | FPLEFRB2 | 345 | NORTH |
| 34 | GIBCRK | 345 | 967 | GIBCRK B | 345 | NORTH |
| 35 | HKBRY | 345 | 2387 | HACKBRY | 345 | NORTH |
| 36 | VLYRN | 345 | 2389 | IV VR | 345 | NORTH |
| 37 | JEWET | 345 | 3391 | JEWETT N | 345 | NORTH |
| 38 | JEWET | 345 | 3390 | JEWETT S | 345 | NORTH |

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 39 | KNEDL | 345 | 1932 | KENNDLE1 | 345 | NORTH |
| 40 | KLNSW | 345 | 3422 | KILL SS | 345 | NORTH |
| 41 | LCSES | 345 | 3409 | LAKE CRK | 345 | NORTH |
| 42 | LIGSW | 345 | 1916 | LIG2 T | 345 | NORTH |
| 43 | LEG | 345 | 46020 | LIMEST 5 | 345 | NORTH |
| 44 | LFKSW | 345 | 3117 | LUFKN SS | 345 | NORTH |
| 45 | LWSSW | 345 | 646 | LWSSWB | 345 | NORTH |
| 46 | MLSES | 345 | 3100 | MARTINLK | 345 | NORTH |
| 47 | MCCREE | 345 | 833 | MCCREE B | 345 | NORTH |
| 48 | MDANP | 345 | 1939 | MELP S | 345 | NORTH |
| 49 | MDANP | 345 | 1936 | MELP56NO | 345 | NORTH |
| 50 | ENTPR | 345 | 3116 | MT ENTRP | 345 | NORTH |
| 51 | NCDSE | 345 | 3119 | NACOG SE | 345 | NORTH |
| 52 | NORSW | 345 | 2406 | NORWD | 345 | NORTH |
| 53 | NUCOR | 345 | 3396 | NUCOR | 345 | NORTH |
| 54 | PKRSW | 345 | 1436 | PARKER | 345 | NORTH |
| 55 | KMCHI | 345 | 11697 | PITTSBRG | 345 | NORTH |
| 56 | PTENN | 345 | 2522 | PL TEN | 345 | NORTH |
| 57 | RENSW | 345 | 2355 | RENERTPL | 345 | NORTH |
| 58 | RCHBR | 345 | 3133 | RICHLND1 | 345 | NORTH |
| 59 | RCHBR | 345 | 3134 | RICHLND2 | 345 | NORTH |
| 60 | RNKSW | 345 | 1853 | ROANOKE | 345 | NORTH |
| 61 | RKCRK | 345 | 1880 | ROCKY CK | 345 | NORTH |
| 62 | RYSSW | 345 | 2461 | ROYSE S | 345 | NORTH |
| 63 | SGVSW | 345 | 2433 | SGVL SS | 345 | NORTH |
| 64 | SHBSW | 345 | 3103 | SHAMBRGR | 345 | NORTH |
| 65 | SHRSW | 345 | 1918 | SHERRY | 345 | NORTH |
| 66 | SHRTP | 345 | 1917 | SHERRY T | 345 | NORTH |
| 67 | SCSES | 345 | 3109 | STRYKER | 345 | NORTH |
| 68 | SYCRK | 345 | 1935 | SYCMR CK | 345 | NORTH |
| 69 | THSES | 345 | 3405 | T HOUSE | 345 | NORTH |
| 70 | TMPSW | 345 | 3413 | TEMPSSLT | 345 | NORTH |
| 71 | TNP_ONE | 345 | 39950 | TNP ONE | 345 | NORTH |
| 72 | TRCNR | 345 | 2432 | TRICORN | 345 | NORTH |
| 73 | TRSES | 345 | 3123 | TRINDAD1 | 345 | NORTH |
| 74 | TRSES | 345 | 3124 | TRINDAD2 | 345 | NORTH |
| 75 | TOKSW | 345 | 3400 | TWIN OAK | 345 | NORTH |
| 76 | VENSW | 345 | 1907 | VENUS N | 345 | NORTH |
| 77 | VENSW | 345 | 1906 | VENUS S | 345 | NORTH |

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 78 | WLVEE | 345 | 2398 | W LEVEE | 345 | NORTH |
| 79 | W_DENT | 345 | 988 | W.DENT B | 345 | NORTH |
| 80 | WTRML | 345 | 2427 | WATMILLW | 345 | NORTH |
| 81 | WCSWS | 345 | 1434 | WCPC | 345 | NORTH |
| 82 | WEBB | 345 | 1911 | WEBB 1 | 345 | NORTH |
| 83 | WHTNY | 345 | 240 | WHITNEY | 345 | NORTH |
| 84 | WCPP | 345 | 1421 | WILLOWCK | 345 | NORTH |

(2)	Until superceded by implementation of a different market design for the ERCOT market (e.g., a nodal market design), the North 345 kV Trading Hub Price shall consist of a 10% weighting applied to the bus prices for each interval of buses 1-9 shown in Section 7.9.2.1 (1) (i.e., those 345 kV buses located in the 2004 Northeast Congestion Zone) and a 90% weighting applied to the bus prices for each interval of buses 10-84 shown in Section 7.9.2.1 (1).

7.9.2.2	South 345 kV Trading Hub

(1)	The South 345 kV Trading Hub is composed of the following Transmission Buses:

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 1 | AUSTRO | 345 | 7040 | AUSTRO34 | 345 | SOUTH |
| 2 | BLESSING | 345 | 8123 | BLESSNG6 | 345 | SOUTH |
| 3 | CAGNON | 345 | 5056 | CAGNON | 345 | SOUTH |
| 4 | COLETO | 345 | 8164 | COLETO 6 | 345 | SOUTH |
| 5 | CLEASP | 345 | 7050 | CRLSPG34 | 345 | SOUTH |
| 6 | NEDIN | 345 | 8383 | EDNBRG 6 | 345 | SOUTH |
| 7 | FAYETT | 345 | 7057 | FAYETT34 | 345 | SOUTH |
| 8 | FPPYD1 | 345 | 7056 | FPPYD134 | 345 | SOUTH |
| 9 | FPPYD2 | 345 | 7055 | FPPYD234 | 345 | SOUTH |
| 10 | GARFIE | 345 | 7048 | GARFIE34 | 345 | SOUTH |
| 11 | GUADG | 345 | 7047 | GPP | 345 | SOUTH |
| 12 | HAYSEN | 345 | 7043 | HAYSN 34 | 345 | SOUTH |
| 13 | HILLCTRY | 345 | 5211 | HILL CTY | 345 | SOUTH |
| 14 | HOLMAN | 345 | 9073 | HOLMAN | 345 | SOUTH |
| 15 | KENDAL | 345 | 7046 | KENDAL34 | 345 | SOUTH |
| 16 | LA_PALMA | 345 | 8317 | LAPALM 6 | 345 | SOUTH |
| 17 | LON_HILL | 345 | 8455 | LNHILL 6 | 345 | SOUTH |
| 18 | LOSTPI | 345 | 7041 | LOSTPN34 | 345 | SOUTH |
| 19 | LYTTON_S | 345 | 9074 | LYTTON | 345 | SOUTH |
| 20 | MARION | 345 | 7044 | MARION34 | 345 | SOUTH |
| 21 | PAWNEE | 345 | 5725 | PAWNESW6 | 345 | SOUTH |
| 22 | RIOHONDO | 345 | 8318 | RIOHND 6 | 345 | SOUTH |

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 23 | RIONOG | 345 | 7051 | RIONO 34 | 345 | SOUTH |
| 24 | SALEM | 345 | 7058 | SALEM 34 | 345 | SOUTH |
| 25 | SDSES | 345 | 3429 | SANDOW | 345 | SOUTH |
| 26 | SANMIGL | 345 | 52 | SANMIGEL | 345 | SOUTH |
| 27 | SKYLINE | 345 | 5371 | SKYLINE | 345 | SOUTH |
| 28 | STP | 345 | 5915 | SO TEX 5 | 345 | SOUTH |
| 29 | CALAVERS | 345 | 5400 | SPRUCE | 345 | SOUTH |
| 30 | BRAUNIG | 345 | 5475 | VON ROSE | 345 | SOUTH |
| 31 | WHITEPT | 345 | 8956 | WHITEPT | 345 | SOUTH |
| 32 | ZORN | 345 | 7042 | ZORN 34 | 345 | SOUTH |
| 33 | ZORN | 345 | 7045 | ZORN 34 | 345 | SOUTH |

(2)	The South 345 kV Trading Hub Price is the simple average of the bus prices in each interval for each bus included in this Trading Hub.

7.9.2.3	Houston 345 kV Trading Hub

(1)	The Houston 345 kV Trading Hub is composed of the following listed transmission buses:

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 1 | ADK | 345 | 45600 | ADICKS 5 | 345 | HOUSTON |
| 2 | _BI | 345 | 47000 | BELAIR 5 | 345 | HOUSTON |
| 3 | CBY | 345 | 40000 | CEDARP 5 | 345 | HOUSTON |
| 4 | CTR | 345 | 40240 | CENTER | 345 | HOUSTON |
| 5 | CHB | 345 | 40255 | CHAMBR 5 | 345 | HOUSTON |
| 6 | DPW | 345 | 40450 | DEPWTR 5 | 345 | HOUSTON |
| 7 | DOW | 345 | 42500 | DOW345 5 | 345 | HOUSTON |
| 8 | RNS | 345 | 40600 | FRONTR | 345 | HOUSTON |
| 9 | GBY | 345 | 40700 | GRNBYU 5 | 345 | HOUSTON |
| 10 | _JN | 345 | 47300 | JENETA 5 | 345 | HOUSTON |
| 11 | _KG | 345 | 40900 | KING 5 | 345 | HOUSTON |
| 12 | KDL | 345 | 45972 | KUYDAL 5 | 345 | HOUSTON |
| 13 | _NB | 345 | 46100 | N_BELT 5 | 345 | HOUSTON |
| 14 | _OB | 345 | 44500 | OBRIEN 5 | 345 | HOUSTON |
| 15 | PHR | 345 | 42000 | P_H_R_ 5 | 345 | HOUSTON |
| 16 | SDN | 345 | 41430 | SHELDN 5 | 345 | HOUSTON |
| 17 | SMITHERS | 345 | 44650 | SMTHRS 5 | 345 | HOUSTON |
| 18 | THW | 345 | 45500 | T_H_W_ 5 | 345 | HOUSTON |
| 19 | WAP | 345 | 44000 | W_A_P_ 5 | 345 | HOUSTON |
| 20 | _WO | 345 | 46600 | WHITOK 5 | 345 | HOUSTON |

(2)	The Houston 345 kV Trading Hub Price is the simple average of the bus prices in each interval for each bus included in this Trading Hub.

7.9.2.4	West 345 kV Trading Hub

(1)	The West 345 kV Trading Hub is composed of the following listed transmission buses:

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 1 | ABMB | 345 | 6230 | ABMULCE7 | 345 | WEST |
| 2 | BOMSW | 345 | 1422 | BOWMAN | 345 | WEST |
| 3 | OECCS | 345 | 1020 | EHV TIET | 345 | WEST |
| 4 | BTRCK | 345 | 1050 | ENRONIPP | 345 | WEST |
| 5 | FSHSW | 345 | 1425 | FISHRDSS | 345 | WEST |
| 6 | FLCNS | 345 | 1025 | FS COGEN | 345 | WEST |
| 7 | GRSES | 345 | 1430 | GRAHAM | 345 | WEST |
| 8 | JCKSW | 345 | 1429 | JXBRO SS | 345 | WEST |
| 9 | MDLNE | 345 | 1021 | MIDL E T | 345 | WEST |
| 10 | MOSSW | 345 | 1018 | MOSS | 345 | WEST |
| 11 | MGSES | 345 | 1030 | MRGN CRK | 345 | WEST |
| 12 | DCTM | 345 | 6096 | NORTHDC7 | 345 | WEST |
| 13 | ODEHV | 345 | 1026 | ODES EHV | 345 | WEST |
| 14 | OKLA | 345 | 6100 | OKLAEHV7 | 345 | WEST |
| 15 | SARC | 345 | 6444 | SAREDCK7 | 345 | WEST |
| 16 | SWCOG | 345 | 1420 | SWEETWTR | 345 | WEST |
| 17 | TWINBUTE | 345 | 6009 | TWBT7 | 345 | WEST |

(2)	The West 345 kV Trading Hub Price is the simple average of the bus prices in each interval for each bus included in this Trading Hub.

7.9.2.5	ERCOT Hub Average 345 kV Trading Hub

The ERCOT Hub Average 345 kV Trading Hub Price is the simple average of the North 345 kV Trading Hub Price, South 345 kV Trading Hub Price, Houston 345 kV Trading Hub Price, and West 345 kV Trading Hub Price.

7.9.2.6	ERCOT Bus Average 345 kV Trading Hub

(1)	The ERCOT Bus Average 345 kV Trading Hub is composed of the buses listed in Section 7.9.2.1, the North 345 kV Trading Hub, Section 7.9.2.2, the South 345 kV Trading Hub, Section 7.9.2.3, the Houston 345 kV Trading Hub and Section 7.9.2.4, the West 345 kV Trading Hub.

(2)	Until superseded by implementation of a different market design for the ERCOT market (e.g., a nodal market design), the ERCOT Bus Average 345 kV Trading Hub Price for each interval shall consist of a 55% weighting applied to the North 345 kV Trading Hub price, a 21% weighting applied to the South 345 kV Trading Hub price, a 13% weighting applied to the Houston 345 kV Trading Hub price, and a 11% weighting applied to the West 345 kV Trading Hub price.

7.9.3 ERCOT Responsibilities

7.9.3.1	Posting of a List of Buses included in Trading Hubs

(1)	ERCOT shall post a list of all the buses included in each ERCOT Trading Hub on the public MIS.  The list must include the bus name and kV rating as used by ERCOT Operations, the bus number, bus name and kV rating as used in the Steady State Working Group (SSWG) base cases, and the Congestion Zone that the bus is assigned to.

(2)	ERCOT shall update the list of buses included in each ERCOT Trading Hub as soon as possible whenever a new Trading Hub is created under this Section 7.9 or when affected Transmission Buses are renamed in either the ERCOT Operations model or the SSWG model.

7.9.3.2	Calculation of Trading Hub Prices

ERCOT shall calculate Trading Hub Prices for each Settlement Interval. The bus price for each Transmission Bus for each Settlement Interval is the Market Clearing Price at that bus as determined elsewhere in these Protocols for that Settlement Interval.

7.9.3.3	Posting of Trading Hub Prices

ERCOT shall post the Trading Hub Prices for each ERCOT Trading Hub for each Settlement Interval as soon as practicable on the public MIS.

7.9.3.4	Scheduling of Transactions Using ERCOT Trading Hubs

(1)	Until ERCOT’s scheduling system is updated to automatically convert transactions involving Trading Hubs into transactions involving Congestion management zones, QSEs having any transaction involving an ERCOT Trading Hub shall convert each such transaction to one that can be expressed as a scheduled transaction between existing Congestion Management zones.

(2)	The scheduling increment allowed for converted transactions described in Section 7.9.3.4 item (1) must be multiples of the following amounts:

(a)	North 345 kV Trading Hub = 10 MW

(b)	South 345 kV Trading Hub = 1 MW

(c)	Houston 345 kV Trading Hub = 1 MW

(d)	West 345 kV Trading Hub = 1 MW

(e)	ERCOT Hub Average 345 kV Trading Hub = 40 MW

(f)	ERCOT Bus Average 345 kV Trading Hub = 200 MW