## Slide 1: Reliability and Operations Subcommittee Report
Presentation to the
ERCOT Technical Advisory Committee
January 6, 2005

## Slide 2: Voting Items
OGRR 157 – Delete Test Form for Non-Spin - Remove unit specific non-spin test form from Operating Guides. No comments received.
OGRR 158 – Consistent UF Relay Trip Time Language - Revise Operating Guide 2.9.1 (Automatic Firm Load Shedding) to be consistent with approved OGRR150 (Clarification of UF Relay Trip Time for Load Shedding).

## Slide 3: Other ROS Activities
A Double Circuit Outage Contingency Ad Hoc group was formed to review Operating Guide 4.3 Operation to Maintain Transmission and draft a recommendation to the ROS in February/March.
First meeting January 18, 2005.

## Slide 4: Reliable Fuel Operations in ERCOT Update
Task Force has had two conference calls since the last TAC meeting to discuss perspectives on the Alternative Fuel Survey.
To better determine system reserves, the Task Force has asked ERCOT to provide “raw data” behind survey results. All units will be listed by fuel type, not name.
The Task Force is also trying to determine the current status of gas availability in ERCOT.
Survey has not been fully vetted at ROS.

## Slide 5: Reliable Fuel Operations in ERCOT Update
Variables:
Generation – no obligation to serve
Maintenance Schedules – no coordination of planned Resource maintenance
Loads – Relaxed Balanced Schedules
ERCOT Emergency Procedures – no notification in advance of need for oil
Gas curtailments of generation can also curtail some loads.

## Slide 6: Reliable Fuel Operations in ERCOT Update
Variables continued:
While there are known gas capability or supply problems during periods of high demand, there are market incentives to continue to build efficient gas units.
The market incentive to “mothball” older units with poor heat rates may also reduce those units with dual fuel capability.

## Slide 7: Reliable Fuel Operations in ERCOT Update
Discussion Topics for Possible Recommended Solutions:
Re-examine ERCOT Emergency Procedures
Gas transmission system status – improvements, pre-determined priorities for users, etc.
Provide incentives for Alternate Fuel units