## Dislclaimer
Disclaimer
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided by ERCOT market participants. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of the Working Paper and its accuracy should be confirmed by each ERCOT market participant that contributed data for this Working Paper.
This Working Paper is based on data submitted by ERCOT market participants. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## ReserveMargin
Reserve Margin Calculation as of 01/17/2005
Registered Resources: |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
| Installed Operational Units, MW | 64360.1 | 64360.1 | 64360.1 | 64360.1 | 64360.1 | 64360.1
| Registered Capacity from Private Networks | 2880.9 | 2880.9 | 2880.9 | 2880.9 | 2880.9 | 2880.9
| Operational Wind Generation (100%) | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6
| RMR Units under Contract | 1290 | 178 | 178 | 178 | 178 | 0
| Operational Generation, MW | 69954.6 | 68842.6 | 68842.6 | 68842.6 | 68842.6 | 68664.6
| 100% DC Ties, MW | 856 | 856 | 856 | 856 | 856 | 856
| 100% Switchable Operational Units, MW | 2988.2 | 2988.2 | 2988.2 | 2988.2 | 2988.2 | 2988.2
| Mothballed Units, MW | 8386 | 9498 | 9498 | 9498 | 9498 | 9676
| Planned Units with Signed IA, MW | 0 | 592 | 767 | 767 | 767 | 767
| less Retiring Units, MW | 0 | 0 | 0 | 0 | 65 | 456
| Total Resources, MW | 82184.8 | 82776.8 | 82951.8 | 82951.8 | 82886.8 | 82495.8
TAC Reserve Margin Calculation (Official):
| less 90% Existing Wind Generation, MW | 1281.24 | 1281.24 | 1281.24 | 1281.24 | 1281.24 | 1281.24
| less 90% Planned Wind Generation, MW | 0 | 0 | 157.5 | 157.5 | 157.5 | 157.5
| less Mothballed Units, MW | 8386 | 0 | 0 | 0 | 0 | 0
| Resources for Calculation | 72517.56 | 81495.56 | 81513.06 | 81513.06 | 81448.06 | 81057.06
Load Forecast:
| Total Summer Peak Demand | 62906 | 64416 | 65962 | 67545 | 69166 | 70826
| less LAARS (deployable only), MW | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
| less BULS | 0 | 0 | 0 | 0 | 0 | 0
| Firm Load Forecast, MW | 61756 | 63266 | 64812 | 66395 | 68016 | 69676
| Reserve Margin | 17.43% | 28.81% | 25.77% | 22.77% | 19.75% | 16.33%
Minimum ERCOT Requirement is 12.5%
What If Calculations:
With Texas Genco units retired:
| less Texas Genco retired units | 1628 | 3839 | 3839 | 3839 | 3839 | 3839
| Reserve Margin | 14.79% | 22.75% | 19.85% | 16.99% | 14.1% | 10.82%
With Texas Genco units retired and mothballed units not operational in future years:
| less Mothballed Units, MW | 8386 | 9498 | 9498 | 9498 | 9498 | 9676
| less additional Texas Genco retired units | 1628 | 1628 | 1628 | 1628 | 1628 | 1628
| Reserve Margin | 14.79% | 11.23% | 8.602% | 6.013% | 3.39% | 0.1106%