## Slide 1: Shadow Price Cap Study
ERCOT
Market Operations Support

## Slide 2: Background
Primary Goal: Reduce inefficient balancing energy deployments when resolving zonal congestion
2 proposed methods:
  Grouping of similar shift factors
  Shadow Price Cap
ORG preferred Shadow Price Cap
ERCOT to study Shadow Price Cap and provide methodology to WMS

## Slide 3: Implementing Shadow Price Cap
Determine value of shadow price cap
Set penalty factor of constraint violation = shadow price cap
  For CSC, the cap acts as system’s stopping point

## Slide 4: Current Penalty Factor Values
Portfolio Ramp Rate = $ 75,000
OC3 (Contingency) = $ 250,000
OC2 = $ 500,000
OC1 (CSC) = $ 750,000
OC3 (Base case) = $ 1,000,000
Power Balance = $ 5,000,000

## Slide 5: Proposed Values
Shadow price cap (penalty factor) | Current ($) | Proposed ($)
Portfolio Ramp Rate | 75,000 | 1,001
OC3 (contingency) | 250,000 | 3,000
OC2 | 500,000 | 3,000
OC1 (CSC) | 750,000 | 4,500
OC3 (base case) | 1,000,000 | 100,000
Power Balance | 5,000,000 | 5,000,000

## Slide 6: Shadow price cap - CSC
Principle:
  Deploy balancing energy in zones connected by CSC (most effective zones)
The maximum ∆SF of a CSC is around 0.45 (based on ERCOT monthly posted information);
Using maximum bid price difference of 2000 $/MW,

## Slide 7: Study
Run production cases (a) using proposed penalty factors (b) using grouped shift factors
  All intervals with price administration and CSC Congestion since June 2004
  All intervals with CSC shadow price > $1000
  All intervals of one month (Sept. 2004)
Compare study results with production results

## Slide 8: Preliminary Results
High CSC shadow price
  On December 2nd 05:00, 05:15, and 05:30;
  On December 4th 07:00, 07:15, and 07:30.
CSC Shadow price cap = 4500 $
Grouping shift factor
  1. Find the zones where the Shift Factor difference for a CSC is less than or equal to 0.02;
  2. Reset the Shift Factor to the average value for each applicable zone.

## Slide 9: CSC Shadow Price
 | EN CSC |  |  | SN CSC |  | 
 | Original Case | SP Cap | Group SF | Original Case | SP Cap | Group SF
12-02-04 0500 | $1,064 | $1,064 | $343 | $1,021 | $1,021 | $351
12-02-04 0515 | $5,670 | $4,500 $924 *PA | $144 | $0 | $0 | $86
12-02-04 0530 | $750,000 $1,835 *PA | $4,500 $939 *PA | $750,000 $929 *PA | $0 | $0 | $142
12-04-04 0700 | $0 | $0 | $0 | $1,094 | $1,094 | $1,072
12-04-04 0715 | $0 | $0 | $0 | $1,081 | $1,081 | $1,059
12-04-04 0730 | $0 | $0 | $0 | $1,012 | $1,012 | $992
*PA = Price Administration

## Slide 10: BES deployment cost
 | Original case | SP Cap (+Orig case) | Group SF (+Orig case)
12-02-04 0500 | $162,015 | 0 | -$107,810
12-02-04 0515 | $303,076 | -$64,532 | -$294,259
12-02-04 0530 | $262,175 | -$202,184 | -$206,664
12-04-04 0700 | $154,324 | 0 | $813
12-04-04 0715 | $139,466 | 0 | $1,222
12-04-04 0730 | $138,090 | 0 | $1,339

## Slide 11: BES MW deployment (up + down)
 | Original case MW | SP Cap MW (+Orig case) | Group SF MW (+Orig case)
12-02-04 0500 | 2859.84 | 0 | -132.24
12-02-04 0515 | 2860.75 | -422.67 | -886.49
12-02-04 0530 | 4415 | -1327.4 | -1336.65
12-04-04 0700 | 2312.07 | 0 | +62.24
12-04-04 0715 | 2168.71 | 0 | +70.37
12-04-04 0730 | 1934.23 | 0 | +75.34

## Slide 12: Calculated CSC violation value
 | Binding CSC | Original case violation MW | SP Cap Violation MW (+Orig case) | Group SF violation MW (+Orig case)
12-02-04 0500 | NE-N | 0 | 0 | 25.09
12-02-04 0515 | NE-N | 0 | 1.64 | 22.77
12-02-04 0530 | NE-N | 32.85 | 1.05 | 10.23
12-04-04 0700 | S-N | 0 | 0 | -12.41
12-04-04 0715 | S-N | 0 | 0 | -14.03
12-04-04 0730 | S-N | 0 | 0 | -15.01

## Slide 13: Next Steps
Conduct study and prepare results
Present results in detail at next ORG
Summarize results at March WMS

## Slide 14: Decision Points
Based on results, which method to use?
  Shadow Price Cap
  Grouping shift factor
  Both methods
Maintain price administration?