## Slide 1: Compliance Update
ROS
Feb. 10, 2005
Mark R. Henry, ERCOT Compliance

## Slide 2: Topics to Cover
NERC Blackout Recommendations
August 18th DCS Event update

## Slide 3: August 18th DCS event
ERCOT Operations addressing procedures and drafting a PRR
13 QSE’s have been asked for further information to confirm or undertake additional actions based on earlier responses
NERC has indicated that ERCOT will not be given an exemption from the DCS violation, but no additional RRS must be purchased. Needs final confirmation

## Slide 4: NERC Recommendation 8b - UVLS
ERCOT provided locations that benefit from UVLS
SPWG is/will develop relay information and requirements (OGRR’s)
CRITICAL PATH: Individual detailed study by TDSP’s is needed to:
  Confirm the benefit
  Prioritize the efforts
  Detail the locations and equipment settings
Implemention plans and installation dates follow further TDSP study

## Slide 5: NERC Recommendation 12a – Time Synchronization of Disturbance Monitors
SPWG issued requirement (draft OGRR) for time synchronization via GPS-based signals
Most TDSP’s are not affected, time synchronization already in place
4 companies will need to undertake efforts to add equipment. SPWG members believed most installation can be complete by EOY 2006

## Slide 6: NERC Recommendation 12b – Dynamic Disturbance Monitors
This equipment is meant to monitor for transient stability concerns. Region has no installations today.
DWG issued plan to conduct annual review (reported to ROS in September 2004)
  First DWG review will occur this month
  Annual review will be incorporated into DWG procedures later in 2005
DWG identified certain technical specifications for monitoring (also reported to ROS in Sept 2004).

## Slide 7: NERC Recommendation 14 – Model Validation
SSWG commented on model validation efforts related to load flow/steady state conditions.
DWG plans annual event simulation
  First event simulation in 2005
  Add simulation to annual DWG procedures in 2005
Further work on models identified
  Wind model work in 2005
  Load model work in 2007
  Combined cycle gen models – deleted from ERCOT budget
  Governor and AVR testing to support model validation needs – 2006 target