## Dislclaimer
Disclaimer
UNIT DATA
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided by ERCOT market participants. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of the Working Paper and its accuracy should be confirmed by each ERCOT market participant that contributed data for this Working Paper.
This Working Paper is based on data submitted by ERCOT market participants. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## ReserveMargin
Reserve Margin Calculation
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010
Registered Resources:
| Installed Operational Units, MW | 64360.1 | 64360.1 | 64360.1 | 64360.1 | 64360.1 | 64360.1
| Registered Capacity from Private Networks | 2880.9 | 2880.9 | 2880.9 | 2880.9 | 2880.9 | 2880.9
| Operational Wind Generation (100%) | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6
| RMR Units under Contract | 1290 | 178 | 178 | 178 | 178 | 0
| Operational Generation, MW | 69954.6 | 68842.6 | 68842.6 | 68842.6 | 68842.6 | 68664.6
| 100% DC Ties, MW | 856 | 856 | 856 | 856 | 856 | 856
| 100% Switchable Operational Units, MW | 2988.2 | 2988.2 | 2988.2 | 2988.2 | 2988.2 | 2988.2
| Mothballed Units, MW | 8386 | 9498 | 9498 | 9498 | 9498 | 9676
| Planned Units with Signed IA, MW | 0 | 592 | 767 | 767 | 767 | 767
| less Retiring Units, MW | 0 | 0 | 0 | 0 | 65 | 456
| Total Resources, MW | 82184.8 | 82776.8 | 82951.8 | 82951.8 | 82886.8 | 82495.8
TAC Reserve Margin Calculation:
| less 90% Existing Wind Generation, MW | 1281.24 | 1281.24 | 1281.24 | 1281.24 | 1281.24 | 1281.24
| less 90% Planned Wind Generation, MW | 0 | 0 | 157.5 | 157.5 | 157.5 | 157.5
| less Mothballed Units, MW | 8386 | 0 | 0 | 0 | 0 | 0
| Resources for TAC Calculation | 72517.56 | 81495.56 | 81513.06 | 81513.06 | 81448.06 | 81057.06
Load Forecast:
| Total Summer Peak Demand | 62906 | 64416 | 65962 | 67545 | 69166 | 70826
| less LAARS (deployable only), MW | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
| less BULS | 0 | 0 | 0 | 0 | 0 | 0
| Firm Load Forecast, MW | 61756 | 63266 | 64812 | 66395 | 68016 | 69676
| Reserve Margin | 17.43% | 28.81% | 25.77% | 22.77% | 19.75% | 16.33%
If mothballed units are not operational in future years:
| less Mothballed Units, MW | 8386 | 9498 | 9498 | 9498 | 9498 | 9676
| Reserve Margin | 17.43% | 13.8% | 11.11% | 8.465% | 5.784% | 2.447%
If Texas Genco units are retired:
| less Texas Genco retired units | 1628 | 3839 | 3839 | 3839 | 3839 | 3839
| Reserve Margin | 14.79% | 22.75% | 19.85% | 16.99% | 14.1% | 10.82%
If mothballed units are not operational in future years and Texas Genco units are retired:
| less Mothballed Units, MW | 6175 | 7287 | 7287 | 7287 | 7287 | 7465
| less Texas Genco retired units | 3839 | 3839 | 3839 | 3839 | 3839 | 3839
| Reserve Margin | 14.79% | 11.23% | 8.602% | 6.013% | 3.39% | 0.1106%
Note on B5: Author: This is the amount that the generator has registered as being available for the grid.
Note on B7: Author: Assumption is that when units go off RMR, they are mothballed. Note that mothballed amount increases as RMR decreases.
Note on B12: Author: This assumes that the switchable units will be able to serve ERCOT load at the time of ERCOT's system peak.
Note on B13: Author: Assumption is that as RMR units go off RMR they will be mothballed. Note that mothballed amount increases as RMR amount decreases.
Note on B14: Author: Includes 100% of planned wind generation.
Note on B21: Author: Generation Adequacy Task Force specified that only 10% of the wind generation would be considered to be available at the time of the peak.
Note on B22: Author: Generation Adequacy Task Force specified that only 10% of the wind generation would be considered to be available at the time of the peak.
Note on B23: Author: Generation Adequacy Task Force specified that mothballed units would be considered to be mothballed only in the first year.
Note on B28: Author: Forecast made in March 2004
Note on B33: Author: Formula: (Resources-Firm Load Forecast)/Firm Load Forecast
Note on B47: Author: These values for mothballed units do not include PH Robinson because it is included with the Texas Genco retired units.
Note on C42: Author: Ph Robinson has already been subtracted as part of the mothballed units in 2005 but is subtracted here in 2006 though 2010.

## UnitData
Unit Information
Updated 01/17/2005
The amount shown as capability is the amount that the unit has available to sell to the ERCOT grid.
Private network (self-serve) units are shown without names or owners. Associating the name with the unit capacity is considered sensitive information.
UnitName | County | 2005 CM Zone | In-Service Year | 2005Summer Capability, MW | 2006Summer Capability, MW | 2007Summer Capability, MW | 2008Summer Capability, MW | 2009Summer Capability, MW | 2010Summer Capability, MW | Winter Capability, MW | Operational Status | Primary Fuel | Owner
A von Rosenberg 1-CT1 | Bexar | South | 2000 | 149 | 149 | 149 | 149 | 149 | 149 | 175 | Operational | Natural gas | City Public Service San Antonio
A von Rosenberg 1-CT2 | Bexar | South | 2000 | 149 | 149 | 149 | 149 | 149 | 149 | 175 | Operational | Natural gas | City Public Service San Antonio
A von Rosenberg 1-ST1 | Bexar | South | 2000 | 183 | 183 | 183 | 183 | 183 | 183 | 200 | Operational | Natural gas | City Public Service San Antonio
AES Wolf Hollow Power Proj. 1 | Hood | North | 2003 | 225 | 225 | 225 | 225 | 225 | 225 | 264.8 | Operational | Natural gas | AES Wolf Hollow, LP
AES Wolf Hollow Power Proj. 2 | Hood | North | 2003 | 225 | 225 | 225 | 225 | 225 | 225 | 264.8 | Operational | Natural gas | AES Wolf Hollow, LP
AES Wolf Hollow Power Proj. 3 | Hood | North | 2003 | 293 | 293 | 293 | 293 | 293 | 293 | 251.7 | Operational | Natural gas | AES Wolf Hollow, LP
Amistad Hydro 1 | Val Verde | South | 1983 | 35 | 35 | 35 | 35 | 35 | 35 | 37.9 | Operational | Water | International Boundary and Water Comm
Amistad Hydro 2 | Val Verde | South | 1983 | 35 | 35 | 35 | 35 | 35 | 35 | 37.9 | Operational | Water | International Boundary and Water Comm
Atkins 3 | Brazos | North | 1955 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | Operational | Natural gas | Bryan Texas Utilities
Atkins 4 | Brazos | North | 1958 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | Operational | Natural gas | Bryan Texas Utilities
Atkins 5 | Brazos | North | 1965 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | Operational | Natural gas | Bryan Texas Utilities
Atkins 6 | Brazos | North | 1969 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | Operational | Natural gas | Bryan Texas Utilities
Atkins 7 | Brazos | North | 1975 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | Operational | Natural gas | Bryan Texas Utilities
Austin 1 | Travis | South | 1940 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | Operational | Water | Lower Colorado River Authority
Austin 2 | Travis | South | 1940 | 8.9 | 8.9 | 8.9 | 8.9 | 8.9 | 8.9 | 8.9 | Operational | Water | Lower Colorado River Authority
Bastrop Energy Center 1 | Bastrop | South | 2002 | 154.7 | 154.7 | 154.7 | 154.7 | 154.7 | 154.7 | 175.3 | Operational | Natural gas | Bastrop Energy Partners, LP
Bastrop Energy Center 2 | Bastrop | South | 2002 | 154.7 | 154.7 | 154.7 | 154.7 | 154.7 | 154.7 | 175.3 | Operational | Natural gas | Bastrop Energy Partners, LP
Bastrop Energy Center 3 | Bastrop | South | 2002 | 240 | 240 | 240 | 240 | 240 | 240 | 240.5 | Operational | Natural gas | Bastrop Energy Partners, LP
Baytown Energy Center 1 | Chambers | Houston | 2002 | 102 | 102 | 102 | 102 | 102 | 102 | 120 | Operational | Natural gas | Calpine Corporation
Baytown Energy Center 2 | Chambers | Houston | 2002 | 125 | 125 | 125 | 125 | 125 | 125 | 140 | Operational | Natural gas | Calpine Corporation
Baytown Energy Center 3 | Chambers | Houston | 2002 | 125 | 125 | 125 | 125 | 125 | 125 | 140 | Operational | Natural gas | Calpine Corporation
Baytown Energy Center 4 | Chambers | Houston | 2002 | 125 | 125 | 125 | 125 | 125 | 125 | 140 | Operational | Natural gas | Calpine Corporation
Big Brown 1 | Freestone | North | 1971 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | Operational | Lignite | TXU Big Brown Co. LP
Big Brown 2 | Freestone | North | 1972 | 560 | 560 | 560 | 560 | 560 | 560 | 575 | Operational | Lignite | TXU Big Brown Co. LP
Bio Energy Partners 1 | Denton | North | 1988 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 3.3 | Operational | Landfill gas | Bioenergy Partners
Bio Energy Partners 2 | Denton | North | 1996 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 3.3 | Operational | Landfill gas | Bioenergy Partners
Bosque 1 | Bosque | North | 2000 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 177 | Operational | Natural gas | Mirant Texas Management, Inc
Bosque 2 | Bosque | North | 2000 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 177 | Operational | Natural gas | Mirant Texas Management, Inc
Bosque 3 | Bosque | North | 2000 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 177 | Operational | Natural gas | Mirant Texas Management, Inc
Bosque 4 | Bosque | North | 2000 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | Operational | Natural gas | Mirant Texas Management, Inc
Brazos Valley 1 | Fort Bend | Houston | 2003 | 198.9 | 198.9 | 198.9 | 198.9 | 198.9 | 198.9 | 198.9 | Operational | Natural gas | Calpine Corporation
Brazos Valley 2 | Fort Bend | Houston | 2003 | 198.9 | 198.9 | 198.9 | 198.9 | 198.9 | 198.9 | 198.9 | Operational | Natural gas | Calpine Corporation
Brazos Valley 3 | Fort Bend | Houston | 2003 | 275.6 | 275.6 | 275.6 | 275.6 | 275.6 | 275.6 | 275.6 | Operational | Natural gas | Calpine Corporation
Buchanan 1 | Llano | South | 1938 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | Operational | Water | Lower Colorado River Authority
Buchanan 2 | Llano | South | 1938 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | Operational | Water | Lower Colorado River Authority
Buchanan 3 | Llano | South | 1938 | 14.9 | 14.9 | 14.9 | 14.9 | 14.9 | 14.9 | 14.9 | Operational | Water | Lower Colorado River Authority
C E Newman 5 | Dallas | North | 1963 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | Operational | Natural gas | Garland, City of
Canyon 1 | Comal | South | 1989 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | Operational | Water | Guadalupe Blanco River Authority
Canyon 2 | Comal | South | 1989 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | Operational | Water | Guadalupe Blanco River Authority
Cedar Bayou 1 | Chambers | Houston | 1970 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | Operational | Natural gas | Texas Genco II
Cedar Bayou 2 | Chambers | Houston | 1972 | 748 | 748 | 748 | 748 | 748 | 748 | 748 | Operational | Natural gas | Texas Genco II
Cedar Bayou 3 | Chambers | Houston | 1974 | 760 | 760 | 760 | 760 | 760 | 760 | 760 | Operational | Natural gas | Texas Genco II
Channel Energy Center 1 | Harris | Houston | 2001 | 134 | 134 | 134 | 134 | 134 | 134 | 148.8 | Operational | Natural gas | Channel Energy Center
Channel Energy Center 2 | Harris | Houston | 2002 | 194 | 194 | 194 | 194 | 194 | 194 | 208.8 | Operational | Natural gas | Channel Energy Center
Channel Energy Center 3 | Harris | Houston | 2002 | 190 | 190 | 190 | 190 | 190 | 190 | 225 | Operational | Natural gas | Channel Energy Center
Channelview 1 | Harris | Houston | 2002 | 163 | 163 | 163 | 163 | 163 | 163 | 191 | Operational | Natural gas | Reliant Energy Channelview LP
Channelview 2 | Harris | Houston | 2002 | 163 | 163 | 163 | 163 | 163 | 163 | 191 | Operational | Natural gas | Reliant Energy Channelview LP
Channelview 3 | Harris | Houston | 2002 | 163 | 163 | 163 | 163 | 163 | 163 | 191 | Operational | Natural gas | Reliant Energy Channelview LP
Channelview 4 | Harris | Houston | 2001 | 94 | 94 | 94 | 94 | 94 | 94 | 122 | Operational | Natural gas | Reliant Energy Channelview LP
Channelview 5 | Harris | Houston | 2001 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | Operational | Natural gas | Equistar Chemicals, Inc
Coleman IC1 | Coleman | West | 1963 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0.1 | Operational | Natural gas | City of Coleman
Coleman IC2 | Coleman | West | 1968 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | Operational | Natural gas | City of Coleman
Coleman IC3 | Coleman | West | 1973 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | Operational | Natural gas | City of Coleman
Coleman IC4 | Coleman | West | 1951 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Operational | Natural gas | City of Coleman
Coleman IC5 | Coleman | West | 1959 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | Operational | Natural gas | City of Coleman
Coleman IC6 | Coleman | West | 1978 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.3 | Operational | Natural gas | City of Coleman
Coleman IC7 | Coleman | West | 1980 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.6 | Operational | Natural gas | City of Coleman
Coleman IC8 | Coleman | West | 1955 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.3 | Operational | Natural gas | City of Coleman
Coleman IC9 | Coleman | West | 1986 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 3 | Operational | Natural gas | City of Coleman
Coleto Creek 1 | Goliad | South | 1980 | 632 | 632 | 632 | 632 | 632 | 632 | 632 | Operational | Bituminous coal | Coleto Creek WLE, LP
Comanche Peak 1 | Somervell | North | 1990 | 1084 | 1084 | 1084 | 1084 | 1084 | 1084 | 1117 | Operational | Nuclear | TXU Generation LLP
Comanche Peak 2 | Somervell | North | 1993 | 1124 | 1124 | 1124 | 1124 | 1124 | 1124 | 1121 | Operational | Nuclear | TXU Generation LLP
Corpus Christi Energy Center 1 | Nueces | South | 2002 | 113 | 113 | 113 | 113 | 113 | 113 | 140.9 | Operational | Natural gas | Corpus Christi Cogeneration LP
Corpus Christi Energy Center 2 | Nueces | South | 2002 | 113 | 113 | 113 | 113 | 113 | 113 | 140.9 | Operational | Natural gas | Corpus Christi Cogeneration LP
Corpus Christi Energy Center 3 | Nueces | South | 2002 | 131 | 131 | 131 | 131 | 131 | 131 | 133.5 | Operational | Natural gas | Corpus Christi Cogeneration LP
Dansby 1 | Brazos | North | 1978 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | Operational | Natural gas | Bryan Texas Utilities
Dansby 2 | Brazos | North | 2004 | 46 | 46 | 46 | 46 | 46 | 46 | 48 | Operational | Natural gas | Bryan Texas Utilities
Decker Creek 1 | Travis | South | 1970 | 354 | 354 | 354 | 354 | 354 | 354 | 335 | Operational | Natural gas | Austin Energy
Decker Creek 2 | Travis | South | 1977 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | Operational | Natural gas | Austin Energy
Decker Creek G1 | Travis | South | 1988 | 52 | 52 | 52 | 52 | 52 | 52 | 60 | Operational | Natural gas | Austin Energy
Decker Creek G2 | Travis | South | 1988 | 52 | 52 | 52 | 52 | 52 | 52 | 60 | Operational | Natural gas | Austin Energy
Decker Creek G3 | Travis | South | 1988 | 52 | 52 | 52 | 52 | 52 | 52 | 60 | Operational | Natural gas | Austin Energy
Decker Creek G4 | Travis | South | 1988 | 52 | 52 | 52 | 52 | 52 | 52 | 60 | Operational | Natural gas | Austin Energy
DeCordova 1 | Hood | North | 1975 | 804 | 804 | 804 | 804 | 804 | 804 | 812 | Operational | Natural gas | TXU DeCordova Co. LP
DeCordova A | Hood | North | 1990 | 75 | 75 | 75 | 75 | 75 | 75 | 89 | Operational | Natural gas | TXU DeCordova Co. LP
DeCordova B | Hood | North | 1990 | 75 | 75 | 75 | 75 | 75 | 75 | 89 | Operational | Natural gas | TXU DeCordova Co. LP
DeCordova C | Hood | North | 1990 | 75 | 75 | 75 | 75 | 75 | 75 | 89 | Operational | Natural gas | TXU DeCordova Co. LP
DeCordova D | Hood | North | 1990 | 75 | 75 | 75 | 75 | 75 | 75 | 89 | Operational | Natural gas | TXU DeCordova Co. LP
Deepwater 7 | Harris | Houston | 1955 | 174 | 174 | 174 | 174 | 174 | 174 | 174 | Operational | Natural gas | Texas Genco II
Deer Park Energy Center 1 | Harris | Houston | 2003 | 183 | 183 | 183 | 183 | 183 | 183 | 199 | Operational | Natural gas | Deer Park Energy Center
Deer Park Energy Center 2 | Harris | Houston | 2003 | 183 | 183 | 183 | 183 | 183 | 183 | 199 | Operational | Natural gas | Deer Park Energy Center
Deer Park Energy Center 3 | Harris | Houston | 2003 | 183 | 183 | 183 | 183 | 183 | 183 | 199 | Operational | Natural gas | Deer Park Energy Center
Deer Park Energy Center 4 | Harris | Houston | 2004 | 183 | 183 | 183 | 183 | 183 | 183 | 199 | Operational | Natural gas | Deer Park Energy Center
Deer Park Energy Center 5 | Harris | Houston | 2004 | 271 | 271 | 271 | 271 | 271 | 271 | 259 | Operational | Natural gas | Deer Park Energy Center
Denison Dam 1 | Grayson | Northeast | 1944 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | Operational | Water | USCE- Fort Worth District
Denison Dam 2 | Grayson | Northeast | 1979 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | Operational | Water | USCE- Fort Worth District
Dunlop (Schumansville) 1 | Victoria | South | 1928 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | Operational | Water | Guadalupe Blanco River Authority
Eagle Pass 1 | Maverick | South | 1932 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Water | Eagle Pass WLE, LP
Eagle Pass 2 | Maverick | South | 1932 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Water | Eagle Pass WLE, LP
Eagle Pass 3 | Maverick | South | 1932 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Water | Eagle Pass WLE, LP
Ennis Power Station 1 | Ellis | North | 2002 | 209 | 209 | 209 | 209 | 209 | 209 | 231 | Operational | Natural gas | Ennis-Tractebel Power Inc
Ennis Power Station 2 | Ellis | North | 2002 | 120 | 120 | 120 | 120 | 120 | 120 | 127 | Operational | Natural gas | Ennis-Tractebel Power Inc
ExTex La Porte Power Sta.1 | Harris | Houston | 2001 | 38 | 38 | 38 | 38 | 38 | 38 | 41 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
ExTex La Porte Power Sta.2 | Harris | Houston | 2001 | 38 | 38 | 38 | 38 | 38 | 38 | 41 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
ExTex La Porte Power Sta.3 | Harris | Houston | 2001 | 38 | 38 | 38 | 38 | 38 | 38 | 41 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
ExTex La Porte Power Sta.4 | Harris | Houston | 2001 | 38 | 38 | 38 | 38 | 38 | 38 | 41 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Falcon Hydro 1 | Starr | South | 1954 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | Operational | Water | International Boundary and Water Comm
Falcon Hydro 2 | Starr | South | 1954 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | Operational | Water | International Boundary and Water Comm
Falcon Hydro 3 | Starr | South | 1954 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | Operational | Water | International Boundary and Water Comm
Fayette Power Project 1 | Fayette | South | 1979 | 606 | 606 | 606 | 606 | 606 | 606 | 614 | Operational | Sub-bituminous coal | Lower Colorado River Authority, Austin Energy
Fayette Power Project 2 | Fayette | South | 1980 | 610 | 610 | 610 | 610 | 610 | 610 | 618 | Operational | Sub-bituminous coal | Lower Colorado River Authority, Austin Energy
Fayette Power Project 3 | Fayette | South | 1988 | 470 | 470 | 470 | 470 | 470 | 470 | 475 | Operational | Sub-bituminous coal | Austin Energy
FPLE Forney 1A | Kaufman | North | 2003 | 155 | 155 | 155 | 155 | 155 | 155 | 174.4 | Operational | Natural gas | FPLE Forney LP
FPLE Forney 1B | Kaufman | North | 2003 | 155 | 155 | 155 | 155 | 155 | 155 | 174.4 | Operational | Natural gas | FPLE Forney LP
FPLE Forney 1C | Kaufman | North | 2003 | 155 | 155 | 155 | 155 | 155 | 155 | 174.4 | Operational | Natural gas | FPLE Forney LP
FPLE Forney 1D | Kaufman | North | 2003 | 155 | 155 | 155 | 155 | 155 | 155 | 174.4 | Operational | Natural gas | FPLE Forney LP
FPLE Forney 2A | Kaufman | North | 2003 | 155 | 155 | 155 | 155 | 155 | 155 | 174.4 | Operational | Natural gas | FPLE Forney LP
FPLE Forney 2B | Kaufman | North | 2003 | 155 | 155 | 155 | 155 | 155 | 155 | 174.4 | Operational | Natural gas | FPLE Forney LP
FPLE Forney 2C | Kaufman | North | 2003 | 385 | 385 | 385 | 385 | 385 | 385 | 411.8 | Operational | Natural gas | FPLE Forney LP
FPLE Forney 2D | Kaufman | North | 2003 | 385 | 385 | 385 | 385 | 385 | 385 | 411.8 | Operational | Natural gas | FPLE Forney LP
Freestone Energy Center 1 | Freestone | North | 2002 | 152 | 152 | 152 | 152 | 152 | 152 | 167 | Operational | Natural gas | Freestone Power Generation, LP
Freestone Energy Center 2 | Freestone | North | 2002 | 152 | 152 | 152 | 152 | 152 | 152 | 167 | Operational | Natural gas | Freestone Power Generation, LP
Freestone Energy Center 3 | Freestone | North | 2002 | 184 | 184 | 184 | 184 | 184 | 184 | 186 | Operational | Natural gas | Freestone Power Generation, LP
Freestone Energy Center 4 | Freestone | North | 2002 | 152 | 152 | 152 | 152 | 152 | 152 | 176.6 | Operational | Natural gas | Freestone Power Generation, LP
Freestone Energy Center 5 | Freestone | North | 2002 | 152 | 152 | 152 | 152 | 152 | 152 | 176.6 | Operational | Natural gas | Freestone Power Generation, LP
Freestone Energy Center 6 | Freestone | North | 2002 | 184 | 184 | 184 | 184 | 184 | 184 | 185.1 | Operational | Natural gas | Freestone Power Generation, LP
Frontera 1 | Hidalgo | South | 1999 | 150 | 150 | 150 | 150 | 150 | 150 | 172 | Operational | Natural gas | TPS Tejas LP, LLC, TPS Tejas GP, LLC
Frontera 2 | Hidalgo | South | 1999 | 150 | 150 | 150 | 150 | 150 | 150 | 172 | Operational | Natural gas | TPS Tejas LP, LLC, TPS Tejas GP, LLC
Frontera 3 | Hidalgo | South | 2000 | 165 | 165 | 165 | 165 | 165 | 165 | 180 | Operational | Natural gas | TPS Tejas LP, LLC, TPS Tejas GP, LLC
GBRA H 4 | Gonzales | South | 1931 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | Operational | Water | Guadalupe Blanco River Authority
GBRA H 5 | Gonzales | South | 1931 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | Operational | Water | Guadalupe Blanco River Authority
GBRA TP 4 | Guadalupe | South | 1932 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | Operational | Water | Guadalupe Blanco River Authority
Gibbons Creek 1 | Grimes | North | 1982 | 462 | 462 | 462 | 462 | 462 | 462 | 462 | Operational | Sub-bituminous coal | Texas Municipal Power Agency
GPP GT1 | San Patricio | South | 2000 | 106.1 | 106.1 | 106.1 | 106.1 | 106.1 | 106.1 | 116.1 | Operational | Natural gas | Gregory Power Partners, LLC
GPP GT2 | San Patricio | South | 2000 | 156.1 | 156.1 | 156.1 | 156.1 | 156.1 | 156.1 | 166.1 | Operational | Natural gas | Gregory Power Partners, LLC
GPP ST1 | San Patricio | South | 2000 | 100.1 | 100.1 | 100.1 | 100.1 | 100.1 | 100.1 | 100.1 | Operational | Natural gas | Gregory Power Partners, LLC
Graham 1 | Young | West | 1960 | 241 | 241 | 241 | 241 | 241 | 241 | 244 | Operational | Natural gas | TXU Generation LLP
Graham 2 | Young | West | 1969 | 400 | 400 | 400 | 400 | 400 | 400 | 393 | Operational | Natural gas | TXU Generation LLP
Granite Shoals 1 | Burnet | South | 1951 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | Operational | Water | Lower Colorado River Authority
Granite Shoals 2 | Burnet | South | 1951 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | Operational | Water | Lower Colorado River Authority
Greens Bayou 5 | Harris | Houston | 1973 | 406 | 406 | 406 | 406 | 406 | 406 | 406 | Operational | Natural gas | Texas Genco II
Greens Bayou 73 | Harris | Houston | 1976 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | Operational | Natural gas | Texas Genco II
Greens Bayou 74 | Harris | Houston | 1976 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | Operational | Natural gas | Texas Genco II
Greens Bayou 81 | Harris | Houston | 1976 | 54 | 54 | 54 | 54 | 54 | 54 | 54 | Operational | Natural gas | Texas Genco II
Greens Bayou 82 | Harris | Houston | 1976 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | Operational | Natural gas | Texas Genco II
Greens Bayou 83 | Harris | Houston | 1976 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | Operational | Natural gas | Texas Genco II
Greens Bayou 84 | Harris | Houston | 1976 | 64 | 64 | 64 | 64 | 64 | 64 | 64 | Operational | Natural gas | Texas Genco II
Guadalupe Power Partners 1 | Guadalupe | South | 2000 | 155 | 155 | 155 | 155 | 155 | 155 | 175 | Operational | Natural gas | Guadalupe Power Partners
Guadalupe Power Partners 2 | Guadalupe | South | 2000 | 155 | 155 | 155 | 155 | 155 | 155 | 175 | Operational | Natural gas | Guadalupe Power Partners
Guadalupe Power Partners 3 | Guadalupe | South | 2000 | 155 | 155 | 155 | 155 | 155 | 155 | 175 | Operational | Natural gas | Guadalupe Power Partners
Guadalupe Power Partners 4 | Guadalupe | South | 2001 | 155 | 155 | 155 | 155 | 155 | 155 | 175 | Operational | Natural gas | Guadalupe Power Partners
Guadalupe Power Partners 5 | Guadalupe | South | 2001 | 200 | 200 | 200 | 200 | 200 | 200 | 202 | Operational | Natural gas | Guadalupe Power Partners
Guadalupe Power Partners 6 | Guadalupe | South | 2001 | 200 | 200 | 200 | 200 | 200 | 200 | 202 | Operational | Natural gas | Guadalupe Power Partners
Handley 1 | Tarrant | North | 1948 | 42 | 42 | 42 | 42 | 42 | 42 | 43 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Handley 2 | Tarrant | North | 1950 | 74 | 74 | 74 | 74 | 74 | 74 | 76 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Handley 3 | Tarrant | North | 1963 | 396 | 396 | 396 | 396 | 396 | 396 | 396 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Handley 4 | Tarrant | North | 1976 | 451 | 451 | 451 | 451 | 451 | 451 | 435 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Handley 5 | Tarrant | North | 1977 | 451 | 451 | 451 | 451 | 451 | 451 | 435 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Hidalgo 1 | Hidalgo | South | 2000 | 152 | 152 | 152 | 152 | 152 | 152 | 177 | Operational | Natural gas | Hidalgo Energy Center LP, Brownsville Public Utilities Board
Hidalgo 2 | Hidalgo | South | 2000 | 152 | 152 | 152 | 152 | 152 | 152 | 177 | Operational | Natural gas | Hidalgo Energy Center LP, Brownsville Public Utilities Board
Hidalgo 3 | Hidalgo | South | 2000 | 184 | 184 | 184 | 184 | 184 | 184 | 185 | Operational | Natural gas | Hidalgo Energy Center LP, Brownsville Public Utilities Board
Hiram Clarke 1 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 2 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 3 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 4 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 5 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 6 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Holly Street 3 | Travis | South | 1967 | 195 | 195 | 195 | 195 | 195 | 195 | 195 | Operational | Natural gas | Austin Energy
Holly Street 4 | Travis | South | 1974 | 196 | 196 | 196 | 196 | 196 | 196 | 196 | Operational | Natural gas | Austin Energy
Ingleside 1 | San Patricio | South | 1999 | 154 | 154 | 154 | 154 | 154 | 154 | 181 | Operational | Natural gas | Ingleside Cogeneration LP (Occidental related)
Ingleside 2 | San Patricio | South | 1999 | 154 | 154 | 154 | 154 | 154 | 154 | 181 | Operational | Natural gas | Ingleside Cogeneration LP (Occidental related)
Ingleside 3 | San Patricio | South | 1999 | 192.3 | 192.3 | 192.3 | 192.3 | 192.3 | 192.3 | 192 | Operational | Natural gas | Ingleside Cogeneration LP (Occidental related)
Inks 1 | Llano | South | 1938 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | Operational | Water | Lower Colorado River Authority
J K Spruce 1 | Bexar | South | 1992 | 595 | 595 | 595 | 595 | 595 | 595 | 595 | Operational | Bituminous coal | City Public Service San Antonio
J T Deely 1 | Bexar | South | 1977 | 415 | 415 | 415 | 415 | 415 | 415 | 415 | Operational | Sub-bituminous coal | City Public Service San Antonio
J T Deely 2 | Bexar | South | 1978 | 415 | 415 | 415 | 415 | 415 | 415 | 415 | Operational | Sub-bituminous coal | City Public Service San Antonio
Lake Creek 1 | McLennan | North | 1953 | 88 | 88 | 88 | 88 | 88 | 88 | 91 | Operational | Natural gas | TXU Generation LLP
Lake Creek 2 | McLennan | North | 1959 | 230 | 230 | 230 | 230 | 230 | 230 | 235 | Operational | Natural gas | TXU Generation LLP
Lake Creek D1 | McLennan | North | 1966 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Diesel | TXU Generation LLP
Lake Creek D2 | McLennan | North | 1966 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Diesel | TXU Generation LLP
Lake Creek D3 | McLennan | North | 1966 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Diesel | TXU Generation LLP
Lake Hubbard 1 | Dallas | North | 1970 | 393 | 393 | 393 | 393 | 393 | 393 | 393 | Operational | Natural gas | TXU Generation LLP
Lake Hubbard 2 | Dallas | North | 1973 | 533 | 533 | 533 | 533 | 533 | 533 | 525 | Operational | Natural gas | TXU Generation LLP
Lamar Power Project CT11 | Lamar | Northeast | 2000 | 149 | 149 | 149 | 149 | 149 | 149 | 155 | Operational | Natural gas | Lamar Power Partners LP
Lamar Power Project CT12 | Lamar | Northeast | 2000 | 149 | 149 | 149 | 149 | 149 | 149 | 155 | Operational | Natural gas | Lamar Power Partners LP
Lamar Power Project CT21 | Lamar | Northeast | 2000 | 149 | 149 | 149 | 149 | 149 | 149 | 155 | Operational | Natural gas | Lamar Power Partners LP
Lamar Power Project CT22 | Lamar | Northeast | 2001 | 149 | 149 | 149 | 149 | 149 | 149 | 155 | Operational | Natural gas | Lamar Power Partners LP
Lamar Power Project STG1 | Lamar | Northeast | 2001 | 193 | 193 | 193 | 193 | 193 | 193 | 225 | Operational | Natural gas | Lamar Power Partners LP
Lamar Power Project STG2 | Lamar | Northeast | 2001 | 193 | 193 | 193 | 193 | 193 | 193 | 225 | Operational | Natural gas | Lamar Power Partners LP
Leon Creek 3 | Bexar | South | 1953 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | Operational | Natural gas | City Public Service San Antonio
Leon Creek Peaking 1 | Bexar | South | 2004 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 48.5 | Operational | Natural gas | City Public Service San Antonio
Leon Creek Peaking 2 | Bexar | South | 2004 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 48.5 | Operational | Natural gas | City Public Service San Antonio
Leon Creek Peaking 3 | Bexar | South | 2004 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 48.5 | Operational | Natural gas | City Public Service San Antonio
Leon Creek Peaking 4 | Bexar | South | 2004 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 47.5 | 48.5 | Operational | Natural gas | City Public Service San Antonio
Lewisville 1 | Denton | North | 1991 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | Operational | Water | Garland, City of
Limestone 1 | Limestone | North | 1985 | 836 | 836 | 836 | 836 | 836 | 836 | 846 | Operational | Lignite | Texas Genco II
Limestone 2 | Limestone | North | 1986 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | Operational | Lignite | Texas Genco II
Lost Pines 1 | Bastrop | South | 2001 | 163 | 163 | 163 | 163 | 163 | 163 | 192 | Operational | Natural gas | Gentex Power Corporation
Lost Pines 2 | Bastrop | South | 2001 | 163 | 163 | 163 | 163 | 163 | 163 | 192 | Operational | Natural gas | Gentex Power Corporation
Lost Pines 3 | Bastrop | South | 2001 | 176 | 176 | 176 | 176 | 176 | 176 | 198 | Operational | Natural gas | Gentex Power Corporation
Magic Valley 1 | Hidalgo | South | 2001 | 245.2 | 245.2 | 245.2 | 245.2 | 245.2 | 245.2 | 284.3 | Operational | Natural gas | Calpine Magic Valley
Magic Valley 2 | Hidalgo | South | 2001 | 245.2 | 245.2 | 245.2 | 245.2 | 245.2 | 245.2 | 284.3 | Operational | Natural gas | Calpine Magic Valley
Magic Valley 3 | Hidalgo | South | 2001 | 260.6 | 260.6 | 260.6 | 260.6 | 260.6 | 260.6 | 269.9 | Operational | Natural gas | Calpine Magic Valley
Marble Falls 1 | Burnet | South | 1951 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | Operational | Water | Lower Colorado River Authority
Marble Falls 2 | Burnet | South | 1951 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | Operational | Water | Lower Colorado River Authority
Marshall Ford 1 | Travis | South | 1941 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | Operational | Water | Lower Colorado River Authority
Marshall Ford 2 | Travis | South | 1941 | 34.5 | 34.5 | 34.5 | 34.5 | 34.5 | 34.5 | 34.5 | Operational | Water | Lower Colorado River Authority
Marshall Ford 3 | Travis | South | 1941 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | Operational | Water | Lower Colorado River Authority
Martin Lake 1 | Rusk | North | 1977 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | Operational | Lignite | TXU Generation LLP
Martin Lake 2 | Rusk | North | 1978 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | Operational | Lignite | TXU Generation LLP
Martin Lake 3 | Rusk | North | 1979 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | Operational | Lignite | TXU Generation LLP
McQueeney (Abbott) 1 | Guadalupe | South | 1928 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | Operational | Water | Guadalupe Blanco River Authority
McQueeney (Abbott) 2 | Guadalupe | South | 1928 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | Operational | Water | Guadalupe Blanco River Authority
Midlothian 1 | Ellis | North | 2001 | 218 | 218 | 218 | 218 | 218 | 218 | 238 | Operational | Natural gas | Midlothian Energy Limited Partnership
Midlothian 2 | Ellis | North | 2001 | 218 | 218 | 218 | 218 | 218 | 218 | 238 | Operational | Natural gas | Midlothian Energy Limited Partnership
Midlothian 3 | Ellis | North | 2001 | 218 | 218 | 218 | 218 | 218 | 218 | 238 | Operational | Natural gas | Midlothian Energy Limited Partnership
Midlothian 4 | Ellis | North | 2001 | 218 | 218 | 218 | 218 | 218 | 218 | 238 | Operational | Natural gas | Midlothian Energy Limited Partnership
Midlothian 5 | Ellis | North | 2001 | 218 | 218 | 218 | 218 | 218 | 218 | 238 | Operational | Natural gas | Midlothian Energy Limited Partnership
Midlothian 6 | Ellis | North | 2001 | 218 | 218 | 218 | 218 | 218 | 218 | 238 | Operational | Natural gas | Midlothian Energy Limited Partnership
Monticello 1 | Titus | Northeast | 1974 | 560 | 560 | 560 | 560 | 560 | 560 | 565 | Operational | Lignite | TXU Generation LLP
Monticello 2 | Titus | Northeast | 1975 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | Operational | Lignite | TXU Generation LLP
Monticello 3 | Titus | Northeast | 1978 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | Operational | Lignite | TXU Generation LLP
Morgan Creek 5 | Mitchell | West | 1959 | 180 | 180 | 180 | 180 | 180 | 180 | 179 | Operational | Natural gas | TXU Generation LLP
Morgan Creek 6 | Mitchell | West | 1966 | 511 | 511 | 511 | 511 | 511 | 511 | 512 | Operational | Natural gas | TXU Generation LLP
Morgan Creek A | Mitchell | West | 1988 | 76 | 76 | 76 | 76 | 76 | 76 | 86 | Operational | Natural gas | TXU Generation LLP
Morgan Creek B | Mitchell | West | 1988 | 76 | 76 | 76 | 76 | 76 | 76 | 86 | Operational | Natural gas | TXU Generation LLP
Morgan Creek C | Mitchell | West | 1988 | 76 | 76 | 76 | 76 | 76 | 76 | 86 | Operational | Natural gas | TXU Generation LLP
Morgan Creek D | Mitchell | West | 1988 | 76 | 76 | 76 | 76 | 76 | 76 | 86 | Operational | Natural gas | TXU Generation LLP
Morgan Creek E | Mitchell | West | 1988 | 76 | 76 | 76 | 76 | 76 | 76 | 86 | Operational | Natural gas | TXU Generation LLP
Morgan Creek F | Mitchell | West | 1988 | 76 | 76 | 76 | 76 | 76 | 76 | 86 | Operational | Natural gas | TXU Generation LLP
Morris Sheppard 1 | Palo Pinto | West | 1941 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | Operational | Water | Brazos River Authority
Morris Sheppard 2 | Palo Pinto | West | 1941 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | Operational | Water | Brazos River Authority
Mountain Creek 2 | Dallas | North | 1945 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Mountain Creek 3 | Dallas | North | 1949 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Mountain Creek 6 | Dallas | North | 1956 | 122 | 122 | 122 | 122 | 122 | 122 | 125 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Mountain Creek 7 | Dallas | North | 1958 | 118 | 118 | 118 | 118 | 118 | 118 | 123 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Mountain Creek 8 | Dallas | North | 1967 | 568 | 568 | 568 | 568 | 568 | 568 | 568 | Operational | Natural gas | ExTex LaPorte Limited Partnership (Exelon)
Nolte 1 | Guadalupe | South | 1928 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | Operational | Water | Guadalupe Blanco River Authority
Nolte 2 | Guadalupe | South | 1928 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | Operational | Water | Guadalupe Blanco River Authority
North Texas 1 | Parker | North | 1958 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | Operational | Natural gas | Brazos Electric Power Coop.
North Texas 2 | Parker | North | 1958 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | Operational | Natural gas | Brazos Electric Power Coop.
North Texas 3 | Parker | North | 1963 | 39.5 | 39.5 | 39.5 | 39.5 | 39.5 | 39.5 | 39.5 | Operational | Natural gas | Brazos Electric Power Coop.
O W Sommers 1 | Bexar | South | 1972 | 445 | 445 | 445 | 445 | 445 | 445 | 445 | Operational | Natural gas | City Public Service San Antonio
O W Sommers 2 | Bexar | South | 1974 | 435 | 435 | 435 | 435 | 435 | 435 | 435 | Operational | Natural gas | City Public Service San Antonio
O W Sommers 3 | Bexar | South | 1972 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | Operational | Diesel | City Public Service San Antonio
O W Sommers 4 | Bexar | South | 1972 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | Operational | Diesel | City Public Service San Antonio
O W Sommers 5 | Bexar | South | 1972 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | Operational | Diesel | City Public Service San Antonio
O W Sommers 6 | Bexar | South | 1972 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | Operational | Diesel | City Public Service San Antonio
Odessa-Ector C11 | Ector | West | 2001 | 147 | 147 | 147 | 147 | 147 | 147 | 155 | Operational | Natural gas | Odessa-Ector Power Partners, LP
Odessa-Ector C12 | Ector | West | 2001 | 147 | 147 | 147 | 147 | 147 | 147 | 155 | Operational | Natural gas | Odessa-Ector Power Partners, LP
Odessa-Ector C21 | Ector | West | 2001 | 147 | 147 | 147 | 147 | 147 | 147 | 155 | Operational | Natural gas | Odessa-Ector Power Partners, LP
Odessa-Ector C22 | Ector | West | 2001 | 147 | 147 | 147 | 147 | 147 | 147 | 155 | Operational | Natural gas | Odessa-Ector Power Partners, LP
Odessa-Ector ST1 | Ector | West | 2001 | 223 | 223 | 223 | 223 | 223 | 223 | 223 | Operational | Natural gas | Odessa-Ector Power Partners, LP
Odessa-Ector ST2 | Ector | West | 2001 | 223 | 223 | 223 | 223 | 223 | 223 | 223 | Operational | Natural gas | Odessa-Ector Power Partners, LP
Oklaunion 1 | Wilbarger | West | 1986 | 690 | 690 | 690 | 690 | 690 | 690 | 690 | Operational | Lignite | AEP Texas North Company, Public Service Company of Oklahoma, AEP-PSE-Municipal,Brownsville Public Utilities Board, AEP Texas Central Company
Pasadena 4 | Harris | Houston | 2000 | 175 | 175 | 175 | 175 | 175 | 175 | 185 | Operational | Natural gas | Calpine Pasadena
Pasadena 5 | Harris | Houston | 2000 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 101.4 | Operational | Natural gas | Calpine Pasadena
Pearsall 1 | Frio | South | 1961 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | Operational | Natural gas | South Texas & Medina Elec. Coop.
Pearsall 2 | Frio | South | 1961 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | Operational | Natural gas | South Texas & Medina Elec. Coop.
Pearsall 3 | Frio | South | 1961 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | Operational | Natural gas | South Texas & Medina Elec. Coop.
Permian Basin 5 | Ward | West | 1959 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | Operational | Natural gas | TXU Generation LLP
Permian Basin 6 | Ward | West | 1973 | 545 | 545 | 545 | 545 | 545 | 545 | 550 | Operational | Natural gas | TXU Generation LLP
Permian Basin A | Ward | West | 1988 | 72 | 72 | 72 | 72 | 72 | 72 | 86 | Operational | Natural gas | TXU Generation LLP
Permian Basin B | Ward | West | 1988 | 72 | 72 | 72 | 72 | 72 | 72 | 86 | Operational | Natural gas | TXU Generation LLP
Permian Basin C | Ward | West | 1988 | 72 | 72 | 72 | 72 | 72 | 72 | 86 | Operational | Natural gas | TXU Generation LLP
Permian Basin D | Ward | West | 1990 | 72 | 72 | 72 | 72 | 72 | 72 | 86 | Operational | Natural gas | TXU Generation LLP
Permian Basin E | Ward | West | 1990 | 72 | 72 | 72 | 72 | 72 | 72 | 86 | Operational | Natural gas | TXU Generation LLP
Powerlane Plant 1 | Hunt | North | 1966 | 20.4 | 20.4 | 20.4 | 20.4 | 20.4 | 20.4 | 20.4 | Operational | Natural gas | Greenville Electric Utility System
Powerlane Plant 2 | Hunt | North | 1969 | 26.2 | 26.2 | 26.2 | 26.2 | 26.2 | 26.2 | 26.2 | Operational | Natural gas | Greenville Electric Utility System
Powerlane Plant 3 | Hunt | North | 1977 | 41.5 | 41.5 | 41.5 | 41.5 | 41.5 | 41.5 | 41.5 | Operational | Natural gas | Greenville Electric Utility System
R W Miller 1 | Palo Pinto | North | 1968 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | Operational | Natural gas | Brazos Electric Power Coop.
R W Miller 2 | Palo Pinto | North | 1972 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | Operational | Natural gas | Brazos Electric Power Coop.
R W Miller 3 | Palo Pinto | North | 1975 | 208 | 208 | 208 | 208 | 208 | 208 | 208 | Operational | Natural gas | Brazos Electric Power Coop.
R W Miller 4 | Palo Pinto | North | 1994 | 104 | 104 | 104 | 104 | 104 | 104 | 122 | Operational | Natural gas | Brazos Electric Power Coop.
R W Miller 5 | Palo Pinto | North | 1994 | 104 | 104 | 104 | 104 | 104 | 104 | 122 | Operational | Natural gas | Brazos Electric Power Coop.
Ray Olinger 1 | Collin | North | 1967 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | Operational | Natural gas | Garland, City of
Ray Olinger 2 | Collin | North | 1971 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | Operational | Natural gas | Garland, City of
Ray Olinger 3 | Collin | North | 1975 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | Operational | Natural gas | Garland, City of
Ray Olinger 4 | Collin | North | 2001 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | Operational | Natural gas | Garland, City of
Rayburn 1 | Victoria | South | 1963 | 11 | 11 | 11 | 11 | 11 | 11 | 13.5 | Operational | Natural gas | South Texas & Medina Elec. Coop.
Rayburn 10 | Victoria | South | 2003 | 42.1 | 42.1 | 42.1 | 42.1 | 42.1 | 42.1 | 43.2 | Operational | Natural gas | South Texas Electric Cooperative
Rayburn 2 | Victoria | South | 1963 | 11 | 11 | 11 | 11 | 11 | 11 | 13.5 | Operational | Natural gas | South Texas Electric Cooperative
Rayburn 3 | Victoria | South | 1965 | 24 | 24 | 24 | 24 | 24 | 24 | 26 | Operational | Natural gas | South Texas & Medina Elec. Coop.
Rayburn 4 | Victoria | South | 1991 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Diesel | South Texas Electric Cooperative
Rayburn 5 | Victoria | South | 1991 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Diesel | South Texas Electric Cooperative
Rayburn 7 | Victoria | South | 2003 | 52.4 | 52.4 | 52.4 | 52.4 | 52.4 | 52.4 | 56.2 | Operational | Natural gas | South Texas Electric Cooperative
Rayburn 8 | Victoria | South | 2003 | 52.4 | 52.4 | 52.4 | 52.4 | 52.4 | 52.4 | 56.2 | Operational | Natural gas | South Texas Electric Cooperative
Rayburn 9 | Victoria | South | 2003 | 52.4 | 52.4 | 52.4 | 52.4 | 52.4 | 52.4 | 56.2 | Operational | Natural gas | South Texas Electric Cooperative
Reliant Atascocita 1 | Harris | Houston | 2002 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | Operational | Landfill gas | Reliant Energy Renewables Atascocita
Reliant Baytown 1 | Chambers | Houston | 2002 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | Operational | Other biomass | Reliant Energy Renewables Baytown
Reliant Bluebonnet 1 | Harris | Houston | 2002 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | Operational | Other biomass | Reliant Energy Renewables Blue Bonnet
Reliant Coastal Plains 1 | Galveston | Houston | 2002 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | Operational | Other biomass | Reliant Energy Renewables Coastal Plains
Rio Nogales 1 | Guadalupe | South | 2002 | 161 | 161 | 161 | 161 | 161 | 161 | 182 | Operational | Natural gas | Rio Nogales Power Project LP
Rio Nogales 2 | Guadalupe | South | 2002 | 161 | 161 | 161 | 161 | 161 | 161 | 182 | Operational | Natural gas | Rio Nogales Power Project LP
Rio Nogales 3 | Guadalupe | South | 2002 | 161 | 161 | 161 | 161 | 161 | 161 | 182 | Operational | Natural gas | Rio Nogales Power Project LP
Rio Nogales 4 | Guadalupe | South | 2002 | 292 | 292 | 292 | 292 | 292 | 292 | 269 | Operational | Natural gas | Rio Nogales Power Project LP
Robstown 10 | Nueces | South | 1967 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | Operational | Natural gas | Robstown Utility Systems, City of
Robstown 11 | Nueces | South | 1972 | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | Operational | Natural gas | Robstown Utility Systems, City of
Robstown 3 | Nueces | South | 1955 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Natural gas | Robstown Utility Systems, City of
Robstown 4 | Nueces | South | 1979 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | Operational | Natural gas | Robstown Utility Systems, City of
Robstown 5 | Nueces | South | 1979 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | Operational | Natural gas | Robstown Utility Systems, City of
Robstown 7 | Nueces | South | 1955 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | Operational | Natural gas | Robstown Utility Systems, City of
Robstown 8 | Nueces | South | 1956 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | Operational | Natural gas | Robstown Utility Systems, City of
Robstown 9 | Nueces | South | 1962 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | Operational | Natural gas | Robstown Utility Systems, City of
Sam Bertron 3 | Harris | Houston | 1959 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | Operational | Natural gas | Texas Genco II
Sam Bertron 4 | Harris | Houston | 1960 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | Operational | Natural gas | Texas Genco II
Sam Bertron ST1 | Harris | Houston | 1958 | 174 | 174 | 174 | 174 | 174 | 174 | 174 | Operational | Natural gas | Texas Genco II
Sam Bertron ST2 | Harris | Houston | 1956 | 174 | 174 | 174 | 174 | 174 | 174 | 174 | Operational | Natural gas | Texas Genco II
Sam Bertron T1 | Harris | Houston | 1967 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Operational | Natural gas | Texas Genco II
Sam Bertron T2 | Harris | Houston | 1967 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
San Jacinto SES 1 | Harris | Houston | 1995 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | Operational | Natural gas | Texas Genco II
San Jacinto SES 2 | Harris | Houston | 1995 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | Operational | Natural gas | Texas Genco II
San Miguel 1 | Atascosa | South | 1982 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | Operational | Lignite | South Texas Electric Cooperative, Brazos Electric Power Coop
Sandhill Energy Center 1 | Travis | South | 2001 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | Operational | Natural gas | Austin Energy
Sandhill Energy Center 2 | Travis | South | 2001 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | Operational | Natural gas | Austin Energy
Sandhill Energy Center 3 | Travis | South | 2001 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | Operational | Natural gas | Austin Energy
Sandhill Energy Center 4 | Travis | South | 2001 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | 47.3 | Operational | Natural gas | Austin Energy
Sandhill Energy Center 5A | Travis | South | 2004 | 150.8 | 150.8 | 150.8 | 150.8 | 150.8 | 150.8 | 180.9 | Operational | Natural gas | Austin Energy
Sandhill Energy Center 5C | Travis | South | 2004 | 155.5 | 155.5 | 155.5 | 155.5 | 155.5 | 155.5 | 165.3 | Operational | Natural gas | Austin Energy
Silas Ray 10 | Cameron | South | 2004 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | Operational | Natural gas | Brownsville Public Utilities Board
Silas Ray 5 | Cameron | South | 1951 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | Operational | Natural gas | Brownsville Public Utilities Board
Silas Ray 6 | Cameron | South | 1961 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | Operational | Natural gas | Brownsville Public Utilities Board
Silas Ray 9 | Cameron | South | 1997 | 40 | 40 | 40 | 40 | 40 | 40 | 55 | Operational | Natural gas | Brownsville Public Utilities Board
Sim Gideon 1 | Bastrop | South | 1965 | 146 | 146 | 146 | 146 | 146 | 146 | 150 | Operational | Natural gas | Lower Colorado River Authority
Sim Gideon 2 | Bastrop | South | 1968 | 146 | 146 | 146 | 146 | 146 | 146 | 150 | Operational | Natural gas | Lower Colorado River Authority
Sim Gideon 3 | Bastrop | South | 1972 | 347 | 347 | 347 | 347 | 347 | 347 | 350 | Operational | Natural gas | Lower Colorado River Authority
Small Hydro of Texas 1 | Dewitt | South | 1992 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | Operational | Water | Small Hydro of Texas
South Houston Green Power 11 | Galveston | Houston | 2003 | 79.8 | 79.8 | 79.8 | 79.8 | 79.8 | 79.8 | 115 | Operational | Natural gas | South Houston Green Power LP
South Houston Green Power 12 | Galveston | Houston | 2003 | 79.8 | 79.8 | 79.8 | 79.8 | 79.8 | 79.8 | 115 | Operational | Natural gas | South Houston Green Power LP
South Houston Green Power 13 | Galveston | Houston | 2003 | 79.8 | 79.8 | 79.8 | 79.8 | 79.8 | 79.8 | 115 | Operational | Natural gas | South Houston Green Power LP
South Houston Green Power 14 | Galveston | Houston | 2003 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | Operational | Natural gas | South Houston Green Power LP
South Texas 1 | Matagorda | South | 1988 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | 1264 | Operational | Nuclear | Texas Genco, City Public Service of San Antonio, AEP Texas Central Company, Austin Energy
South Texas 2 | Matagorda | South | 1989 | 1265 | 1265 | 1265 | 1265 | 1265 | 1265 | 1265 | Operational | Nuclear | Texas Genco, City Public Service of San Antonio, AEP Texas Central Company, Austin Energy
Spencer 1 | Denton | North | 1955 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | Operational | Natural gas | Garland, City of
Spencer 2 | Denton | North | 1955 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | Operational | Natural gas | Garland, City of
Spencer 4 | Denton | North | 1966 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | Operational | Natural gas | Garland, City of
Spencer 5 | Denton | North | 1973 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | Operational | Natural gas | Garland, City of
Stryker Creek 1 | Cherokee | North | 1958 | 176 | 176 | 176 | 176 | 176 | 176 | 182 | Operational | Natural gas | TXU Generation LLP
Stryker Creek 2 | Cherokee | North | 1965 | 517 | 517 | 517 | 517 | 517 | 517 | 520 | Operational | Natural gas | TXU Generation LLP
Stryker Creek D1 | Cherokee | North | 1966 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | Operational | Diesel | TXU Generation LLP
Sweetwater Generation Plant 1 | Nolan | West | 1989 | 32 | 32 | 32 | 32 | 32 | 32 | 35.7 | Operational | Natural gas | TXU Generation LLP
Sweetwater Generation Plant 2 | Nolan | West | 1989 | 73 | 73 | 73 | 73 | 73 | 73 | 78.5 | Operational | Natural gas | TXU Generation LLP
Sweetwater Generation Plant 3 | Nolan | West | 1989 | 73 | 73 | 73 | 73 | 73 | 73 | 78.5 | Operational | Natural gas | TXU Generation LLP
Sweetwater Generation Plant 4 | Nolan | West | 1989 | 87.2 | 87.2 | 87.2 | 87.2 | 87.2 | 87.2 | 87.2 | Operational | Natural gas | TXU Generation LLP
T H Wharton 2 | Harris | Houston | 1960 | 229 | 229 | 229 | 229 | 229 | 229 | 229 | Operational | Natural gas | Texas Genco II
T H Wharton 3 | Harris | Houston | 1974 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | Operational | Natural gas | Texas Genco II
T H Wharton 31 | Harris | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | Operational | Natural gas | Texas Genco II
T H Wharton 32 | Harris | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | Operational | Natural gas | Texas Genco II
T H Wharton 33 | Harris | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | Operational | Natural gas | Texas Genco II
T H Wharton 34 | Harris | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | Operational | Natural gas | Texas Genco II
T H Wharton 4 | Harris | Houston | 1974 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | Operational | Natural gas | Texas Genco II
T H Wharton 41 | Harris | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | Operational | Natural gas | Texas Genco II
T H Wharton 42 | Harris | Houston | 1972 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | Operational | Natural gas | Texas Genco II
T H Wharton 43 | Harris | Houston | 1974 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | Operational | Natural gas | Texas Genco II
T H Wharton 44 | Harris | Houston | 1974 | 57 | 57 | 57 | 57 | 57 | 57 | 57 | Operational | Natural gas | Texas Genco II
T H Wharton 51 | Harris | Houston | 1975 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | Operational | Natural gas | Texas Genco II
T H Wharton 52 | Harris | Houston | 1975 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | Operational | Natural gas | Texas Genco II
T H Wharton 53 | Harris | Houston | 1975 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | Operational | Natural gas | Texas Genco II
T H Wharton 54 | Harris | Houston | 1975 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | Operational | Natural gas | Texas Genco II
T H Wharton 55 | Harris | Houston | 1975 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | Operational | Natural gas | Texas Genco II
T H Wharton 56 | Harris | Houston | 1975 | 58 | 58 | 58 | 58 | 58 | 58 | 58 | Operational | Natural gas | Texas Genco II
T H Wharton G1 | Harris | Houston | 1967 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Tenaska-Cleburne 1 | Johnson | North | 1997 | 160 | 160 | 160 | 160 | 160 | 160 | 174 | Operational | Natural gas | Tenaska IV Texas Partners, Ltd
Tenaska-Cleburne 2 | Johnson | North | 1997 | 98 | 98 | 98 | 98 | 98 | 98 | 106 | Operational | Natural gas | Tenaska IV Texas Partners, Ltd
Tenaska-Lamar 1 | Lamar | Northeast | 1989 | 77.5 | 77.5 | 77.5 | 77.5 | 77.5 | 77.5 | 88.7 | Operational | Natural gas | Tenaska III Texas Partners
Tenaska-Lamar 2 | Lamar | Northeast | 1989 | 77.5 | 77.5 | 77.5 | 77.5 | 77.5 | 77.5 | 88.7 | Operational | Natural gas | Tenaska III Texas Partners
Tenaska-Lamar 3 | Lamar | Northeast | 1990 | 78 | 78 | 78 | 78 | 78 | 78 | 78 | Operational | Natural gas | Tenaska III Texas Partners
Tessman Road 1 | Bexar | South | 2002 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | Operational | Landfill gas | Bio Energy (Austin) LLC
Tessman Road 2 | Bexar | South | 2002 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | Operational | Landfill gas | Bio Energy (Austin) LLC
Tessman Road 3 | Bexar | South | 2002 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | Operational | Landfill gas | Bio Energy (Austin) LLC
Tessman Road 4 | Bexar | South | 2002 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | Operational | Landfill gas | Bio Energy (Austin) LLC
Texas City 1 | Galveston | Houston | 1987 | 102 | 102 | 102 | 102 | 102 | 102 | 130 | Operational | Natural gas | Calpine Texas City
Texas City 2 | Galveston | Houston | 1987 | 103 | 103 | 103 | 103 | 103 | 103 | 130 | Operational | Natural gas | Calpine Texas City
Texas City 3 | Galveston | Houston | 1987 | 103 | 103 | 103 | 103 | 103 | 103 | 130 | Operational | Natural gas | Calpine Texas City
Texas City 4 | Galveston | Houston | 1987 | 138 | 138 | 138 | 138 | 138 | 138 | 145 | Operational | Natural gas | Calpine Texas City
Thomas C Ferguson 1 | Llano | South | 1974 | 430 | 430 | 430 | 430 | 430 | 430 | 430 | Operational | Natural gas | Lower Colorado River Authority
Tradinghouse 1 | McLennan | North | 1970 | 565 | 565 | 565 | 565 | 565 | 565 | 573 | Operational | Natural gas | TXU Tradinghouse Co. LP
Tradinghouse 2 | McLennan | North | 1972 | 810 | 810 | 810 | 810 | 810 | 810 | 818 | Operational | Natural gas | TXU Tradinghouse Co. LP
Trinidad 6 | Henderson | North | 1965 | 236 | 236 | 236 | 236 | 236 | 236 | 237 | Operational | Natural gas | TXU Generation LLP
Trinidad D1 | Henderson | North | 1966 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | Operational | Diesel | TXU Generation LLP
Twin Oaks 1 | Robertson | North | 1990 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | Operational | Lignite | Sempra Energy Resources
Twin Oaks 2 | Robertson | North | 1991 | 153 | 153 | 153 | 153 | 153 | 153 | 153 | Operational | Lignite | Sempra Energy Resources
V H Braunig 1 | Bexar | South | 1966 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | Operational | Natural gas | City Public Service San Antonio
V H Braunig 2 | Bexar | South | 1968 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | Operational | Natural gas | City Public Service San Antonio
V H Braunig 3 | Bexar | South | 1970 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | Operational | Natural gas | City Public Service San Antonio
W A Parish 1 | Fort Bend | Houston | 1958 | 174 | 174 | 174 | 174 | 174 | 174 | 174 | Operational | Natural gas | Texas Genco II
W A Parish 2 | Fort Bend | Houston | 1958 | 174 | 174 | 174 | 174 | 174 | 174 | 174 | Operational | Natural gas | Texas Genco II
W A Parish 3 | Fort Bend | Houston | 1961 | 278 | 278 | 278 | 278 | 278 | 278 | 278 | Operational | Natural gas | Texas Genco II
W A Parish 4 | Fort Bend | Houston | 1968 | 552 | 552 | 552 | 552 | 552 | 552 | 552 | Operational | Natural gas | Texas Genco II
W A Parish 5 | Fort Bend | Houston | 1977 | 646 | 646 | 646 | 646 | 646 | 646 | 646 | Operational | Sub-bituminous coal | Texas Genco II
W A Parish 6 | Fort Bend | Houston | 1978 | 646 | 646 | 646 | 646 | 646 | 646 | 646 | Operational | Sub-bituminous coal | Texas Genco II
W A Parish 7 | Fort Bend | Houston | 1980 | 560 | 560 | 560 | 560 | 560 | 560 | 560 | Operational | Sub-bituminous coal | Texas Genco II
W A Parish 8 | Fort Bend | Houston | 1982 | 610 | 610 | 610 | 610 | 610 | 610 | 610 | Operational | Sub-bituminous coal | Texas Genco II
W A Parish T1 | Fort Bend | Houston | 1967 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
W B Tuttle 1 | Bexar | South | 1954 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | Operational | Natural gas | City Public Service San Antonio
W B Tuttle 4 | Bexar | South | 1963 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | Operational | Natural gas | City Public Service San Antonio
Waco LFG 1 | McClennan | North | 2004 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | Operational | Landfill gas | Cromeco, Inc
Weatherford 1 | Parker | North | 1940 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | Operational | Diesel | Weatherford Utilities, City of
Weatherford 2 | Parker | North | 1940 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | Operational | Diesel | Weatherford Utilities, City of
Weatherford 3 | Parker | North | 1940 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | Operational | Diesel | Weatherford Utilities, City of
Weatherford 4 | Parker | North | 1945 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | Operational | Diesel | Weatherford Utilities, City of
Weatherford 6 | Parker | North | 1948 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | Operational | Diesel | Weatherford Utilities, City of
Weatherford 7 | Parker | North | 1953 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | Operational | Natural gas | Weatherford Utilities, City of
Weatherford 8 | Parker | North | 1953 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | Operational | Natural gas | Weatherford Utilities, City of
Webster 3 | Galveston | Houston | 1965 | 374 | 374 | 374 | 374 | 374 | 374 | 374 | Operational | Natural gas | Texas Genco
Webster T1 | Galveston | Houston | 1967 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco
Whitney 1 | Bosque | North | 1952 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | Operational | Water | USCE- Fort Worth District
Whitney 2 | Bosque | North | 1952 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | Operational | Water | USCE- Fort Worth District
Wise-Tractebel Power Proj. 1 | Wise | North | 2004 | 212 | 212 | 212 | 212 | 212 | 212 | 296 | Operational | Natural gas | Wise County Power Co. LP
Wise-Tractebel Power Proj. 2 | Wise | North | 2004 | 212 | 212 | 212 | 212 | 212 | 212 | 296 | Operational | Natural gas | Wise County Power Co. LP
Wise-Tractebel Power Proj. 3 | Wise | North | 2004 | 241 | 241 | 241 | 241 | 241 | 241 | 302 | Operational | Natural gas | Wise County Power Co. LP
Operational |  |  |  | 64360.1 | 64360.1 | 64360.1 | 64360.1 | 64360.1 | 64360.1 | 66856.3
| Calhoun | South | 1983 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 1.2 | Operational | Natural gas | Seadrift Coke LP
| Harris | Houston | 1986 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | Operational | Petroleum coke | AES Deepwater, Inc. | PN
| Harris | Houston | 1999 | 71 | 71 | 71 | 71 | 71 | 71 | 81.6 | Operational | Natural gas | BASF | PN
| Harris | Houston | 1984 | 69.5 | 69.5 | 69.5 | 69.5 | 69.5 | 69.5 | 92.5 | Operational | Natural gas | Air Liquide America Corp. | PN
| Harris | Houston | 1984 | 69.5 | 69.5 | 69.5 | 69.5 | 69.5 | 69.5 | 92.5 | Operational | Natural gas | Air Liquide America Corp. | PN
| Harris | Houston | 1985 | 69.5 | 69.5 | 69.5 | 69.5 | 69.5 | 69.5 | 84.5 | Operational | Natural gas | Air Liquide America Corp. | PN
| Harris | Houston | 1985 | 69.5 | 69.5 | 69.5 | 69.5 | 69.5 | 69.5 | 84.5 | Operational | Natural gas | Air Liquide America Corp. | PN
| Calhoun | South | 1997 | 23 | 23 | 23 | 23 | 23 | 23 | 3 | Operational | Natural gas | BP Energy - Green Lake | PN
| Calhoun | South | 1989 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Natural gas | BP Energy - Green Lake | PN
| Howard | West | 1988 | 75 | 75 | 75 | 75 | 75 | 75 | 79 | Operational | Natural gas | Power Resources, Ltd | PN
| Howard | West | 1988 | 75 | 75 | 75 | 75 | 75 | 75 | 79 | Operational | Natural gas | Power Resources, Ltd | PN
| Howard | West | 1988 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | Operational | Natural gas | Power Resources, Ltd | PN
| Nueces | South | 1989 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | Operational | Natural gas | Ticona Polymer Inc | PN
| Harris | Houston | 1990 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2 | Operational | Natural gas | Valero | PN
| Harris | Houston | 1990 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2 | Operational | Natural gas | Valero | PN
| Harris | Houston | 1984 | 93 | 93 | 93 | 93 | 93 | 93 | 100 | Operational | Natural gas | Calpine Clear Lake | PN
| Harris | Houston | 1984 | 81 | 81 | 81 | 81 | 81 | 81 | 97 | Operational | Natural gas | Calpine Clear Lake | PN
| Harris | Houston | 1984 | 98 | 98 | 98 | 98 | 98 | 98 | 105 | Operational | Natural gas | Calpine Clear Lake | PN
| Harris | Houston | 1984 | 37 | 37 | 37 | 37 | 37 | 37 | 30 | Operational | Natural gas | Calpine Clear Lake | PN
| Nueces | South | 1984 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | Operational | Natural gas | Valero | PN
| Nueces | South | 1984 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | Operational | Natural gas | Valero | PN
| Harris | Houston | 1982 | 59 | 59 | 59 | 59 | 59 | 59 | 71 | Operational | Natural gas | OxyVinyls-Diamond Shamrock | PN
| Harris | Houston | 1982 | 57 | 57 | 57 | 57 | 57 | 57 | 71 | Operational | Natural gas | OxyVinyls-Diamond Shamrock | PN
| Harris | Houston | 1982 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | Operational | Natural gas | OxyVinyls-Diamond Shamrock | PN
| Brazoria | Houston | 1950 | 161 | 161 | 161 | 161 | 161 | 161 | 330 | Operational | Natural gas | Dow Chemical Company | PN
| Harris | Houston | 2000 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 1.3 | Operational | Natural gas | LCY Elastomers LP | PN
| Nueces | South | 1989 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | Operational | Natural gas | Equistar Chemicals, Inc | PN
| Calhoun | South | 1993 | 8 | 8 | 8 | 8 | 8 | 8 | 26 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 2002 | 8 | 8 | 8 | 8 | 8 | 8 | 26 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 2003 | 8 | 8 | 8 | 8 | 8 | 8 | 26 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 1993 | 8 | 8 | 8 | 8 | 8 | 8 | 26 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 1993 | 8 | 8 | 8 | 8 | 8 | 8 | 26 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 1994 | 8 | 8 | 8 | 8 | 8 | 8 | 26 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 1994 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 1995 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 1996 | 4 | 4 | 4 | 4 | 4 | 4 | 7 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Calhoun | South | 1987 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | Operational | Natural gas | Formosa Utilities Ventures, LTD. | PN
| Harris | Houston | 1985 | 4 | 4 | 4 | 4 | 4 | 4 | 21 | Operational | Natural gas | Lyondell Cogeneration | PN
| Harris | Houston | 1985 | 73 | 73 | 73 | 73 | 73 | 73 | 90 | Operational | Natural gas | Lyondell Cogeneration | PN
| Harris | Houston | 1985 | 73 | 73 | 73 | 73 | 73 | 73 | 90 | Operational | Natural gas | Lyondell Cogeneration | PN
| Harris | Houston | 1985 | 73 | 73 | 73 | 73 | 73 | 73 | 90 | Operational | Natural gas | Lyondell Cogeneration | PN
| Harris | Houston | 1985 | 73 | 73 | 73 | 73 | 73 | 73 | 90 | Operational | Natural gas | Lyondell Cogeneration | PN
| Harris | Houston | 1985 | 73 | 73 | 73 | 73 | 73 | 73 | 90 | Operational | Natural gas | Lyondell Cogeneration | PN
| Harris | Houston | 1995 | 52.1 | 52.1 | 52.1 | 52.1 | 52.1 | 52.1 | 67.1 | Operational | Natural gas | Lyondell Cogeneration | PN
| Brazoria | Houston | 1994 | 55 | 55 | 55 | 55 | 55 | 55 | 112 | Operational | Natural gas | Oyster Creek (ECI related) | PN
| Harris | Houston | 1998 | 130 | 130 | 130 | 130 | 130 | 130 | 135 | Operational | Natural gas | Calpine Pasadena | PN
| Harris | Houston | 1998 | 31 | 31 | 31 | 31 | 31 | 31 | 35 | Operational | Natural gas | Calpine Pasadena | PN
| Harris | Houston | 2000 | 171 | 171 | 171 | 171 | 171 | 171 | 185 | Operational | Natural gas | Calpine Pasadena | PN
| Harris | Houston | 1970 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | Operational | Other | Rhodia, Inc | PN
| Harris | Houston | 1970 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | Operational | Other | Rhodia, Inc | PN
| Milam | South | 1981 | 97 | 97 | 97 | 97 | 97 | 97 | 117 | Operational | Lignite | TXU Generation LLP | PN
| Galveston | Houston | 1986 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 17.1 | Operational | Natural gas | South Houston Green Power LP | PN
| Galveston | Houston | 1986 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 17.1 | Operational | Natural gas | South Houston Green Power LP | PN
| Brazoria | Houston | 1998 | 80 | 80 | 80 | 80 | 80 | 80 | 85 | Operational | Natural gas | Sweeney Cogen Limited Partnership | PN
| Brazoria | Houston | 1998 | 80 | 80 | 80 | 80 | 80 | 80 | 85 | Operational | Natural gas | Sweeney Cogen Limited Partnership | PN
| Brazoria | Houston | 1998 | 80 | 80 | 80 | 80 | 80 | 80 | 85 | Operational | Natural gas | Sweeney Cogen Limited Partnership | PN
| Brazoria | Houston | 2000 | 80 | 80 | 80 | 80 | 80 | 80 | 85 | Operational | Natural gas | Sweeney Cogen Limited Partnership | PN
| Wharton | Houston | 1984 | 66 | 66 | 66 | 66 | 66 | 66 | 70 | Operational | Natural gas | Wharton County Power Partners, LP | PN
| Wharton | Houston | 1988 | 8 | 8 | 8 | 8 | 8 | 8 | 10 | Operational | Natural gas | Wharton County Power Partners, LP | PN
| Harris | Houston | 1970 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | Operational | Natural gas | Texas Petrochemicals | PN
| Galveston | Houston | 1995 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | Operational | Natural gas | Union Carbide -Texas City | PN
| Galveston | Houston | 1995 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | Operational | Natural gas | Union Carbide -Texas City | PN
| Victoria | South | 2001 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | Operational | Natural gas | Dupont | PN
| Wichita | West | 1990 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 20.6 | Operational | Natural gas | Mirant Wichita Falls Management, Inc | PN
| Wichita | West | 1990 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 20.6 | Operational | Natural gas | Mirant Wichita Falls Management, Inc | PN
| Wichita | West | 1990 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 20.6 | Operational | Natural gas | Mirant Wichita Falls Management, Inc | PN
| Wichita | West | 1990 | 16.6 | 16.6 | 16.6 | 16.6 | 16.6 | 16.6 | 15.6 | Operational | Natural gas | Mirant Wichita Falls Management, Inc | PN
Generation from private networks |  |  |  | 2880.9 | 2880.9 | 2880.9 | 2880.9 | 2880.9 | 2880.9 | 3587.7 |  |  |  | PN
B M Davis 2 | Nueces | South | 1976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 5/05 | Natural gas | Barney M. Davis, LP
Eagle Mountain 3 | Tarrant | North | 1971 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 5/05 | Natural gas | TXU Generation LLP
J L Bates 1 | Hidalgo | South | 1958 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 5/06 | Natural gas | J.L.Bates, LP
J L Bates 2 | Hidalgo | South | 1960 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 5/06 | Natural gas | J.L.Bates, LP
North Lake 2 | Dallas | North | 1961 | 174 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 5/06 | Natural gas | TXU Generation LLP
North Lake 3 | Dallas | North | 1964 | 330 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 5/06 | Natural gas | TXU Generation LLP
Valley 1 | Fannin | Northeast | 1962 | 177 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 5/06 | Natural gas | TXU Generation LLP
La Palma 4 | Cameron | South | 1947 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 12/05 | Natural gas | La Palma WLE, LP
La Palma 5 | Cameron | South | 1949 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 12/05 | Natural gas | La Palma WLE, LP
La Palma 6 | Cameron | South | 1970 | 154 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 12/05 | Natural gas | La Palma WLE, LP
La Palma 7 | Cameron | South | 1975 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | RMR Exit 12/05 | Natural gas | La Palma WLE, LP
Laredo 1 | Webb | South | 1951 | 35 | 35 | 35 | 35 | 35 | 0 | 0 | RMR Exit 5/10 | Natural gas | Laredo WLE, LP
Laredo 2 | Webb | South | 1955 | 34 | 34 | 34 | 34 | 34 | 0 | 0 | RMR Exit 5/10 | Natural gas | Laredo WLE, LP
Laredo 3 | Webb | South | 1975 | 109 | 109 | 109 | 109 | 109 | 0 | 0 | RMR Exit 5/10 | Natural gas | Laredo WLE, LP
RMR |  |  |  | 1290 | 178 | 178 | 178 | 178 | 0 | 0
DC Eagle Pass 1 | Maverick | South | 2000 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | Operational | DCTIE
DC East 1 | Titus | Northeast |  | 600 | 600 | 600 | 600 | 600 | 600 | 600 | Operational | DCTIE
DC North 1 | Wilbarger | West |  | 220 | 220 | 220 | 220 | 220 | 220 | 220 | Operational | DCTIE
DCTIE |  |  |  | 856 | 856 | 856 | 856 | 856 | 856 | 856
Kiamichi Power Part. 1 | Fannin | Northeast | 2003 | 156 | 156 | 156 | 156 | 156 | 156 | 184 | Operational | Natural gas | Kiowa Power Partners
Kiamichi Power Part. 2 | Fannin | Northeast | 2003 | 156 | 156 | 156 | 156 | 156 | 156 | 184 | Operational | Natural gas | Kiowa Power Partners
Kiamichi Power Part. 3 | Fannin | Northeast | 2003 | 319 | 319 | 319 | 319 | 319 | 319 | 316 | Operational | Natural gas | Kiowa Power Partners
Kiamichi Power Part. 4 | Fannin | Northeast | 2003 | 156 | 156 | 156 | 156 | 156 | 156 | 184 | Operational | Natural gas | Kiowa Power Partners
Kiamichi Power Part. 5 | Fannin | Northeast | 2003 | 156 | 156 | 156 | 156 | 156 | 156 | 184 | Operational | Natural gas | Kiowa Power Partners
Kiamichi Power Part. 6 | Fannin | Northeast | 2003 | 319 | 319 | 319 | 319 | 319 | 319 | 316 | Operational | Natural gas | Kiowa Power Partners
Tenaska-Frontier 1 | Grimes | North | 2000 | 155.3 | 155.3 | 155.3 | 155.3 | 155.3 | 155.3 | 183 | Operational | Natural gas | Tenaska Frontier Partners Ltd
Tenaska-Frontier 2 | Grimes | North | 2000 | 155.3 | 155.3 | 155.3 | 155.3 | 155.3 | 155.3 | 183 | Operational | Natural gas | Tenaska Frontier Partners Ltd
Tenaska-Frontier 3 | Grimes | North | 2000 | 155.3 | 155.3 | 155.3 | 155.3 | 155.3 | 155.3 | 183 | Operational | Natural gas | Tenaska Frontier Partners Ltd
Tenaska-Frontier 4 | Grimes | North | 2000 | 395.3 | 395.3 | 395.3 | 395.3 | 395.3 | 395.3 | 396.3 | Operational | Natural gas | Tenaska Frontier Partners Ltd
Tenaska-Gateway 1 | Rusk | North | 2001 | 157 | 157 | 157 | 157 | 157 | 157 | 183 | Operational | Natural gas | Tenaska Gateway Partners Ltd
Tenaska-Gateway 2 | Rusk | North | 2001 | 157 | 157 | 157 | 157 | 157 | 157 | 183 | Operational | Natural gas | Tenaska Gateway Partners Ltd
Tenaska-Gateway 3 | Rusk | North | 2001 | 157 | 157 | 157 | 157 | 157 | 157 | 183 | Operational | Natural gas | Tenaska Gateway Partners Ltd
Tenaska-Gateway 4 | Rusk | North | 2001 | 394 | 394 | 394 | 394 | 394 | 394 | 394 | Operational | Natural gas | Tenaska Gateway Partners Ltd
SWITCHABLE |  |  |  | 2988.2 | 2988.2 | 2988.2 | 2988.2 | 2988.2 | 2988.2 | 3256.3
Big Spring Windpower Fac. E | Howard | West | 1999 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | 40.9 | Op 5/27/1999 | Wind | West Texas Renewables, LP
Callahan Divide Wind Farm (FPL) | Taylor | West | 2004 | 114 | 114 | 114 | 114 | 114 | 114 | 114 | Op 12/10/2004 | Wind | FPL Energy
Delaware Mt. Wind Farm 1 | Culberson | West | 2001 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | Op 6/1/2001 | Wind | Delaware Mountain Wind Farm
Desert Sky Wind Farm 1 | Pecos | West | 2001 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | Op 12/21/2001 | Wind | American Electric Power Services Corp.
Desert Sky Wind Farm 2 | Pecos | West | 2001 | 76.5 | 76.5 | 76.5 | 76.5 | 76.5 | 76.5 | 76.5 | Op 12/21/2001 | Wind | American Electric Power Services Corp.
FPL Energy King NE1 | Upton | West | 2001 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | Op 11/8/2001 | Wind | FPL Energy Upton Wind III, LP
FPL Energy King NW1 | Upton | West | 2001 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | Op 9/21/2001 | Wind | FPL Energy Upton Wind II LP
FPL Energy King SE1 | Upton | West | 2001 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | 79.3 | Op 12/1/2001 | Wind | FPL Energy Upton Wind IV, LP
FPL Energy King SW1 | Upton | West | 2001 | 40.3 | 40.3 | 40.3 | 40.3 | 40.3 | 40.3 | 40.3 | Op 12/17/2001 | Wind | FLP Energy, INC
FPL Energy Pecos Wind 1 | Pecos | West | 2001 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | Op 5/1/2001 | Wind | FPL Pecos Wind (Woodward) I
FPL Energy Pecos Wind 2 | Pecos | West | 2001 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | Op 5/1/2001 | Wind | FPL Pecos Wind (Woodward) II
Green Mountain at Brazos 1 | Scurry | West | 2003 | 99 | 99 | 99 | 99 | 99 | 99 | 99 | Op 12/1/2003 | Wind | Brazos Wind, LP
Green Mountain at Brazos 2 | Scurry | West | 2003 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | Op 12/1/2003 | Wind | Brazos Wind, LP
Kunitz 1 | Culberson | West | 1995 | 44.8 | 44.8 | 44.8 | 44.8 | 44.8 | 44.8 | 44.8 | Op 9/1/1995 | Wind | Windpower Partners 1994, LP
Orion NWP Indian Mesa I 1 | Pecos | West | 2001 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5 | 82.5 | Op 7/1/2001 | Wind | FLP Energy, INC
Southwest Mesa Wind 1 | Upton | West | 1999 | 74.6 | 74.6 | 74.6 | 74.6 | 74.6 | 74.6 | 74.6 | Op 6/1/1999 | Wind | FLP Energy, INC
Sweetwater Wind 1 | Nolan | West | 2003 | 36.6 | 36.6 | 36.6 | 36.6 | 36.6 | 36.6 | 36.6 | Op 12/23/2003 | Wind | Sweetwater Wind Power LLC
Sweetwater Wind 2 | Nolan | West | 2004 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | 91.5 | Op 11/22/2004 | Wind | Sweetwater Wind Power LLC
Trent Mesa Wind Farm 1 | Nolan | West | 2001 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | Op 6/1/2001 | Wind | Trent Wind Farm, LP
WIND |  |  |  | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6 | 1423.6
B M Davis 1 | Nueces | South | 1974 | 344 | 344 | 344 | 344 | 344 | 344 | 348 | Operational with RMR unit Exit 5/05 | Natural gas | Barney M. Davis, LP Unit 1
Collin 1 | Collin | Northeast | 1955 | 154 | 154 | 154 | 154 | 154 | 154 | 156 | Mothballed | Natural gas | TXU Generation LLP
E S Joslin 1 | Calhoun | South | 1971 | 254 | 254 | 254 | 254 | 254 | 254 | 260 | Mothballed | Natural gas | E. S. Joslin, LP
Eagle Mountain 1 | Tarrant | North | 1954 | 116 | 116 | 116 | 116 | 116 | 116 | 122 | Mothballed | Natural gas | TXU Generation LLP
Eagle Mountain 2 | Tarrant | North | 1956 | 175 | 175 | 175 | 175 | 175 | 175 | 170 | Mothballed | Natural gas | TXU Generation LLP
Ft Phantom 1 | Jones | West | 1974 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | Mothballed | Natural gas | AEP Texas North Company
Ft Phantom 2 | Jones | West | 1977 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | Mothballed | Natural gas | AEP Texas North Company
Hays Energy Facility 1 | Hays | South | 2001 | 222 | 222 | 222 | 222 | 222 | 222 | 236 | Mothballed | Natural gas | Hays Energy Limited Partnership
Hays Energy Facility 2 | Hays | South | 2001 | 222 | 222 | 222 | 222 | 222 | 222 | 236 | Mothballed | Natural gas | Hays Energy Limited Partnership
Hays Energy Facility 3 | Hays | South | 2002 | 225 | 225 | 225 | 225 | 225 | 225 | 239 | Mothballed | Natural gas | Hays Energy Limited Partnership
Hays Energy Facility 4 | Hays | South | 2002 | 229 | 229 | 229 | 229 | 229 | 229 | 244 | Mothballed | Natural gas | Hays Energy Limited Partnership
Leon Creek 4 | Bexar | South | 1959 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | Mothballed | Natural gas | City Public Service San Antonio
Lon C. Hill 1 | Nueces | South | 1954 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | Mothballed | Natural gas | Lon C Hill, LP
Lon C. Hill 2 | Nueces | South | 1956 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | Mothballed | Natural gas | Lon C Hill, LP
Lon C. Hill 3 | Nueces | South | 1959 | 164 | 164 | 164 | 164 | 164 | 164 | 164 | Mothballed | Natural gas | Lon C Hill, LP
Lon C. Hill 4 | Nueces | South | 1969 | 245 | 245 | 245 | 245 | 245 | 245 | 245 | Mothballed | Natural gas | Lon C Hill, LP
North Lake 1 | Dallas | North | 1959 | 171 | 171 | 171 | 171 | 171 | 171 | 180 | Mothballed | Natural gas | TXU Generation LLP
Nueces Bay 5 | Nueces | South | 1949 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | Mothballed | Natural gas | Nueces Bay WLE, LP
Nueces Bay 6 | Nueces | South | 1965 | 161 | 161 | 161 | 161 | 161 | 161 | 170 | Mothballed | Natural gas | Nueces Bay WLE, LP
Nueces Bay 7 | Nueces | South | 1972 | 368 | 368 | 368 | 368 | 368 | 368 | 368 | Mothballed | Natural gas | Nueces Bay WLE, LP
P H Robinson 1 | Galveston | Houston | 1966 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | Mothballed | Natural gas | Texas Genco II
P H Robinson 2 | Galveston | Houston | 1967 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | Mothballed | Natural gas | Texas Genco II
P H Robinson 3 | Galveston | Houston | 1968 | 552 | 552 | 552 | 552 | 552 | 552 | 552 | Mothballed | Natural gas | Texas Genco II
P H Robinson 4 | Galveston | Houston | 1973 | 737 | 737 | 737 | 737 | 737 | 737 | 737 | Mothballed | Natural gas | Texas Genco II
San Angelo 1 | Tom Green | West | 1965 | 21 | 21 | 21 | 21 | 21 | 21 | 25 | Mothballed | Natural gas | AEP Texas North Company
San Angelo 2 | Tom Green | West | 1966 | 102 | 102 | 102 | 102 | 102 | 102 | 103 | Mothballed | Natural gas | AEP Texas North Company
Valley 2 | Fannin | Northeast | 1967 | 550 | 550 | 550 | 550 | 550 | 550 | 576 | Mothballed | Natural gas | TXU Generation LLP
Valley 3 | Fannin | Northeast | 1971 | 390 | 390 | 390 | 390 | 390 | 390 | 410 | Mothballed | Natural gas | TXU Generation LLP
Victoria 4 | Victoria | South | 1955 | 69 | 69 | 69 | 69 | 69 | 69 | 69 | Mothballed | Natural gas | Victoria WLE, LP
Victoria 5 | Victoria | South | 1963 | 172 | 172 | 172 | 172 | 172 | 172 | 172 | Mothballed | Natural gas | Victoria WLE, LP
Victoria 6 | Victoria | South | 1968 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | Mothballed | Natural gas | Victoria WLE, LP
W B Tuttle 2 | Bexar | South | 1956 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | Mothballed | Natural gas | City Public Service San Antonio
W B Tuttle 3 | Bexar | South | 1961 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | Mothballed | Natural gas | City Public Service San Antonio
B M Davis 2 | Nueces | South | 1976 | 353 | 353 | 353 | 353 | 353 | 353 | 353 | RMR Exit 5/05
Eagle Mountain 3 | Tarrant | North | 1971 | 380 | 380 | 380 | 380 | 380 | 380 | 380 | RMR Exit 5/05
J L Bates 1 | Hidalgo | South | 1958 | 0 | 72 | 72 | 72 | 72 | 72 | 72 | RMR Exit 5/06
J L Bates 2 | Hidalgo | South | 1960 | 0 | 110 | 110 | 110 | 110 | 110 | 110 | RMR Exit 5/06
North Lake 2 | Dallas | North | 1961 | 0 | 174 | 174 | 174 | 174 | 174 | 174 | RMR Exit 5/06
North Lake 3 | Dallas | North | 1964 | 0 | 330 | 330 | 330 | 330 | 330 | 330 | RMR Exit 5/06
Valley 1 | Fannin | Northeast | 1962 | 0 | 177 | 177 | 177 | 177 | 177 | 177 | RMR Exit 5/06
La Palma 4 | Cameron | South | 1947 | 0 | 24 | 24 | 24 | 24 | 24 | 24 | RMR Exit 12/05
La Palma 5 | Cameron | South | 1949 | 0 | 23 | 23 | 23 | 23 | 23 | 23 | RMR Exit 12/05
La Palma 6 | Cameron | South | 1970 | 0 | 154 | 154 | 154 | 154 | 154 | 154 | RMR Exit 12/05
La Palma 7 | Cameron | South | 1975 | 0 | 48 | 48 | 48 | 48 | 48 | 48 | RMR Exit 12/05
Laredo 1 | Webb | South | 1951 | 0 | 0 | 0 | 0 | 0 | 35 | 37 | RMR Exit 5/10
Laredo 2 | Webb | South | 1955 | 0 | 0 | 0 | 0 | 0 | 34 | 35 | RMR Exit 5/10
Laredo 3 | Webb | South | 1975 | 0 | 0 | 0 | 0 | 0 | 109 | 110 | RMR Exit 5/10
MOTHBALLED |  |  |  | 8386 | 9498 | 9498 | 9498 | 9498 | 9676 | 9819
Boonsville1 | Jack | North | 2006 | 0 | 272 | 272 | 272 | 272 | 272 | 272 | Planned 5/1/2006 | Natural gas
Boonsville2 | Jack | North | 2006 | 0 | 160 | 160 | 160 | 160 | 160 | 160 | Planned 5/1/2006 | Natural gas
Boonsville3 | Jack | North | 2006 | 0 | 160 | 160 | 160 | 160 | 160 | 160 | Planned 5/1/2006 | Natural gas
New Units with Signed IA |  |  |  | 0 | 592 | 592 | 592 | 592 | 592 | 592 |  |  | Brazos Electric Coop
Brazos Electric Coop
Brazos Electric Coop
Orion Delaware Mt Wind Farm 1 | Culberson | West | 2006 | 0 | 0 | 175 | 175 | 175 | 175 | 175 | Planned 12/31/2006 | Wind
New Wind Generation |  |  |  | 0 | 0 | 175 | 175 | 175 | 175 | 175
Holly Street 3 | Travis | South | 1967 | 0 | 0 | 0 | 0 | 0 | 195 | 195 | Retires 12/31/2009 | Natural gas | Orion Energy
Holly Street 4 | Travis | South | 1974 | 0 | 0 | 0 | 0 | 0 | 196 | 196 | Retires 12/31/2009 | Natural gas
Leon Creek 3 | Bexar | South | 1953 | 0 | 0 | 0 | 0 | 65 | 65 | 65 | Retires 12/31/2008 | Natural gas
Units to be Retired |  |  |  | 0 | 0 | 0 | 0 | 65 | 456 | 456 |  |  | Austin Energy
Austin Energy
City Public Service San Antonio
Cedar Bayou 3 | Chambers | Houston | 1974 | 760 | 760 | 760 | 760 | 760 | 760 | 760 | Operational | Natural gas
Deepwater 7 | Harris | Houston | 1955 | 174 | 174 | 174 | 174 | 174 | 174 | 174 | Operational | Natural gas
Hiram Clarke 1 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas
Hiram Clarke 2 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 3 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 4 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 5 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Hiram Clarke 6 | Harris | Houston | 1968 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
T H Wharton 2 | Harris | Houston | 1960 | 229 | 229 | 229 | 229 | 229 | 229 | 229 | Operational | Natural gas | Texas Genco II
Webster 3 | Galveston | Houston | 1965 | 374 | 374 | 374 | 374 | 374 | 374 | 374 | Operational | Natural gas | Texas Genco II
Webster T1 | Galveston | Houston | 1967 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | Operational | Natural gas | Texas Genco II
Additional Texas Genco Units to be Retired |  |  |  | 1628 | 1628 | 1628 | 1628 | 1628 | 1628 | 1628 |  |  | Texas Genco II
|  |  |  | (PH Robinson is already in mothballed, so it isn't included here. In calculation for Tx Genco retires,it is included in the calculations for 2006-2010 because mothballed in not removed from those years.) | [8 empty] | Texas Genco
Texas Genco