# SPWG Report to ROS

#### February 10th, 2005

SPWG last met November 18th and 19th, 2004.

SPWG member companies have submitted current year (2005) short circuit data to ERCOT.

Disturbance monitoring equipment location criteria presently applies to equipment operated at 60 kV or above. This is a change from wording previously approved by the SPWG specifying 100 kV and above. SPWG members agree reference to 60 kV should be revised to 100 kV. An OGRR was prepared to address this issue, as well as time synchronization of disturbance recorders, and submitted to ERCOT on February 1st, 2005.

SPWG members reviewed and commented on OGRR 154 (Generator Protection Requirements, Operating Guide section 3.1.4.6). The members’ comments have been compiled (see attached document).

SPWG members shared information on how their companies computed their 345kV emergency line ratings for evaluation of Zone 3 relay settings. This information was requested by a member of ROS at the last meeting (see attached document).

Next SPWG meeting is scheduled for February 24th and 25th, 2005.

Mehrdad Vatani

SPWG Chair