OWG Report to ROS

2-10-05

The OWG met on January 19, 2005. The following comments are of note from that meeting:

- There were no comments received on 159OGRR. After review by the OWG, changes to the last paragraph were recommended and a consensus affirmation was voiced. The OWG recommended approval of the amended 159OGRR.

- 160OGRR was administrative changes to sections 3.1.4.3, 3.2.1.2, 8.2.6, 8.2.7, 8.2.9. These changes were effective 12-1-04

- 161OGRR (Responsive Reserve MW Limit) loosely related to PRR 502. There were comments by three (3) entities just prior to the OWG meeting. Due to OGRTF scheduling difficulties this OGRR was to be reviewed by the OWG. After the wide ranging comments received, the OWG remanded 161OGRR to the OGRTF to resolve the issues brought up in the comments.

- 162OGRR (Revisions to Disturbance Monitoring) Make GPS time synchronization a requirement, and clarify location requirements to exclude 69kV lines but include generator owned transmission above 100kV. No comments have been received as of 2-7-05. This OGRR is currently in its comment stage.

- Van Weldon conveyed to the OWG that the NERC Continuing Education Hours that will be available at this years ERCOT Operator Training Seminar will not apply to the 2005 NERC Certification renewals.

- The Operations Task force recommended that the Storm drills, such as the one in November 2004, continue on an annual basis on the second Wednesday in November.  The Task force also recommended that the drill, whether it is a storm drill or some other type of emergency event, be made mandatory or Level 4 QSEs and all TOs.  This would require at least an OGRR and or a PRR if the ROS approves of this recommendation. An OGRR development is an action item for the OGRTF if this recommendation is approved by ROS.

- The annual Black Start Training has commenced. CPS, AEP, CenterPoint and TXU are hosting the training sessions.

- The next OWG meeting will be February 16th in Taylor due to meeting space limitations at the Met Center.