# OGRTF 11-16-04 Meeting Notes

Attendance:

Wayne Kemper		CenterPoint Energy	TO		713-207-2192

Rick Keetch		RRI			QSE		713-497-2526

David Darnell 		CPS			TO		210-353-2208

Jeff Gilbertson		ERCOT			Market Rules	512-225-7043

Gary Miller		TXU 			QSE		214-875-9048

Joe Weatherly 		LCRA			TO		512-482-6288

John Dumas		ERCOT					512-248-3195

Dennis Kunkel		AEP			TO		361-289-4003

## NOTE: Action Items are shown in Bold

- Darnell reviewed the Anti-Trust admonition.

- Summary of the most recent TAC and ROS meetings-Darnell

- TAC approved OGRR153 (Reactive Capability Testing) and this revision should be effective December 1, 2004.

- ROS assigned OGRR154 (Generation Protection Requirements) to the SPWG for comments and to recommend resolution of the comments.

- The OGRTF reviewed and approved the 10-19-04 meeting notes. Darnell will send to ERCOT for posting. The following action items will be carried over to the next meeting.

Lane Robinson agreed at the last meeting to take an action item for Compliance to review Section 3 to determine if any enforcement verbiage should be moved to the Compliance web site particularly section 3.1.4.8 Enforcement of LAAR testing requirements.

Stephen Knapp action items:

- Work with ERCOT to reword the section on generation Resource Forced Outage reporting in Section 3.

- Review and correct the protocol reference labeled 6.5.7 Voltage Support Service in section 3.

- The TF reviewed comments on OGRR156 (Reactive Considerations due to PRR409--Voltage Support Service from Generating Resource). The TF incorporated comments from TXU ED and AEP and agreed to forward the revised OGRR to the OWG with a recommendation for approval.

- The TF discussed OGRR157 (Delete Test Form for Non-Spinning Reserve Service). No comments have been received by ERCOT and the TF agreed to forward to the OWG with a recommendation for approval.

- The TF discussed OGRR158 (Consistent Under-frequency Relay Trip Time Language). No comments have been received by ERCOT and the TF agreed to forward to the OWG with a recommendation for approval.

- The OGRTF reviewed OGRR159 (Clarification of QSE Schedule Control Error Equation Bias Setting and Turbine Speed Governors). This is a new OGRR that has not completed the comment period and will be reviewed again at the next meeting.

- The TF reviewed the table of Protocol Reference Changes needed in the Operating Guides and determined which ones only require an administrative change. Jeff will implement the administrative changes. The TF split up the remaining protocol revisions with an action item to determine if revised or new guide language is needed.  Jeff will revise the table to show assignments of remaining protocol references and redistribute to the TF.

- The next OGRTF meeting is scheduled for January 2005, the day before the OWG meeting.