| OGRR Number | 163 | OGRR Title | State Estimator Observability and Redundancy Requirements |
| --- | --- | --- | --- |
| Operating Guide Section Requiring Revision |  | 8.1.6, Data from QSE/TDSP to ERCOT |  |
| Protocol Section Requiring Revision, if any. |  | ## None |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | Updates the Operating Guide to include State Estimator Observability and Redundancy Requirements |  |
| ###### Reason for Revision |  | Assignment from ROS |  |
| Timeline |  |  |  |
| Date Posted |  | 2/15/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Stephen C. Knapp (on behalf of OGRTF) |
| E-mail Address | Steve.knapp@constellation.com |
| Company | Constellation Energy Commodities Group, Inc. |
| Company Address | 111 Market Place, Suite 500, Baltimore, MD 21202 |
| Phone Number | 410-468-3606 |
| Fax Number | 410-468-3540 |

Comments

This revision includes sections 5 and 6 from the “State Estimator Observability and Redundancy Requirements” document, placed in the most appropriate Operating Guide section as determined by OGRTF, outlining ERCOT’s requirements and exemption process.  The sections have been added as new Operating Guide sections 8.1.6.2.1 and 8.1.6.2.2 as a starting point for further comments.

Proposed Operating Guide Language Revision

### 8.1.6	Data from QSE/TDSP to ERCOT

QSEs and TDSPs shall provide Real Time monitoring of power system quantities to ERCOT as defined in the Operating Guides and the Protocols.  All Real Time monitoring data for a TDSP will be provided to ERCOT through a primary ICCP association.  Attachment 8A gives the format and parameters for the content of each type of data point that ERCOT may request from TDSPs and QSEs to satisfy the requirements in the Operating Guides and the Protocols. Not all points in Attachment 8A are necessarily required from each Entity.  ERCOT will inform TDSPs and QSEs if additions to presently furnished data are required.  Both parties will seek to jointly resolve a means and schedule for providing data to ERCOT, including changes to existing data.  ERCOT will consider alternatives and exceptions, on a case-by-case basis, to the extent that ERCOT does not believe its operational needs are compromised.  Ultimately, it is the responsibility of the TDSP or QSE to provide all data requested by ERCOT that is set forth in the ERCOT Protocols and Operating Guides.  Additional points and amendments shall be based on ERCOT operational needs and will be presented to the appropriate ERCOT TAC Subcommittees for approval for changes to the Protocols or the Operating Guides.

#### 8.1.6.1	Weather Zone Data

If the TDSP is responsible for providing Weather Zone data, they are required to establish a backup to the primary source using one of the options below:

1.	TDSPs having an EMS with a native ICCP application capable of 4 second periodic data set transfers with minimum 300 points per data set, and hot standby backup ICCP servers with automatic fail-over capability, shall provide an additional ICCP association across the ERCOT WAN for the transfer of Weather Zone tie line measurements.  ICCP nodes should exist at primary and backup facilities.

2.	TDSPs not having an EMS with a native ICCP application shall install a RTU with three DNP 3.0 ports for ERCOT's use to provide Weather Zone tie measurements.  The data that ERCOT receives from the RTU shall reflect the EMS data quality codes.  RTUs should exist at primary and backup facilities.

#### 8.1.6.2	State Estimator Data

##### 8.1.6.2.1	Observability Requirement and Available Exceptions

ERCOT must protect transmission equipment from damage, for any equipment operated at 60 kV or above.  To do this, ERCOT will request RTU placement, at as few locations as practicable.

Prior to requesting additional RTU installation, ERCOT will identify proposed RTU placement(s), the buses which will be made observable by this RTU placement and the relevant post-contingency overloads or under/over voltage conditions.  Upon receipt of this proposed RTU placement, a TSP has 60 days to either:

1)	Provide a proposed alternative to ERCOT for implementation within the next 18 months which meets the requirements described by ERCOT.

2)	Propose a normal topology change (change normal status of switch(es)) in the area which eliminates the security violations which are ERCOT’s concern. (i.e. eliminates the possibility of flow through a networked element and turns the security problem into a planning problem un-effected by unit dispatch) or

3)	Address the Public Utility Commission requirement that ERCOT is responsible for the transmission elements designated by ERCOT to be at risk.

In the event that option 3 is selected; ERCOT will immediately remove the elements from its Real Time Congestion Management system as monitored elements pending the resultant PUCT decision.

##### 8.1.6.2.2	Redundancy Standard and Exceptions

ERCOT will maintain redundancy on measurements critical to transmission reliability of the ERCOT interconnection.

ERCOT will identify critical measurements in the ERCOT system.  ERCOT will examine this list of critical measurements and identify those measurements whose loss will result in either:

A.	Inability of ERCOT to monitor a loading on a transmission element operated at 345 kV or above.

B.	Inability of ERCOT to monitor loading on a 345/138 kV autotransformer.

C.	Inability of ERCOT to monitor a loading on a transmission element designated as critical by ERCOT.

ERCOT will also identify critical measurements with:

D.	A historic availability of less than 80% over any two historic consecutive months. (incorrect measurements are considered unavailable in this definition)

ERCOT will request addition of additional measurements, possibly through an independent communications path (if required due to communications failures contributing to item D above) to make these measurement non-critical.  In this request, ERCOT will identify the critical measurement identified, the monitored element of concern, a contingency/overload condition, and a unit dispatch which makes this loading a possible concern.

Upon receipt of a redundant measurement request, a TDSP has 60 days to either:

•	Provide ERCOT with a schedule of equipment installations within the next 18 months which will provide the proposed measurement,

•	Propose an alternative measurement which will serve the same purpose as the ERCOT identified measurements with a proposed implementation within 18 months,

•	Implement corrections to increase the availability rate of the identified critical measurements to an acceptable level, if the request is for reason “D” above; and request from ERCOT permission to defer the proposed additional measurement pending successful availability improvement, or

•	Identify and propose a schedule of equipment installations within the next 18 months, which would, as a result, make the transmission element identified by ERCOT non-critical.