| PRR Number |  | PRR Title | Availability of Aggregated Load Data by TDSP |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 11.5.1.1 Aggregated Load Data Posting/Availability |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | To receive aggregated TDSP load data from ERCOT for the purposes of accurately identifying TDSP system peaks required for FERC filings |  |
| Reason for Revision |  | Since ERCOT operates under a single control area, TDSPs no longer have the capability to measure their aggregate monthly peak demand on their delivery system. The coincidence of a TDSPs monthly peak is highly correlated to the ERCOT monthly peak. Therefore, TDSPs make the assumption that their monthly peak coincides with the ERCOT monthly peak. The Federal Energy Regulatory Commission (FERC) has updated its requirements for the annual FERC Form 1 to include monthly peak data (MW, day of month, and hour). Also, the FERC has recently ordered public utilities and transmitting utilities to file quarterly reports (FERC Form No. 3-Q). Similar to the annual reporting requirements, the quarterly report requires monthly peak MW, date, and hour of peak. In addition, the quarterly reports require the peak load data to be broken down into the FERC pro-forma tariff service categories (firm service, point to point service, short term service, other service, etc.). Since ERCOT transmission utilities do not use the FERC pro-forma tariff for open access transmission service, we will provide a footnote explaining why the breakdown of the monthly peaks is not applicable to ERCOT transmission providers. However, it appears that we will be required to report the monthly peak data. It would be virtually impossible for TDSP’s to develop the systems necessary to identify and match their monthly aggregate peak demand levels to ERCOT. This request is for for ERCOT to report or post the date, hour, and MW of each monthly peak along with the percentage of such peak attributable to each TDSP. Beginning in 2005, the deadline for filing the FERC quarterly reports will be 60 days after the end of the quarter. Therefore, TDSPs will have an ongoing need for the monthly peak data. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  |  |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Bill Reily |
| E-mail Address | breily@txued.com |
| Company | TXUED |
| Company Address | 301 S Harwood, Dallas,TX 75201 |
| Phone Number | 817..480.7300 |
| Fax Number |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Minimal | minimal | none |
| MARKET SEGMENT | None | None | None |
| Consumer | None | None | None |
| LSE: General, Including NOIE | None | None | None |
| LSE: CR & REP | None | None | None |
| QSE | None | None | None |
| Resource | None | None | None |
| TDSP | Optional | Optional | yes |

Proposed Protocol Language Revision

11.5.1.1	Aggregated Load Data Posting/Availability

ERCOT will make available to Market Participants the following information on a daily basis:

(1)	LSE Load Ratio Share data by ERCOT total.

(2)	LSE base Load values, by unique combination of QSE, Congestion Zone, UFE zone, Profile Type, Distribution Loss Factor code and TDSP.

(3)	LSE base Load plus allocation of Distribution Losses by unique combination of QSE, Congestion Zone, UFE zone, Profile Type, Distribution Loss Factor code and TDSP.

(4)	LSE base Load plus allocation of Distribution Losses and Transmission Losses by unique combination of QSE, Congestion Zone, UFE zone, Profile Type, Distribution Loss Factor code and TDSP.

(5)	LSE base Load plus allocation of Distribution Losses, Transmission Losses, and UFE; by unique combination of QSE, Congestion Zone, UFE zone, Profile Type, Distribution Loss Factor code and TDSP allocation of Distribution Losses, Transmission Losses and UFE.

(6)	TDSP base Load plus allocation of Distribution Losses, Transmission Losses, and UFE; by TDSP.

Each Market Participant will have access only to its own information and/or the information of the Entities, which it represents.  ERCOT will make the aforementioned data for each settlement run available to Market Participants via MIS within forty-eight (48) hours of finalizing the data for Settlement Statements.