| PRR Number | 547PRR | PRR Title | Trading Hubs |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | New Section 7.9 – Trading Hubs |  |
| Effective Date |  | March 1, 2005 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Revision Description |  | This PRR creates a new section that establishes a definition of a trading hub and specifically identifies the transmission buses that make up each trading hub. This would allow trading beyond the timeframe currently available through the existing Congestion Zones, which can change annually. In addition, trading hubs will serve to bridge the trading gap between the current Zonal market design and the potential Texas Nodal market design. |  |
| Overall Market Benefit |  | Provides better market liquidity and enhances opportunities to contract for energy for longer terms. |  |
| Overall Market Impact |  | No cost to market participants is anticipated. |  |
| Consumer Impact |  | Potential for lower prices due to providers being able to contract for longer terms. |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | ERCOT Credit staff and the CWG have reviewed PRR547 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| Procedural History |  | - PRR 547 was posted on 10/1/04 and discussed at WMS on 10/21/04. WMS endorsed the approval of PRR 547 with the understanding that ERCOT will review the UPlan Study and PJM Analysis in the CMWG Hub Proposal. - On 11/09/04, ERCOT posted the Impact Analysis for PRR 547. - On 11/19/04 PRS voted to recommend approval of PRR 547 as revised and pending the results of the ERCOT review. - On 11/24/04 PUCT MOD commented on the ERCOT’s preliminary draft review. TXU responded to PUCT MOD’s comments. - ERCOT posted its final review on 12/03/04. - Because the approval of this PRR was contingent upon the results of the UPlan study, PRS re-considered the PRR at its 12/15/04 meeting and passed a motion recommending approval of this PRR. PRS also accepted the Impact Analysis. - On 12/20/04, ERCOT posted an Impact Analysis for TAC. - PUCT MOD provided additional comments on 12/22/04. - On 12/27/04, ERCOT posted a follow-up study, as requested by PRS. - TAC considered this PRR on 1/6/05. |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | PRS voted to recommend approval of PRR547 as revised to incorporate the comments filed by TXU on 10/19/04 and a corrected table of transmission buses included in each hub, and subject to a positive audit result from the UPlan Study. The motion passed with abstentions from the independent power marketers, independent generators and consumer segments (attached). No committee member voted against approval of the PRR. All market segments were present. On 12/15/04, having reviewed the ERCOT UPlan study, PRS recommended approval of the PRR in a 70% to 30% vote, with nays from the Consumers and Independent Power Marketers. Certain members from the MOU, Independent Generator, and Independent Power Marketers segments abstained. |  |
| Summary of PRS discussion |  | PRS reviewed the PJM market comparison study that showed that a trading hub can be liquid, even if there is intra-hub congestion and the discussion regarding this issue with WMS. PUCT Staff clarified that it would prefer a full review of the study. ERCOT Staff conducted the UPlan study which was discussed at the 12/15/04 PRS meeting. PRS accepted the results of the study and recommended approval of the PRR. PRS did, however, request that ERCOT update its study for TAC. |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | TAC voted unanimously to approve this PRR as amended by PUCT Staff. There were two abstentions and all market segments were present. |  |
| Summary of TAC discussion |  | PUCT Staff discussed its concerns regarding this PRR, particularly as it relates to price stability and shift factors. The proposed solution is to eliminate six buses in the Houston and North hubs and initiate a study to determine the appropriate busses that should be included within each of the proposed hubs. The study would be performed by the end of June 2005. Market participants discussed the the scope and resources necessary to perform such a study. |  |
| Board Action |  | The Board approved PRR547 as recommended by TAC. |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Increases the number of bilateral transactions processed | None | Provides better market liquidity |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Potential for lower prices due to providers being able to contract for longer terms. |
| LSE: General, Including NOIE | Allows longer term purchases | Minimal | Provides better market liquidity and enhances opportunities to contract for energy for longer terms |
| LSE: CR & REP | Allows longer term purchases and sales | Minimal | Provides better market liquidity and enhances opportunities to contract for energy for longer terms |
| QSE | Allows longer term purchases | Minimal | Provides better market liquidity and enhances opportunities to contract for energy for longer terms |
| Resource | Allows longer term sales | Minimal | Provides better market liquidity and enhances opportunities to contract for energy for longer terms |
| TDSP | None | None | None |

| Original Sponsor |  |
| --- | --- |
| Name | Jerry Ward |
| Company | Congestion Management Working Group (CMWG) |
| Segment | Not applicable |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| ERCOT 100804 | Highlighted issues for consideration. |
| Coral Power 101504 | The PRR, as written, will not accomplish its stated goals. |
| PUCT MOD 101904 | Explained MOD concerns about trading HUBs. |
| TXU Energy 101904 | Responded to issues raised in ERCOT comments and proposed a revision. |
| TXU Energy 102004 | Responded to comments by PUCT MOD and others, and presented the UPlan study to demonstrate feasibility of the PRR. |
| PUCT MOD 112404 | Commented on the limited value of the UPlan in determining the benefit of trading hubs. |
| ERCOT 120204 | ERCOT review of the TXU UPlan simulation. |
| TXU Energy 113004 | Responded to PUCT MOD’s comments. |
| PUCT MOD 122204 | Proposes modification to the proposal and an ERCOT conducted statistical cluster analysis study. |
| ERCOT 010405 | Updated study as requested by PRS. |

Revised Proposed Protocol Language

7.9	Trading Hubs

The purpose of this section is to define each Trading Hub, list the transmission buses that are included in each Trading Hub, describe how to calculate the Trading Hub Price for each Trading Hub, and establish the duties of ERCOT and Market Participants related to transactions involving Trading Hubs.

7.9.1	Definition of a Trading Hub

(1)	A Trading Hub is a specified group of Transmission Buses (60 kV and above) within the ERCOT System used for scheduling bilateral energy or capacity transactions between one or more Market Participants and/or ERCOT.

(2)	All Trading Hubs are defined in Section 7.9.2, ERCOT Trading Hubs, and the only way to create other Trading Hubs is by amending Section 7.9.2 through the PRR process, as described in Section 21, Process for Protocol Revision.

(3)	If a Transmission Bus that is included in a Trading Hub is physically removed from service, ERCOT shall file a Protocol Revision Request to revise the appropriate Trading Hub to reflect that event.

(4)	Transactions involving a Trading Hub shall be expressed in a minimum of one (1) MW increments, unless specified otherwise in Section 7.9.3.4, Scheduling of Transactions Using ERCOT Trading Hubs.

7.9.2	ERCOT Trading Hubs

7.9.2.1	North 345 kV Trading Hub

(1)	The North 345 kV Trading Hub is composed of the following Transmission Buses:

|  | ERCOT Operations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Station Mnemonic |  | Bus Number |  |  | Trading Hub |

|  |  | ERCOT Operations |  |  |  | Steady State Working Group |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. |  | Station Mnemonic |  | kV |  | Bus Number |  | Name |  | kV |  | Trading Hub |  |
| 1 |  | ANASW |  | 345 |  | 2373 |  | ANNA SS |  | 345 |  | NORTH |  |
| 2 |  | CN345 |  | 345 |  | 2372 |  | COLLINSS |  | 345 |  | NORTH |  |
| 3 |  | WLSH |  | 345 |  | 5925 |  | DCEAST |  | 345 |  | NORTH |  |
| 4 |  | FMRVL |  | 345 |  | 1685 |  | FARM SW |  | 345 |  | NORTH |  |
| 5 |  | LPCCS |  | 345 |  | 1684 |  | LAMARPWR |  | 345 |  | NORTH |  |
| 6 |  | MNSES |  | 345 |  | 1695 |  | MOSES |  | 345 |  | NORTH |  |
| 7 |  | PRSSW |  | 345 |  | 1692 |  | PARIS SS |  | 345 |  | NORTH |  |
| 8 |  | SSPSW |  | 345 |  | 1697 |  | SULSP SS |  | 345 |  | NORTH |  |
| 9 |  | VLSES |  | 345 |  | 1690 |  | VALLEY |  | 345 |  | NORTH |  |
| 10 |  | ALNSW |  | 345 |  | 2513 |  | ALLEN1SS |  | 345 |  | NORTH |  |
| 11 |  | ALNSW |  | 345 |  | 2514 |  | ALLEN2SS |  | 345 |  | NORTH |  |
| 12 |  | ALLNC |  | 345 |  | 1855 |  | ALLIANCE |  | 345 |  | NORTH |  |
| 13 |  | BNDVS |  | 345 |  | 970 |  | BEN DV B |  | 345 |  | NORTH |  |
| 14 |  | BNBSW |  | 345 |  | 1869 |  | BENB A T |  | 345 |  | NORTH |  |
| 15 |  | BBSES |  | 345 |  | 3380 |  | BIGBRN |  | 345 |  | NORTH |  |
| 16 |  | BOSQUESW |  | 345 |  | 246 |  | BOSQUESW |  | 345 |  | NORTH |  |
| 17 |  | CDHSW |  | 345 |  | 2420 |  | C HILL |  | 345 |  | NORTH |  |
| 18 |  | CNTRY |  | 345 |  | 1929 |  | CENTURY1 |  | 345 |  | NORTH |  |
| 19 |  | CNTRY |  | 345 |  | 1930 |  | CENTURY3 |  | 345 |  | NORTH |  |
| 20 |  | CRLNW |  | 345 |  | 2361 |  | CLT NW |  | 345 |  | NORTH |  |
| 21 |  | CMNSW |  | 345 |  | 1440 |  | CMCHE SS |  | 345 |  | NORTH |  |
| 22 |  | CNRSW |  | 345 |  | 2453 |  | CNVIL |  | 345 |  | NORTH |  |
| 23 |  | CRTLD |  | 345 |  | 1931 |  | COURTLND |  | 345 |  | NORTH |  |
| 24 |  | DCSES |  | 345 |  | 1888 |  | DEC T |  | 345 |  | NORTH |  |
| 25 |  | EMSES |  | 345 |  | 1859 |  | EAGLE MT |  | 345 |  | NORTH |  |
| 26 |  | ELKTN |  | 345 |  | 3105 |  | ELKTON |  | 345 |  | NORTH |  |
| 27 |  | ELMOT |  | 345 |  | 3406 |  | ELM MOTT |  | 345 |  | NORTH |  |
| 28 |  | EVRSW |  | 345 |  | 1882 |  | EV WEST |  | 345 |  | NORTH |  |
| 29 |  | KWASS |  | 345 |  | 11690 |  | FANNIN |  | 345 |  | NORTH |  |
| 30 |  | FGRSW |  | 345 |  | 3130 |  | FOR GROV |  | 345 |  | NORTH |  |
| 31 |  | FORSW |  | 345 |  | 2437 |  | FORNEY |  | 345 |  | NORTH |  |
| 32 |  | FRNYPP |  | 345 |  | 12410 |  | FPLEFRB1 |  | 345 |  | NORTH |  |
| 33 |  | FRNYPP |  | 345 |  | 12420 |  | FPLEFRB2 |  | 345 |  | NORTH |  |
| 34 |  | GIBCRK |  | 345 |  | 967 |  | GIBCRK B |  | 345 |  | NORTH |  |
| 35 |  | HKBRY |  | 345 |  | 2387 |  | HACKBRY |  | 345 |  | NORTH |  |
| 36 |  | VLYRN |  | 345 |  | 2389 |  | IV VR |  | 345 |  | NORTH |  |
| 37 |  | JEWET |  | 345 |  | 3391 |  | JEWETT N |  | 345 |  | NORTH |  |
| 38 |  | JEWET |  | 345 |  | 3390 |  | JEWETT S |  | 345 |  | NORTH |  |

|  |  | ERCOT Operations |  |  |  | Steady State Working Group |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. |  | Station Mnemonic |  | kV |  | Bus Number |  | Name |  | kV |  | Trading Hub |  |
| 39 |  | KNEDL |  | 345 |  | 1932 |  | KENNDLE1 |  | 345 |  | NORTH |  |
| 40 |  | KLNSW |  | 345 |  | 3422 |  | KILL SS |  | 345 |  | NORTH |  |
| 41 |  | LCSES |  | 345 |  | 3409 |  | LAKE CRK |  | 345 |  | NORTH |  |
| 42 |  | LIGSW |  | 345 |  | 1916 |  | LIG2 T |  | 345 |  | NORTH |  |
| 43 |  | LEG |  | 345 |  | 46020 |  | LIMEST 5 |  | 345 |  | NORTH |  |
| 44 |  | LFKSW |  | 345 |  | 3117 |  | LUFKN SS |  | 345 |  | NORTH |  |
| 45 |  | LWSSW |  | 345 |  | 646 |  | LWSSWB |  | 345 |  | NORTH |  |
| 46 |  | MLSES |  | 345 |  | 3100 |  | MARTINLK |  | 345 |  | NORTH |  |
| 47 |  | MCCREE |  | 345 |  | 833 |  | MCCREE B |  | 345 |  | NORTH |  |
| 48 |  | MDANP |  | 345 |  | 1939 |  | MELP S |  | 345 |  | NORTH |  |
| 49 |  | MDANP |  | 345 |  | 1936 |  | MELP56NO |  | 345 |  | NORTH |  |
| 50 |  | ENTPR |  | 345 |  | 3116 |  | MT ENTRP |  | 345 |  | NORTH |  |
| 51 |  | NCDSE |  | 345 |  | 3119 |  | NACOG SE |  | 345 |  | NORTH |  |
| 52 |  | NORSW |  | 345 |  | 2406 |  | NORWD |  | 345 |  | NORTH |  |
| 53 |  | NUCOR |  | 345 |  | 3396 |  | NUCOR |  | 345 |  | NORTH |  |
| 54 |  | PKRSW |  | 345 |  | 1436 |  | PARKER |  | 345 |  | NORTH |  |
| 55 |  | KMCHI |  | 345 |  | 11697 |  | PITTSBRG |  | 345 |  | NORTH |  |
| 56 |  | PTENN |  | 345 |  | 2522 |  | PL TEN |  | 345 |  | NORTH |  |
| 57 |  | RENSW |  | 345 |  | 2355 |  | RENERTPL |  | 345 |  | NORTH |  |
| 58 |  | RCHBR |  | 345 |  | 3133 |  | RICHLND1 |  | 345 |  | NORTH |  |
| 59 |  | RCHBR |  | 345 |  | 3134 |  | RICHLND2 |  | 345 |  | NORTH |  |
| 60 |  | RNKSW |  | 345 |  | 1853 |  | ROANOKE |  | 345 |  | NORTH |  |
| 61 |  | RKCRK |  | 345 |  | 1880 |  | ROCKY CK |  | 345 |  | NORTH |  |
| 62 |  | RYSSW |  | 345 |  | 2461 |  | ROYSE S |  | 345 |  | NORTH |  |
| 63 |  | SGVSW |  | 345 |  | 2433 |  | SGVL SS |  | 345 |  | NORTH |  |
| 64 |  | SHBSW |  | 345 |  | 3103 |  | SHAMBRGR |  | 345 |  | NORTH |  |
| 65 |  | SHRSW |  | 345 |  | 1918 |  | SHERRY |  | 345 |  | NORTH |  |
| 66 |  | SHRTP |  | 345 |  | 1917 |  | SHERRY T |  | 345 |  | NORTH |  |
| 67 |  | SCSES |  | 345 |  | 3109 |  | STRYKER |  | 345 |  | NORTH |  |
| 68 |  | SYCRK |  | 345 |  | 1935 |  | SYCMR CK |  | 345 |  | NORTH |  |
| 69 |  | THSES |  | 345 |  | 3405 |  | T HOUSE |  | 345 |  | NORTH |  |
| 70 |  | TMPSW |  | 345 |  | 3413 |  | TEMPSSLT |  | 345 |  | NORTH |  |
| 71 |  | TNP_ONE |  | 345 |  | 39950 |  | TNP ONE |  | 345 |  | NORTH |  |
| 72 |  | TRCNR |  | 345 |  | 2432 |  | TRICORN |  | 345 |  | NORTH |  |
| 73 |  | TRSES |  | 345 |  | 3123 |  | TRINDAD1 |  | 345 |  | NORTH |  |
| 74 |  | TRSES |  | 345 |  | 3124 |  | TRINDAD2 |  | 345 |  | NORTH |  |
| 75 |  | TOKSW |  | 345 |  | 3400 |  | TWIN OAK |  | 345 |  | NORTH |  |
| 76 |  | VENSW |  | 345 |  | 1907 |  | VENUS N |  | 345 |  | NORTH |  |
| 77 |  | VENSW |  | 345 |  | 1906 |  | VENUS S |  | 345 |  | NORTH |  |

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 78 | WLVEE | 345 | 2398 | W LEVEE | 345 | NORTH |
| 79 | W_DENT | 345 | 988 | W.DENT B | 345 | NORTH |
| 80 | WTRML | 345 | 2427 | WATMILLW | 345 | NORTH |
| 81 | WCSWS | 345 | 1434 | WCPC | 345 | NORTH |
| 82 | WEBB | 345 | 1911 | WEBB 1 | 345 | NORTH |
| 83 | WHTNY | 345 | 240 | WHITNEY | 345 | NORTH |
| 84 | WCPP | 345 | 1421 | WILLOWCK | 345 | NORTH |

(2)	Until superceded by implementation of a different market design for the ERCOT market (e.g., a nodal market design), the North 345 kV Trading Hub Price shall consist of a 10% weighting applied to the bus prices for each interval of buses 1-9 shown in Section 7.9.2.1 (1) (i.e., those 345 kV buses located in the 2004 Northeast Congestion Zone) and a 90% weighting applied to the bus prices for each interval of buses 10-84 shown in Section 7.9.2.1 (1).

7.9.2.2	South 345 kV Trading Hub

(1)	The South 345 kV Trading Hub is composed of the following Transmission Buses:

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 1 | AUSTRO | 345 | 7040 | AUSTRO34 | 345 | SOUTH |
| 2 | BLESSING | 345 | 8123 | BLESSNG6 | 345 | SOUTH |
| 3 | CAGNON | 345 | 5056 | CAGNON | 345 | SOUTH |
| 4 | COLETO | 345 | 8164 | COLETO 6 | 345 | SOUTH |
| 5 | CLEASP | 345 | 7050 | CRLSPG34 | 345 | SOUTH |
| 6 | NEDIN | 345 | 8383 | EDNBRG 6 | 345 | SOUTH |
| 7 | FAYETT | 345 | 7057 | FAYETT34 | 345 | SOUTH |
| 8 | FPPYD1 | 345 | 7056 | FPPYD134 | 345 | SOUTH |
| 9 | FPPYD2 | 345 | 7055 | FPPYD234 | 345 | SOUTH |
| 10 | GARFIE | 345 | 7048 | GARFIE34 | 345 | SOUTH |
| 11 | GUADG | 345 | 7047 | GPP | 345 | SOUTH |
| 12 | HAYSEN | 345 | 7043 | HAYSN 34 | 345 | SOUTH |
| 13 | HILLCTRY | 345 | 5211 | HILL CTY | 345 | SOUTH |
| 14 | HOLMAN | 345 | 9073 | HOLMAN | 345 | SOUTH |
| 15 | KENDAL | 345 | 7046 | KENDAL34 | 345 | SOUTH |
| 16 | LA_PALMA | 345 | 8317 | LAPALM 6 | 345 | SOUTH |
| 17 | LON_HILL | 345 | 8455 | LNHILL 6 | 345 | SOUTH |
| 18 | LOSTPI | 345 | 7041 | LOSTPN34 | 345 | SOUTH |
| 19 | LYTTON_S | 345 | 9074 | LYTTON | 345 | SOUTH |
| 20 | MARION | 345 | 7044 | MARION34 | 345 | SOUTH |
| 21 | PAWNEE | 345 | 5725 | PAWNESW6 | 345 | SOUTH |
| 22 | RIOHONDO | 345 | 8318 | RIOHND 6 | 345 | SOUTH |

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 23 | RIONOG | 345 | 7051 | RIONO 34 | 345 | SOUTH |
| 24 | SALEM | 345 | 7058 | SALEM 34 | 345 | SOUTH |
| 25 | SDSES | 345 | 3429 | SANDOW | 345 | SOUTH |
| 26 | SANMIGL | 345 | 52 | SANMIGEL | 345 | SOUTH |
| 27 | SKYLINE | 345 | 5371 | SKYLINE | 345 | SOUTH |
| 28 | STP | 345 | 5915 | SO TEX 5 | 345 | SOUTH |
| 29 | CALAVERS | 345 | 5400 | SPRUCE | 345 | SOUTH |
| 30 | BRAUNIG | 345 | 5475 | VON ROSE | 345 | SOUTH |
| 31 | WHITEPT | 345 | 8956 | WHITEPT | 345 | SOUTH |
| 32 | ZORN | 345 | 7042 | ZORN 34 | 345 | SOUTH |
| 33 | ZORN | 345 | 7045 | ZORN 34 | 345 | SOUTH |

(2)	The South 345 kV Trading Hub Price is the simple average of the bus prices in each interval for each bus included in this Trading Hub.

7.9.2.3	Houston 345 kV Trading Hub

(1)	The Houston 345 kV Trading Hub is composed of the following listed transmission buses:

|  |  | ERCOT Operations |  |  |  | Steady State Working Group |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. |  | Station Mnemonic |  | kV |  | Bus Number |  | Name |  | kV |  | Trading Hub |  |
| 1 |  | ADK |  | 345 |  | 45600 |  | ADICKS 5 |  | 345 |  | HOUSTON |  |
| 2 |  | _BI |  | 345 |  | 47000 |  | BELAIR 5 |  | 345 |  | HOUSTON |  |
| 3 |  | CBY |  | 345 |  | 40000 |  | CEDARP 5 |  | 345 |  | HOUSTON |  |
| 4 |  | CTR |  | 345 |  | 40240 |  | CENTER |  | 345 |  | HOUSTON |  |
| 5 |  | CHB |  | 345 |  | 40255 |  | CHAMBR 5 |  | 345 |  | HOUSTON |  |
| 6 |  | DPW |  | 345 |  | 40450 |  | DEPWTR 5 |  | 345 |  | HOUSTON |  |
| 7 |  | DOW |  | 345 |  | 42500 |  | DOW345 5 |  | 345 |  | HOUSTON |  |
| 8 |  | RNS |  | 345 |  | 40600 |  | FRONTR |  | 345 |  | HOUSTON |  |
| 9 |  | GBY |  | 345 |  | 40700 |  | GRNBYU 5 |  | 345 |  | HOUSTON |  |
| 10 |  | _JN |  | 345 |  | 47300 |  | JENETA 5 |  | 345 |  | HOUSTON |  |
| 11 |  | _KG |  | 345 |  | 40900 |  | KING 5 |  | 345 |  | HOUSTON |  |
| 12 |  | KDL |  | 345 |  | 45972 |  | KUYDAL 5 |  | 345 |  | HOUSTON |  |
| 13 |  | _NB |  | 345 |  | 46100 |  | N_BELT 5 |  | 345 |  | HOUSTON |  |
| 14 |  | _OB |  | 345 |  | 44500 |  | OBRIEN 5 |  | 345 |  | HOUSTON |  |
| 15 |  | PHR |  | 345 |  | 42000 |  | P_H_R_ 5 |  | 345 |  | HOUSTON |  |
| 16 |  | SDN |  | 345 |  | 41430 |  | SHELDN 5 |  | 345 |  | HOUSTON |  |
| 17 |  | SMITHERS |  | 345 |  | 44650 |  | SMTHRS 5 |  | 345 |  | HOUSTON |  |
| 18 |  | THW |  | 345 |  | 45500 |  | T_H_W_ 5 |  | 345 |  | HOUSTON |  |
| 19 |  | WAP |  | 345 |  | 44000 |  | W_A_P_ 5 |  | 345 |  | HOUSTON |  |
| 20 |  | _WO |  | 345 |  | 46600 |  | WHITOK 5 |  | 345 |  | HOUSTON |  |

(2)	The Houston 345 kV Trading Hub Price is the simple average of the bus prices in each interval for each bus included in this Trading Hub.

7.9.2.4	West 345 kV Trading Hub

(1)	The West 345 kV Trading Hub is composed of the following listed transmission buses:

|  | ERCOT Operations |  | Steady State Working Group |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Trading Hub |
| 1 | ABMB | 345 | 6230 | ABMULCE7 | 345 | WEST |
| 2 | BOMSW | 345 | 1422 | BOWMAN | 345 | WEST |
| 3 | OECCS | 345 | 1020 | EHV TIET | 345 | WEST |
| 4 | BTRCK | 345 | 1050 | ENRONIPP | 345 | WEST |
| 5 | FSHSW | 345 | 1425 | FISHRDSS | 345 | WEST |
| 6 | FLCNS | 345 | 1025 | FS COGEN | 345 | WEST |
| 7 | GRSES | 345 | 1430 | GRAHAM | 345 | WEST |
| 8 | JCKSW | 345 | 1429 | JXBRO SS | 345 | WEST |
| 9 | MDLNE | 345 | 1021 | MIDL E T | 345 | WEST |
| 10 | MOSSW | 345 | 1018 | MOSS | 345 | WEST |
| 11 | MGSES | 345 | 1030 | MRGN CRK | 345 | WEST |
| 12 | DCTM | 345 | 6096 | NORTHDC7 | 345 | WEST |
| 13 | ODEHV | 345 | 1026 | ODES EHV | 345 | WEST |
| 14 | OKLA | 345 | 6100 | OKLAEHV7 | 345 | WEST |
| 15 | SARC | 345 | 6444 | SAREDCK7 | 345 | WEST |
| 16 | SWCOG | 345 | 1420 | SWEETWTR | 345 | WEST |
| 17 | TWINBUTE | 345 | 6009 | TWBT7 | 345 | WEST |

(2)	The West 345 kV Trading Hub Price is the simple average of the bus prices in each interval for each bus included in this Trading Hub.

7.9.2.5	ERCOT Hub Average 345 kV Trading Hub

The ERCOT Hub Average 345 kV Trading Hub Price is the simple average of the North 345 kV Trading Hub Price, South 345 kV Trading Hub Price, Houston 345 kV Trading Hub Price, and West 345 kV Trading Hub Price.

7.9.2.6	ERCOT Bus Average 345 kV Trading Hub

(1)	The ERCOT Bus Average 345 kV Trading Hub is composed of the buses listed in Section 7.9.2.1, the North 345 kV Trading Hub, Section 7.9.2.2, the South 345 kV Trading Hub, Section 7.9.2.3, the Houston 345 kV Trading Hub and Section 7.9.2.4, the West 345 kV Trading Hub.

(2)	Until superseded by implementation of a different market design for the ERCOT market (e.g., a nodal market design), the ERCOT Bus Average 345 kV Trading Hub Price for each interval shall consist of a 55% weighting applied to the North 345 kV Trading Hub price, a 21% weighting applied to the South 345 kV Trading Hub price, a 13% weighting applied to the Houston 345 kV Trading Hub price, and a 11% weighting applied to the West 345 kV Trading Hub price.

7.9.3	ERCOT Responsibilities

7.9.3.1	Posting of a List of Buses included in Trading Hubs

(1)	ERCOT shall post a list of all the buses included in each ERCOT Trading Hub on the public MIS.  The list must include the bus name and kV rating as used by ERCOT Operations, the bus number, bus name and kV rating as used in the Steady State Working Group (SSWG) base cases, and the Congestion Zone that the bus is assigned to.

(2)	ERCOT shall update the list of buses included in each ERCOT Trading Hub as soon as possible whenever a new Trading Hub is created under this Section 7.9 or when affected Transmission Buses are renamed in either the ERCOT Operations model or the SSWG model.

7.9.3.2	Calculation of Trading Hub Prices

ERCOT shall calculate Trading Hub Prices for each Settlement Interval. The bus price for each Transmission Bus for each Settlement Interval is the Market Clearing Price at that bus as determined elsewhere in these Protocols for that Settlement Interval.

7.9.3.3	Posting of Trading Hub Prices

ERCOT shall post the Trading Hub Prices for each ERCOT Trading Hub for each Settlement Interval as soon as practicable on the public MIS.

7.9.3.4	Scheduling of Transactions Using ERCOT Trading Hubs

(1)	Until ERCOT’s scheduling system is updated to automatically convert transactions involving Trading Hubs into transactions involving Congestion management zones, QSEs having any transaction involving an ERCOT Trading Hub shall convert each such transaction to one that can be expressed as a scheduled transaction between existing Congestion Management zones.

(2)	The scheduling increment allowed for converted transactions described in Section 7.9.3.4 item (1) must be multiples of the following amounts:

(a)	North 345 kV Trading Hub = 10 MW

(b)	South 345 kV Trading Hub = 1 MW

(c)	Houston 345 kV Trading Hub = 1 MW

(d)	West 345 kV Trading Hub = 1 MW

(e)	ERCOT Hub Average 345 kV Trading Hub = 40 MW

(f)	ERCOT Bus Average 345 kV Trading Hub = 200 MW