PRS acted upon the following PRRs and presents them to the TAC for consideration:

# PRRs Recommended for Approval:

The following PRRs were approved by PRS and are recommended to the TAC for approval:

- PRR525 - SCE Performance and Monitoring.  Budgetary impact 5-L ($100,000 – 500,000); manual production of  report would increase Compliance workload that can be absorbed by current staffing levels until report is automated; impacts to ERCOT systems to automate reports; no impact to ERCOT business functions; no impact to grid operations. This PRR was posted on 06/10/04.  At its July meeting, PRS voted to remand PRR525 to WMS for clarification.  At its 12/3/04 meeting, WMS voted to recommend PRR525 with the methodology proposed by Austin Energy.  PRS reviewed PRR525 at its 1/20/05 meeting and voted to recommend approval as clarified by WMS and revised by PRS.  There were two abstentions from the Independent Power Marketer segments; all market segments were present.  PRS reviewed ERCOT’s impact analysis at its February meeting and will assign a project priority at its March meeting.  ERCOT credit staff and the CWG have reviewed PRR525 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR557 – Late Fees and Late Fee Recovery.  No budgetary impact; staffing impact dependent on the frequency of events; no impact to ERCOT computer systems; no impact to ERCOT business functions; no impact to grid operations.  This PRR clarifies how late fees are calculated and distributed.  ERCOT posted this PRR on 11/23/04 in response to discussion at the 11/19/04 PRS meeting.  PRS reviewed PRR557 at its 1/20/05 meeting and voted, 71.4% in favor and 28.6% against, to recommend approval as revised by comments from Green Mountain.  The opposing votes were from the Coop, Independent Generator, and Independent Power Marketer segments; members from the Municipal and IOU segments abstained.  PRS reviewed ERCOT’s impact analysis at its February meeting.  ERCOT credit staff and the CWG have reviewed PRR557 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR558 - Market Notice of LaaR Proration.  Budgetary impact 5-L ($100,000-500,000); no impact to ERCOT staffing; impacts to EMMS database and the Enterprise Data Warehouse (EDW); no impact to ERCOT business functions or grid operations. This PRR allows market participants to be notified when LaaR awards for Responsive Reserve are prorated by ERCOT.  ERCOT posted this PRR on 11/23/04.  PRS reviewed PRR558 at its 1/20/05 meeting and unanimously voted to recommend approval as submitted.  PRS reviewed ERCOT’s impact analysis at its February meeting and will assign a project priority at its March meeting.  ERCOT credit staff and the CWG have reviewed PRR558 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR559 - Regulation E10 Update and SCPS1/SCPS2 References.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT computer systems; no impact to ERCOT business functions or grid operations.  This PRR changes the value of the E10 constant in the formula for regulation services monitoring criteria to the current value being used and adds references naming the SCPS1 and SCPS2 variables as they are commonly referred to.  ERCOT posted this PRR on 11/23/04.  PRS reviewed PRR559 at its 1/20/05 meeting and unanimously voted to recommend approval as submitted.  PRS reviewed ERCOT’s impact analysis at its February meeting.  ERCOT credit staff and the CWG have reviewed PRR559 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR560 - QSE Qualification Using LaaRs.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT computer systems; no impact to ERCOT business functions or grid operations.  This PRR adds language describing how a QSE can qualify to provide Ancillary Services by using only LaaR Resources.  ERCOT posted this PRR on 11/23/04.  PRS reviewed PRR560 at its 1/20/05 meeting and voted to recommend approval as submitted with two abstentions from the Independent Generator and Consumer segments. PRS reviewed ERCOT’s impact analysis at its February meeting.  ERCOT credit staff and the CWG have reviewed PRR560 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR561 - Remove Nuclear and Hydroelectric Generators from Automatic Deployment Software.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT computer systems, ERCOT will alter a manual workaround currently in place; no impact to ERCOT business functions or grid operations. This PRR directs ERCOT to remove Nuclear and Hydro Electric generation from any software driven automatic solution to resolve congestion.  ERCOT, however, retains the right to provide verbal dispatch instructions during an ERCOT emergency when it is deemed that the Hydro or Nuclear unit in question is uniquely qualified to resolve the problem.  ERCOT posted this PRR on 12/9/04.  PRS reviewed PRR561 at its 1/20/05 meeting and voted to recommend approval as revised by ERCOT comments.  There was one opposing vote (Independent Power Marketer segment) and five abstentions (Independent Power Marketer, MOU, Consumer segments).  PRS reviewed ERCOT’s impact analysis at its February meeting.  ERCOT credit staff and the CWG have reviewed PRR561 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR563 – Standard Form Blackstart Agreement – Payment.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT computer systems; no impact to ERCOT business functions or grid operations.  This PRR makes the language in Section 22A, Standard Form Black Start Agreement consistent with the changes implemented by PRR487 (Black Start Resources).  ERCOT posted this PRR on 12/17/04.  PRS reviewed PRR561 at its 1/20/05 meeting and voted unanimously to recommend approval as revised by TXU comments.  PRS reviewed ERCOT’s impact analysis at its February meeting.  ERCOT credit staff and the CWG have reviewed PRR563 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR573 – Mothballed Generation Resource Definition and Time to Service Updates – URGENT.  No budgetary impact; negligible impact to ERCOT staffing; no impact to ERCOT computer systems; small impact ERCOT business functions; no impact to grid operations.    This PRR defines mothballed units and requires the responsible Generation Entity to report to ERCOT the estimated lead time required for each Mothballed Generation Resource to be capable of returning to service.  The PRR also allows for such information to be considered Protected Information.  PRS voted via email to consider PRR573 on an urgent basis.  PRS considered the PRR, and its impacts to the market and ERCOT, during its February meeting.  PRS voted to recommend approval with one member from the IOU segment. ERCOT credit staff and the CWG have reviewed PRR573 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

# Pending PRRs:

The following PRRs are pending and the current status is explained below:

- PRR356 – SCE Performance Requirement. This PRR was remanded by PRS to a WMS and ROS Task Force on 09/25/03.

- PRR358 – Negative Impact SCE.  This PRR will be considered along with PRR356 in the WMS and ROS Task Force review.

- PRR462 – Market Solution Definition.  This PRR was tabled with concurrence of the PUC until more progress is made by the stakeholders at WMS and PRS concerning Market Solution.

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  PRS remanded this PRR to RMS in November.  Based on a request by the submitter, RMS recommended deferral of consideration of PRR472.

- PRR476 - Ramp Rate Adherence During Local Congestion.  PRS recommended approval this PRR on 5/21/04; TAC approved it on 6/3/04.  On 6/15/04, the Board remanded PRR476 back to the TAC for the development of a cost estimate, noting that there is more than one way to implement the PRR and that further direction from the stakeholders is needed.  On 7/8/04, TAC remanded PRR476 to the PRS with instructions that the WMS is to further define how PRR476 should be implemented.

- PRR539 – OOMC Claw Back Correction.  This PRR was posted on 9/1/04.  At its September meeting, PRS voted to remand PRR539 to WMS for additional review.

- PRR541 – Regulation Deployment Ramp Rate.  This PRR was posted on 9/1/04.  PRS voted to remand PRR541 to WMS at its September meeting.

- PRR543 – Schedules and Emergency Assistance Over CFE-ERCOT DC Ties.  ERCOT posted this PRR on 9/14/04.  PRS discussed PRR543 at its October meeting and tabled it pending further discussions with Commission Federal de Electricidad (CFE) and final development.  The ERCOT CWG has reviewed PRR 543 and notes that credit risk exists to the extent energy flows to CFE from the ERCOT System as a result of the proposed Agreement.  See CWG comments dated 10/19/04 for details.

- PRR549 - Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November meeting, PRS remanded the PRR to ROS.

- PRR553 - Scheduling Trading Hubs.  Remanded by TAC on 1/6/05 to PRS, to be remanded to WMS to further review its impacts and determine the necessity of implementing this PRR before the possible implementation of a nodal market (TNT).

- PRR555 – Modify Number of Sub-QSEs a Single Entity Can Partition.  ERCOT posted this PRR on 11/9/04.  At its December meeting, PRS requested that ERCOT complete a detailed impact analysis for PRS review.  At its January meeting PRS discussed data provided by ERCOT and requested that additional information be provided for its February meeting.  PRS reviewed more information from ERCOT on 2/17/05; the sponsor requested the opportunity to redraft a portion of the PRR for PRS consideration in March.

- PRR564 – Clarification of OOME Definition. ERCOT posted this PRR on 12/17/04.  PRS deferred action on PRR564 to its February meeting.  PRS discussed the PRR during its February meeting; the sponsor agreed to redraft the PRR for PRS consideration in March.

- PRR565 – Calculation of Losses for Settlement. ERCOT posted this PRR on 12/22/04.  PRS reviewed and unanimously voted to recommend approval of the PRR as submitted during its February meeting.  PRS will review ERCOT’s Impact Analysis at its March meeting.

- PRR567 - Block Bidding of Ancillary Services.  ERCOT posted this PRR on 1/19/05.  PRS reviewed the PRR during its February meeting.  The submitter requested deferral until the March PRS meeting.

- PRR568 - Change Initial Settlement from 17 days to 10 days.   ERCOT posted this PRR on 1/19/05.  PRS remanded PRR568 to COPS on 2/17/05.

- PRR569 – Revision to Balancing Energy Payments from a Specific Resource.  ERCOT posted this PRR on 1/21/05.  PRS reviewed and voted to recommend approval (with one member of the REP segment abstaining) of the PRR during its February meeting.  PRS will review ERCOT’s Impact Analysis at its March meeting.

- PRR570 - Clarification of Settlements of Local Congestion Costs.  ERCOT posted this PRR on 1/21/05.  PRS reviewed and unanimously voted to recommend approval of the PRR during its February meeting.  PRS will review ERCOT’s Impact Analysis at its March meeting.

- PRR571 - Balancing Energy Bid Cap.  ERCOT posted this PRR on 1/21/05.  PRS reviewed and unanimously voted to recommend approval of the PRR during its February meeting.  PRS will review ERCOT’s Impact Analysis at its March meeting.

- PRR572 - Weather Sensitivity Classification.  ERCOT posted this PRR on 2/9/05.  It is on a normal timeline and PRS will review it during its March meeting.

- PRR574 - Specify Effective Date for PRRs.  ERCOT posted this PRR on 2/11/05.  It is on a normal timeline and PRS will review it during its March meeting.

- PRR575 – Mandatory Down Balancing Ramp Rate.  ERCOT posted this PRR on 2/11/05.  It is on a normal timeline and PRS will review it during its March meeting.