## Sheet1
Contingency Short Name | Overloaded Element Short Name | Contingency Full Name | Overloaded Element Full Name
BIGRIC5 | KLESEA8 | BIG BROWN SES-RICHLAND CHAMBER 345kv | Kleberg Tap - Seagoville 138kV line
AUSSAN5 | AUS_T | Asutrop - Sandow double 345kV lines | Austrop Transformer #1 or #2
HEIFRE8 | PHRHEI8 | Heights - Freeway Park 138kv | PH Roberson-Heights 138kv
CSMZ5 | SMMCQ8 | Clear Springs & Marion - Zorn 345kv | Structural Metals Inc - McQueeney 138kV line
UVAHAM8 | ASHWC8 | Uvalde - Hamilton 138kv | Asherton - West Conoco 138kv
GCTO5 | JEWWAT8 | Gibbons Creek - Twin Oak 345kv | Jewett - Watson Chapel 138kV line