## Slide 1: Shadow Price Cap & Averaging Shift Factors
Market Operations Support
ERCOT
March 1, 2005

## Slide 2
Contents
Background
  Issue - Inefficient Deployment of BES
  Proposed Methods
Study
  “Special” Cases
  One Month Cases
Study Results
Implementation

## Slide 3
Background
Issue: Inefficient BES deployments when resolving zonal congestion
2 proposed methods to reduce inefficient deployments :
  Averaging of similar shift factors
  Shadow Price Cap
History:
  Averaging Shift Factor method: Oct 2004 WMS
  Shadow Price Cap method: Jan 2005 WMS
  2 proposals: Nov 2004 ORG
ERCOT
  To study 2 proposals;
  To present results in detail at ORG and WMS.

## Slide 4
Recall 1 - Shadow Price Cap
Determine value of shadow price cap
Set penalty factor of constraint violation = shadow price cap
  For CSC, the cap acts as system’s stopping point
Shadow price cap (penalty factor) | Current ($) | Proposed ($)
Portfolio Ramp Rate | 75,000 | 1,001
OC3 (contingency) | 250,000 | 3,000
OC2 | 500,000 | 3,000
OC1 (CSC) | 750,000 | 4,500
OC3 (base case) | 1,000,000 | 100,000
Power Balance | 5,000,000 | 5,000,000

## Slide 5: Recall 2 – Averaging Shift Factor
1. Find the zones where the Shift Factor difference for a CSC is less than or equal to 0.02 (or other value);
2. Reset the Shift Factor to the average value for each applicable zone;
3. Adjust the CSC limit.

## Slide 6
ERCOT Study
Run production cases (a) using proposed Shadow Price Caps (b) using averaged shift factors
  All intervals with violation (price administration) and CSC Congestion (after R3)
    44 Cases from June 2, 2004 to Dec 31, 2004
  All intervals with CSC shadow price > $1000
    10 Cases from June 2, 2004 to Dec 31, 2004
  All intervals of one month (Sept. 2004)
    2879 Cases of September 2004
Compare study results with production results

## Slide 7: Special Case Result – 1: BES Deployment
 | # Intervals | Original BES (MW) | SP cap |  | Group SF | 
 |  |  | BES (MW) | Diff. (%) | BES (MW) | Diff. (%)
Violation & CSC congestion | 44 | 3751 | 3315.6 | 11.8 | 3440.1 | 8.5
SP > $1000 | 10 | 2677.2 | 2583.9 | 3.5 | 2591.7 | 3.2
Average change of BES Deployment

## Slide 8: Continued
BES deployment change distribution
 | Violation &CSC Cong. |  | SP > 1000 | 
BES Decrease | SP Cap | Avg SF | SP Cap | Avg SF
>20 | 9 | 7 | 0 | 1
2% to 20 % | 9 | 5 | 2 | 1
-2% to 2% | 25 | 28 | 8 | 8
<-2% | 1 | 4 | 0 | 0

## Slide 9
Special Case Results – 2: CSC Shadow Price
Average change of CSC Shadow Price
 | # Intervals | Original CSC SP ($/MW) | SP cap |  | Group SF | 
 |  |  | SP ($/MW) | Diff. (%) | SP ($/MW) | Diff. (%)
Violation & CSC congestion | 44 | 611.7 | 456.0 | 25.5 | 462.9 | 24.3
SP > $1000 | 10 | 1480.3 | 991.7 | 33.0 | 908.7 | 38.6

## Slide 10
Special Case Results – 3: BES Deployment Cost
Average change of BES deployment Cost
 | # Intervals | Original ($) | SP cap |  | Group SF | 
 |  |  | BES ($) | Diff. (%) | BES ($) | Diff. (%)
Violation & CSC congestion | 44 | 18,720.8 | 11,184.3 | 40.25 | 11,123 | 40.58
SP > $1000 | 10 | 51,402.5 | 44,406 | 13.6 | 43,803.8 | 14.8

## Slide 11: Sep 2004 cases
# of intervals | description
226 | CSC congestion
1068 | Local congestion
14 | *09/06 Local violation (deploy Nuclear units for local congestion)
1825 | No congestion

## Slide 12: BES Deployment
 | # Intervals | Original BES (MW) | SP cap |  | Group SF | 
 |  |  | BES (MW) | Diff. (%) | BES (MW) | Diff. (%)
CSC cong. | 226 | 2865.6 | 2865.6 | -0.0 | 2870.9 | -0.2
Local cong. | 1068 | 3056.7 | 3033.8 | 0.8 | 3058.1 | -0.0
*09/06 Local V. | 14 | 5168.5 | 3677.5 | 28.8 | 5168.5 | 0
No cong. | 1825 | 1921.2 | 1921.2 | 0 | 1921.2 | 0
Sep. 2004 | 2879 | 2301.6 | 2293.7 | 0.34 | 2301.9 | -0.016

## Slide 13
Study Conclusions
With both proposals, there is a great decrease in BES deployment for those intervals with inefficient BES deployment for CSC congestion.
Both proposed methods have small impact on all other intervals.

## Slide 14
Implementation Choices
Shadow Price Cap only;
Grouping Shift Factor only;
Both Shadow Price Cap and Grouping Shift Factor.

## Slide 15
Proposals | Pros. | Cons.
1. Grouping shift factors | 1. A great decrease in BES inefficient deployment; 2. Small impact on all other intervals; 3. Not require a system change; 4. No implementation cost. | 1. Several more MW calculated CSC violation; 2. Affect the value of TCR.
2. shadow price cap | 1. Decrease inefficient deployment; 2. No impact to other intervals; 3. Not require a system change; 4. No implementation cost; 5. Price Admin process may not be necessary. | 1. Need to determine the Cap points for all of them; 2. Affect the value of TCR; 3. Several more MW calculated CSC violation.
3. Both |  | 

## Slide 16
Implementation – Shadow Price Cap
ERCOT set the Shadow Price Cap.
The BES deployment will stop at a set point.
This proposed method does not require a system change.

## Slide 17: Example
Interval: 02/16/2005 15:00
CSC Congestion: North-Houston
CSC limit: 910 MW;
Shadow Price: 4579.7 $/MW
Local Congestion: Gibbons Creek – Twin Oak SW 345KV (Violation)

## Slide 18: BES Deployment and MCPE
Zone | SF* | UBES (MW) | DBES (MW) | MCPE Final ($/MWh)
Houston | -0.3636 | 1291 | 0 | 1713.92
North | 0.0049 | 182 | 1523 | 26.3
Northeast | 0.003 | 0 | 85 | 35
South | -0.2182 | 511 | 0 | 1048.03
West | -0.016 | 402 | 0 | 122.02
 |  | UBES | DBES | 
Total |  | 2386 | 1608 | 
*Subject to N-H congestion

## Slide 19: Result of Shadow Price Cap
 | Original |  |  | Shadow Price Cap |  |  | 
Zone | UBES (MW) | DBES (MW) | MCPE ($/MW) | UBES (MW) | DBES (MW) | MCPE ($/MWh) | 
 |  |  |  |  |  | With PA | No PA
Houston | 1291 | 0 | 1713.92 | 1291 | 0 | 210.68 | 1680.89
North | 182 | 1523 | 26.3 | 182 | 1254 | 26.3 | 22.64
Northeast | 0 | 85 | 35 | 0 | 265 | 33.6 | 31.19
South | 511 | 0 | 1048.03 | 511 | 0 | 175 | 1026.59
West | 402 | 0 | 122.02 | 313 | 0 | 116.69 | 116.69
 | UBES | DBES |  | UBES | DBES |  | 
Total | 2386 | 1608 |  | 2297 | 1519 |  | 

## Slide 20: CSC Shadow price
 | Original ($/MW) | Shadow Price Cap ($/MW) | 
 |  | With PA | No PA
Shadow Price Of CSC N-H | 4579.7 | 500.4 | 4500

## Slide 21
Modifying Shift Factor in Example
Zone | Original | Modified
 | Shift factor | Shift Factor
Houston | -0.3636 | -0.3636
North | 0.0049 | -0.0027
Northeast | 0.003 | -0.0027
South | -0.2182 | -0.2182
West | -0.016 | -0.0027
*N-H congestion

## Slide 22: Result of Averaging Shift Factor
 | Original |  |  | Averaging Shift Factor |  | 
Zone | UBES (MW) | DBES (MW) | MCPE ($/MW) | UBES (MW) | DBES (MW) | MCPE ($/MW)
Houston | 1291 | 0 | 1713.92 | 1291 | 0 | 210.68
North | 182 | 1523 | 26.3 | 254 | 1401 | 52.84
Northeast | 0 | 85 | 35 | 11 | 0 | 57.71
South | 511 | 0 | 1048.03 | 511 | 0 | 175
West | 402 | 0 | 122.02 | 112 | 0 | 51.69
 | UBES | DBES |  | UBES | DBES | 
Total | 2386 | 1608 |  | 2179 | 1401 | 

## Slide 23: Results – Comparing with original
02/16/2005 15:00 | BES Deployment decrease | 
 | (MW) | (%)
SP Cap | 178 | 4.46
Group SF | 414 | 10.37

## Slide 24
Calculated flow increases
02/16/2005 15:00 | Calculated Flow Violation | 
 | (MW) | (%)
Original | 0 | 0
SP Cap | 2 | 0.2
Group SF | 15 | 1.6

## Slide 25
Questions

## Slide 26
Thank you!

## Slide 27: Feb 16, 2005, 15:00
 | Original |  |  | Shadow Price Cap (4500) |  |  | Shadow Price Cap (3000) |  | 
Zone | UBES (MW) | DBES (MW) | MCPE ($/MW) | UBES (MW) | DBES (MW) | MCPE ($/MW) No PA | UBES (MW) | DBES (MW) | MCPE ($/MW) No PA
Houston | 1291 | 0 | 1713.92 | 1291 | 0 | 1680.89 | 1291 | 0 | 1133.4
North | 182 | 1523 | 26.3 | 182 | 1254 | 22.64 | 182 | 1167.283 | 27.9
Northeast | 0 | 85 | 35 | 0 | 265 | 31.19 | 0 | 150.7167 | 33.6
South | 511 | 0 | 1048.03 | 511 | 0 | 1026.59 | 511 | 0 | 697.2
West | 402 | 0 | 122.02 | 313 | 0 | 116.69 | 112 | 0 | 90.6
 | UBES | DBES |  | UBES | DBES |  | UBES | DBES | 
Total | 2386 | 1608 |  | 2297 | 1519 |  | 2096 | 1318 | 

## Slide 28: Feb 16, 2005, 15:00
 | Shadow Price Cap (2500) |  |  | Shadow Price Cap (2000) |  |  | Shadow Price Cap (1500) |  | 
Zone | UBES (MW) | DBES (MW) | MCPE ($/MW) No PA | UBES (MW) | DBES (MW) | MCPE ($/MW) No PA | UBES (MW) | DBES (MW) | MCPE ($/MW) No PA
Houston | 1291 | 0 | 950.1 | 1291 | 0 | 766.8 | 1291 | 0 | 583.5
North | 182 | 1104 | 28.85 | 182 | 1104 | 29.8 | 182 | 1104 | 30.75
Northeast | 0 | 214 | 33.6 | 0 | 214 | 33.6 | 0 | 214 | 33.6
South | 511 | 0 | 586.6 | 511 | 0 | 476 | 511 | 0 | 365.4
West | 112 | 0 | 81.1 | 112 | 0 | 71.6 | 112 | 0 | 62.1
 | UBES | DBES |  | UBES | DBES |  | UBES | DBES | 
Total | 2096 | 1318 |  | 2096 | 1318 |  | 2096 | 1318 | 

## Slide 29
Calculated flow increases
02/16/2005 15:00 |  | Calculated Flow Violation | 
 |  | (MW) | (%)
Original |  | 0 | 0
SP Cap | 4500 CSC | 2 | 0.2
 | 3000 CSC | 6.2 | 0.7
 | 2500 CSC | 6.3 | 0.7
 | 2000 CSC | 6.3 | 0.7
 | 1500 CSC | 6.3 | 0.7