## Slide 1: Local Congestion Cost Analysis
Operations Review Group
Beth Garza
March 1, 2005

## Slide 2: Local Congestion Cost (LCC)
OOME Cost: Payment to specific resource that was instructed by operator manually or by computer generated instruction to resolve local congestion when no Market Solution exists
OOMC Cost: Payment to specific resource that did not plan to be on-line and was manually instructed by operator to start and run at minimum to resolve a reliability or security event
LBE Cost(2002 & 2003): Payment to specific resource that was instructed by computer generated instruction to resolve local congestion when Market Solution exists. Currently not in use
RMR Cost : Payment to unit operated under the terms of an Agreement with ERCOT that would not otherwise be operated except that they are necessary to provide voltage support, stability or management of localized transmission constraints

## Slide 3: Historical Local Congestion Cost
Notes: Year OOME OOMC LBE RMR Net Total
2002 60.955 78.313 33.933 32.425 205.626
2003 108.232 135.263 22.947 138.703 405.145
2004 74.384 78.482 0.000 120.886 273.751

## Slide 4: LCC by Local Area of Generator Location
Notes: 2002
Local Area OOME OOMC LBE RMR Total 2002
Austin 1.673 0.808 0.973 0.000 3.454
Corpus 4.199 2.912 5.052 9.776 21.938
DFW 7.327 49.055 1.127 0.000 57.509
Houston 1.183 0.000 -0.005 0.000 1.178
Laredo 2.577 5.068 0.539 4.014 12.198
North 12.365 1.948 9.725 0.000 24.038
San Antonio 0.958 0.460 0.989 0.000 2.407
South 6.523 0.006 4.580 0.000 11.109
Valley 8.415 10.522 3.888 11.583 34.407
West 4.171 7.536 6.633 7.053 25.392
Wind 11.563 0.000 0.432 0.000 11.995
total 60.955 78.313 33.933 32.425 205.626

## Slide 5: After EMMS Release 3(June 2nd, 2004)
Local congestion cost can be traced to specific constraint
Local congestion cost can be aggregated by local area of overloaded element

## Slide 6: OOME after EMMS Release 3 (06/02/04 - 12/31/04)
Notes: 200406 OOME generator Location
Local Area June July August September October November December OOME
Austin 0.128057 0.180446 0.080565 0.153941 0.093739 0.09839 0.20094 0.936079
Corpus 0.144437 0.006133 0.029452 0.002638 0.149501 6.24E-05 0.070145 0.402368
DFW 0.286774 0.645845 0.403331 0.051922 0.171649 0.000677 0.000119 1.560317
Houston 0.042555 0.022567 0.013009 0.320777 0.605158 0.27006 0.30679 1.580915
North 3.360895 2.357672 3.556522 2.055738 3.32053 0.371523 0.446935 15.46982
San Antonio 0.3079 0.274025 0.042522 0.30801 0.104696 0.38704 0.175115 1.599307
South 2.713631 2.339347 0.917109 0.63789 0.99152 0.727728 1.013859 9.341084
Valley 0.949149 1.671825 0.644787 1.088469 0.453371 0.583734 0.191291 5.582627
West 0.555682 0.07927 0.924517 0.15142 0.037985 0.283043 1.330045 3.361962
Wind 0.131231 0.2209 0.196922 0.156077 0.009124 0.021062 0 0.735316
40.56979
OOME
Local Area June July August September October November December OOME
Austin 1.192 1.602 0.602 0.331 0.371 0.301 0.930 5.330
Corpus 0.019 0.000 0.018 0.000 0.134 0.000 0.070 0.242
DFW 2.158 0.553 0.323 0.345 0.170 0.000 0.212 3.762
Houston 0.261 1.428 1.683 0.595 1.306 0.370 0.460 6.102
North 0.208 0.973 1.730 1.338 2.649 0.149 0.217 7.265
San Antonio 1.790 1.092 0.357 0.602 0.429 0.778 0.321 5.367
South 0.010 0.004 0.000 0.000 0.092 0.374 0.884 1.365
Valley 0.749 1.441 0.619 0.870 0.435 0.401 0.191 4.706
West 0.527 0.055 0.754 0.112 0.057 0.302 0.016 1.823
Wind 0.007 0.165 0.155 0.156 0.026 0.002 0.433 0.943
Unknown 1.700 0.485 0.568 0.576 0.268 0.067 0.001 3.665
40.569

## Slide 7: OOMC after EMMS Release 3 (06/02/04 - 12/31/04)
Notes: Generator Location
OOMC Local Area
0.113731 Austin
1.379362 Corpus
37.45389 DFW
0.082366 Houston
1.585083 North
0.311371 San Antonio
0.153843 South
2.366277 Valley
3.118699 West
0 Wind
46.56462
OOMC Local Area
0.176 Austin
1.379 Corpus
29.935 DFW
0.033 Houston
2.275 North
0.211 San Antonio
0.019 South
2.324 Valley
1.659 West
1.245 Wind
7.306 Unknown
46.565

## Slide 8: Outstanding Constraints for OOME
Contingency | Overloaded Element | October | November | December | Sub total | Local Area
BIGRIC5 | KLESEA8 | $1,436,536 | $89,974 | $0 | $1,526,510 | North
AUSSAN5 | AUS_T | $319,386 | $10,060 | $930,080 | $1,259,526 | Austin
HEIFRE8 | PHRHEI8 | $570,056 | $259,361 | $304,286 | $1,133,704 | Houston
CSMZ5 | SMMCQ8 | $63,333 | $788,570 | $97,675 | $949,578 | San Antonio
UVAHAM8 | ASHWC8 | $0 | $0 | $799,040 | $799,040 | South
GCTO5 | JEWWAT8 | $652,049 | $71,239 | $0 | $723,288 | Houston
Dictionary for Short Name of Contingency/Overloaded Element
Notes: Contingency Short Name Overloaded Element Short Name Contingency Full Name Overloaded Element Full Name
BIGRIC5 KLESEA8 BIG BROWN SES-RICHLAND CHAMBER 345kv Kleberg Tap - Seagoville 138kV line
AUSSAN5 AUS_T Asutrop - Sandow double 345kV lines Austrop Transformer #1 or #2
HEIFRE8 PHRHEI8 Heights - Freeway Park 138kv PH Roberson-Heights 138kv
CSMZ5 SMMCQ8 Clear Springs & Marion - Zorn 345kv Structural Metals Inc - McQueeney 138kV line
UVAHAM8 ASHWC8 Uvalde - Hamilton 138kv Asherton - West Conoco 138kv
GCTO5 JEWWAT8 Gibbons Creek - Twin Oak 345kv Jewett - Watson Chapel 138kV line

## Slide 9: Outstanding Constraints for OOMC
Contingency Name | October | November | December | Sub Total | Local Area
CALMONT SWITCH TO BENBROOK 138KV | $675,195 | $0 | $438,105 | $1,113,300 | DFW
DALLAS/FT.WORTH OUTAGES | $805,837 | $0 | $47,484 | $853,321 | DFW
RODD_FLD TO CABINISS C142 138 KV LINE | $0 | $0 | $733,735 | $733,735 | Corpus
GIBBON CRK-O'BRIEN &-ROANS PRAIRIE 138kV | $599,631 | $0 | $129,313 | $728,944 | North
ODEHV to ODESSA ON 6475_C 138 KV | $0 | $0 | $693,448 | $693,448 | West
WESTSIDE TO HOLLY4 | $514,297 | $0 | $0 | $514,297 | Corpus
WTRML TO TRSES | $512,260 | $0 | $0 | $512,260 | North
ODESSA EHV OUTAGE | $0 | $0 | $488,936 | $488,936 | West