DWG Report to ROS, March 2005

- The last DWG meeting was February 9-10, 2005.

- The next DWG meeting is scheduled for April 27-28 in Dallas at the TXU Mountain Creek offices.

- In response to the NERC Blackout Recommendation 12b, DWG recommends the following locations for installation of dynamic data recorders: Anna Switching Station, Jewett Switching Station, Odessa Switching Station, Monticello SES Switchyard, a 345 kV bus in Houston, and Fayette Power Plant.

- In response to an inquiry by Ken Donohoo, the DWG agreed to wait until the SSWG moved to PSS/E version 30 before making the move ourselves.

- Jose Conto of ERCOT agreed to develop the data for loads acting as reserve, which need to be added to the dynamics database, subject to ERCOT management approval.  A request for Jose to perform this work was made to Ken Donohoo on February 18 by the DWG Chair.

- The future case flat start was completed.

- Volunteers have agreed to work on the following items: 2005 flat start book, update ERCOT wind models and related activities, archiving DWG documents, and initiating an OGRR related to dynamic data recorders.