## Slide 1
Outage Update
Notes: <number>
<footer>
<header>
<date/time>

## Slide 2: Retail Services
12/7 Outbound Paperfree server encountered an application error processing duplicate transactions. Duration 6.5 hrs
12/9 Outbound Paperfree server encountered an application error processing duplicate transactions. Duration 4 hrs
12/16 NAESB server went down and server was replaced. Duration 12 hrs
12/27 Disk storage (SAN) had a degradation in performance. Duration 7.25 hrs
12/30 Proxy server went down. Duration .25 hrs

## Slide 3: Retail Services
1/11 DNS authentication outage due to security patch application. Duration 2.5 hours
1/15 TCH went unresponsive due to server lockup. Duration .5 hours
1/21 TCH component failure, ticket opened with SeeBeyond. Duration 1 hour
1/21 NAESB outage due to server lockup. Duration .25 hours

## Slide 4: Retail Services

## Slide 5: Retail Services

## Slide 6: Retail Services
HP Openview NNM and Operations
Problem Management and Incident Reports
NAESB vs GISB
95% vs 99% availability
Planned vs Unplanned
Communication
Service Restoration