## Slide 1: Balancing Energy Bid Stack & Non-bid Capacity
Joel Mickey
Manager of Market Operation Support
ERCOT

## Slide 2
ERCOT was asked to do more research on Non-Bid capacity Issue in last WMS meeting

## Slide 3: Non-bid Capacity
Scheduled Obligation is the sum of the scheduled ENE, URS, and RRS of all QSE’s in ERCOT.
The data is average value for January 2005:
Total on-line Capacity | Scheduled Obligation | UBES Bid | Non-Bid | UBES Cleared | Wind Capacity | Offline - Shown Online Capacity
37,868 | 31,535 | 3,279 | 3,055 | 1,123 | 1,152 | 2,136
3,288

## Slide 4
Bid in & Non-bid percentage by QSE
QSE | % of Bid in | % of Non-Bid | QSE | % of Bid in | % of Non-Bid
1 | 0% | 77% | 16 | 5% | 8%
2 | 0% | 73% | 17 | 10% | 6%
3 | 18% | 21% | 18 | 19% | 6%
4 | 0% | 18% | 19 | 26% | 5%
5 | 6% | 18% | 20 | 14% | 5%
6 | 15% | 15% | 21 | 3% | 4%
7 | 12% | 12% | 22 | 5% | 4%
8 | 4% | 12% | 23 | 4% | 3%
9 | 9% | 11% | 24 | 0% | 3%
10 | 11% | 11% | 25 | 0% | 3%
11 | 6% | 11% | 26 | 13% | 2%
12 | 14% | 11% | 27 | 5% | 2%
13 | 10% | 11% | 28 | 12% | 1%
14 | 7% | 9% | 29 | 0% | 1%
15 | 17% | 8% | 30 | 6% | 1%
QSE’s have Wind resource or have Dynamic Schedule

## Slide 5
Distribution of Non-bid percentage
2.5% 943MW
3.3% 1,240MW
22.7% 8,590MW
36.9% 13,968MW
34.7% 13,128MW