| OGRR Number | 162 | OGRR Title | Revisions to Disturbance Monitoring |
| --- | --- | --- | --- |
| ###### Date |  | 3/09/05 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Randy Jones |  |
| E-mail Address |  | rajones@calpine.com |  |
| Company |  | Calpine |  |
| Company Address |  | 4100 Underwood, Pasadena, TX 77507 |  |
| Phone Number |  | (832) 476-4450 |  |
| Fax Number |  | (281) 291-7089 |  |

Comments

Calpine appreciates the need for adequate instrumentation for use in the gathering and analysis of data representing times of transmission system disturbance events.  The benefits of these devices, and their data to transmission system planning and operations are obvious.

The Generation Resources have complied with the reliability and communication requirements listed in applicable Interconnection Agreements. This is to ensure proper protection to the transmission system in the event of an electrical upset at or near the resource’s interconnection point. Most, if not all, Generation Resources have existing capabilities to record and store historical plant operation data that meet the needs of the resource owner’s effort to analyze historical operational events. In few, if any, cases, this data is not stored in synchronization with time recording devices on the transmission system. Having the ability to collect and store this data for comparison with information from similar devices on the transmission system is purely a benefit to the transmission system operator and, therefore, should be considered as no different from any other transmission system element or device.

We believe that these new requirements represent a call for upgrades to the bulk system, and as such, should be funded the same way any new breaker, switch, or relay would be that adds to the reliability of the transmission system.  There is no verbiage included in the OGRR or the existing Operating Guides that makes it clear who shall pay for these upgrades.  As a purely unfunded mandate, this OGRR should be rejected unless and until a clear plan is provided to the market for how the new devices, systems, and their continuing O&M are paid for through the transmission funding process.

Revised Proposed Operating Guide Language