| PRR Number | 552 | PRR Title | Clarification of Relaxed Balanced Schedules |
| --- | --- | --- | --- |
| Date |  | March 11, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jeff Brown |  |
| E-mail Address |  | jbrown@coral-energy.com |  |
| Company |  | Coral Power, LLC |  |
| Company Address |  | 909 Fannin St, Houston, TX 77010 |  |
| Phone Number |  | 713-767-5317 |  |
| Fax Number |  | 713-265-5317 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

After speaking with some of the ERCOT Board members to better understand their concerns, Coral Power has modified the language in PRR 552 to remove the words “ or generation”.  The concern was that the PRR, as previously written, may allow for virtual supply and load within the same transaction.  Given that this was clearly not the intent, we have modified the language accordingly for PRS’s consideration.

Revised Proposed Protocol Language

4.3.2	Schedule Components

Included in each Balanced Schedule is:

(1)	Energy to be produced by Resources that the QSE represents, by Congestion Zone;

(2)	Energy to be consumed by Loads that the QSE represents (including T&D Losses) by Congestion Zone;

(3)	ERCOT allocated Ancillary Services Obligations for the QSE;

(4)	Any energy and Ancillary Services scheduled to or from other QSEs or ERCOT (e.g. Inter-QSE Trades);

(5)	Any Balancing Energy scheduled through the ERCOT Scheduling Process; and

(6)	Any Self-Arranged Ancillary Services.

When relaxed Balanced Schedules are allowed by ERCOT, pursuant to Section 4.3.5, Requirement for Balanced Schedules, the requirement for subpart (2) above shall be relaxed and QSEs, whether or not they represent physical Load , shall be allowed to schedule energy for Load that is equivalent to the amount of scheduled energy for Resources as specified in subpart (1) and (5) above.  Energy scheduled from an RMR resource Unit shall include ERCOT as an Obligation on behalf of Market Participants.

Use of Balancing Energy scheduled via ERCOT to meet Obligations shall be limited to an amount supported by the QSE’s credit collateral with ERCOT.