| PRR Number | 573 | PRR Title | Mothballed Generation Resource Definition and Time to Service Updates |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Urgent | Action |  | Approved |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 1.3.1.1, Items Considered Protected Information; Section 2.1, Definitions; Section 6.5.9.3, Exit Strategy from an RMR Agreement (new) |  |  |
| Effective Date |  | April 1, 2005 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Revision Description |  | This PRR defines mothballed units and requires the responsible Generation Entity to report to ERCOT the estimated lead time required to reliably return the unit to service. Time to service updates are considered Protected Information. |  |  |
| Overall Market Benefit |  | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy |  |  |
| Overall Market Impact |  | Generation Entities responsible for mothballed Generation Resources will be required to file time to service updates when their time to service data changes. |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR573 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - PRR573 was posted on 2/11/05. - An urgent timeline was approved by PRS email vote on 2/11/05. - Austin Energy filed comments on 2/15/05 and Texas Genco filed comments on 2/16/05. - PRS considered PRR573 on 2/17/05. - TAC considered PRR573 on 3/3/05. - The Board of Directors considered PRR573 on 3/15/05. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 2/17/05, PRS recommended approval of PRR573 as revised by PRS. There was one abstention from the Investor Owned Utilities segment. All market segments were present for the vote. |  |  |
| Summary of PRS discussion |  | The PRS Chair explained that urgency for PRR573 stems from the TAC meeting and the latest PUCT Staff memo to the PUCT requesting feedback from TAC on the reserve margin calculation. There was discussion at PRS about the ability for a generator to accurately predict when it will put a mothballed unit back online. There were objections to the biannual filing requirement and having to refile data that hadn’t changed. The PRR language was revised to require data submission only when the data changes. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | TAC unanimously recommended approval of PRR573 as revised by PRS and TAC. All market segments were present. |  |  |
| Summary of TAC discussion |  | TAC discussed whether the lead-time data would be of value to ERCOT. TAC also discussed and modified Section 6.5.9.3, Mothballed Generation Resource Time to Service Updates. |  |  |
| Board Action |  | The Board approved PRR573 as recommended by TAC. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | ERCOT will use the time to service updates in their reserve margin calculations. | NA | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy. |
| MARKET SEGMENT | Generation Entities responsible for mothballed Generation Resources are required to file time to service updates when their time to service information changes. | NA | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy. |
| Consumer | NA | NA | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy. |
| LSE: General, Including NOIE | NA | NA | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy. |
| LSE: CR & REP | NA | NA | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy. |
| QSE | Generation Entities responsible for mothballed Generation Resources will file time to service updates when their time to service data changes. | NA | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy. |
| Resource | Generation Entities responsible for mothballed Generation Resources will file time to service updates when their time to service data changes. | NA | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy. |
| TDSP | NA | NA | Clearer information regarding the status of mothballed units and thus better inputs to reserve margin computations and policy. |

| Original Sponsor |  |
| --- | --- |
| Name | Mark Dreyfus |
| Company | Austin Energy |
| Segment | Municipal |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| Austin Energy 021505 | Revised language requires notice of retirement or sale of Resources |
| Texas Genco 021605 | Revised language changes “Mothballed Generation Resource” to “Generation Resource” in retirement and sale sections. |

Proposed Protocol Language Revision

1.3.1.1	Items Considered Protected Information

“Protected Information” is information containing or revealing:

(1)	Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of Real Time SCE data that may be viewable on-site at ERCOT Facilities;

(2)	Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b);

(3)	Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data;

(4)	Resource Plans;

(5)	Energy and Ancillary Service Schedules identifiable to a specific QSE;

(6)	ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, items (10), (11) and (12);

(7)	Raw and Adjusted Metered Load data (Demand and energy) identifiable to a specific QSE;

(8)	Settlement Statements identifiable to a specific QSE;

(9)	Aggregated raw and Adjusted Metered Load data (Demand and energy), and number of ESI-IDs identifiable to a specific LSE;

(10)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available;

(11)	Resource specific costs, design and engineering data, with the exception of data provided pursuant to Section 1.3.1.2, Items Not Considered Protected Information;

(12)	TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder;

(13)	Renewable Energy Credit account balances;

(14)	Credit Limits identifiable to a specific QSE;

(15)	Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Section 6.5.9, Reliability Must-Run Service;

(16)	Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT;

(17)	Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements;

(18)	QSE and TDSP backup plans collected by ERCOT in compliance with the Protocols or Operating Guides;

(19)	DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information; and

(20)	Any Texas SET transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This item (20) shall not apply to ERCOT in regard to its compliance with PUCT Rules relating to performance measure reporting, these Protocols, or any TAC approved reporting requirements.

(21)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 6.5.9.3, Mothballed Generation Resource Time to Service Updates.

2.1	Definitions

Mothballed Generation Resource

A Generation Resource for which a Generation Entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR Agreement, and for which the Generation Entity has not announced retirement of the Generation Resource.

6.5.9.3	Mothballed Generation Resource Time to Service Updates

By [insert effective date plus thirty days] and thereafter when changes occur, every Generation Entity that owns or controls a Mothballed Generation Resource shall report to ERCOT the estimated lead time required for each Mothballed Generation Resource to be capable of returning to service.