| PRR Number | 575 | PRR Title | Mandatory Down Balancing Ramp Rate |
| --- | --- | --- | --- |
| Date |  | 3/15/05 |  |
| Submitter’s Information |  |  |  |
| Name |  | Gary D. Miller |  |
| E-mail Address |  | gary.d.miller@txu.com |  |
| Company |  | TXU Energy |  |
| Company Address |  | 1717 Main St. Dallas TX 75201 |  |
| Phone Number |  | (214) 875 - 9048 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

In the explanation of benefit for this PRR, ERCOT lists only “increased system reliability” but does not address why this issue is a threat to reliability.   ERCOT needs to supplement its request to change the Protocols by providing explicit reasons for why the Protocols need to be changed.  TXU Energy does not feel that it can fully address this PRR without understanding the reliability issues that ERCOT is attempting to resolve.

Regardless of the reasons behind the request, requiring bidding of and therefore, potential deployment of 100% of mandatory down balancing in 10 minutes, is not always realistic and for many classes (or technologies) of generating resources should not be supported.  Position of units within their range, whether they are on AGC or off AGC, all contributes to the rate at which the fleet can move.  To predetermine this rate by rule is not in the best interest of the market.

Revised Proposed Protocol Language