## Slide 1: PRR 567 Block Bidding of Ancillary Services
Cost Justification
Presentation to PRS
March 17, 2005

## Slide 2: How Does the PRR Benefit the Market?
Improved bidding structure
  Currently potential of 1MW 1 hour strike
  Generators can be bid rationally
  Unit startup costs can be factored in
  Competition between use of capacity for Ancillary Service and DA energy, call option strikes, etc.
Lower costs
  Improved bidding = more offers
  More offers should lead to lower costs

## Slide 3: How to evaluate savings
Clipping effect
  Units that can be started can bid a lower cost
  If bid is struck, effectively “clips” the market price
  Study assumes $50/MW/hr cap to reduce volatility associated with current bidding methodology
Other market benefits
  Capacity and energy used for A/S can be used for a number of other markets such as DA energy forwards
  Call options could also be struck to supply energy for capacity bid into A/S markets
  Thus, Block bidding allows better structuring of A/S offers allowing more capacity to bid into A/S markets

## Slide 4: Clipping Effect
Studied Jan. 1, through March 14, 2005
Results if all prices above $50/MW were clipped:
  January - $6.936M
  February - $741K
  March - $574K
  Total $8.251M
For 2 and ½ months!

## Slide 5: Other Savings
The improved bidding process should provide a general improvement in market performance
Representative of a fixed % reduction of the approximately $250 million A/S market
Hard to know exactly what to expect, however:
  2.0% = $5M/yr
  4.0% = $10M/yr
  6.0% = $15M/yr
  8.0% = $20M/yr
Even on the extreme low end, savings substantially justify the project with only a one year payback

## Slide 6: Other Issues
In meeting w/ERCOT, TXU, and Areva it appears that implementation is very doable using existing computational models that ERCOT owns
ERCOT raised other specific issues:
  Requires system replacement – this should be factored in to the costs of the project
  Tie breaker – could use the first bid submitted in to the market to break ties
  Single MCPC – if the price from a block bid that was selected exceeds the marginal clearing price of a single hour, the MCPC for that hour would be the clearing price for the non-block bid selected bid, because that is the clearing price for the marginal MW of capacity selected.
  Make Whole Payments - blocks bids may require some form of make whole payment if over the course of all the hours that the block was selected, the MCPC did not average out to be equal to our greater than the bid price selected. This can be treated in the same fashion as energy in the future DAM (make whole netted against other “profits” with remainder uplifted). Even with potential uplift, cost will be less than process used today!

## Slide 7
Numeric Example
A QSE offer is struck for $40/MW for 100MW over a four hour period
  Hour 1 – MCPC = $45/MW
  Hour 2 – MCPC = $20/MW
  Hour 3 – MCPC = $45/MW
  Hour 4 – MCPC = $45/MW
Make Whole payment = ($40/MW/hr*100MW*4 hrs) – ($45/MW/hr*100MW*3 hrs + $20/MW/hr*100MW*1 hr) =
$500 to be uplifted (mechanism to be determined)
Bid would only be struck if next available off exceeds $500 additional cost for this capacity

## Slide 8: Other ERCOT Issues Contd.
Managing LAAR limitations – not sure how this mechanism would change existing process
Block Bid carryover for secondary markets:
  It seems like all selected bids (block or hourly) from the first market would be frozen where applicable and the secondary market would solve for the residual obligation using new bids.
  However, if it’s a problem to carry over block bids, requirement could be set to rebid (all block bids thrown out)
How x% requirement would be imposed – since TAC set this very high, is this even an issue? If so, can Areva provide suggestions?
Notification - utilize a PJM style lattice matrix that shows exactly which block bids that were submitted have been awarded. It seems that this should be a straight forward issue to work out.

## Slide 9
Cost / Benefit and Timing
Rough Cost / Benefit Analysis:
  Rough cost estimate to implement (Areva & ERCOT) - $1M
  Removing some of the unnecessary start-up costs risk for generators should significantly improve A/S market liquidity
    Based on 2004 actual A/S auction results, a 2% to 8% reduction in A/S costs would equate to between $7M/yr and $28M/yr of benefit for the market.
    Based on the first 2 ½ months of 2005, assuming that block bidding would clip all of the $50+ prices, block bidding would equate to $8.25M.
  Order of magnitude first year only Cost / Benefit is between 10:1 and 25:1
Timing
  Version 4 missed – day late and $ short
  Version 5 slated for ’06 – to far out, given the strong C/B opportunities
  Given that significant Cost / Benefit opportunities, Market Participants would like the opportunity to examine a mid term project implementation and associated budget review.

## Slide 10
Questions?