| PRR Number | 582 | PRR Title | Initiate RMR Negotiations |
| --- | --- | --- | --- |
| Date |  | March 23, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Barbara Clemenhagen |  |
| E-mail Address |  | bclemenhagen@sempraglobal.com |  |
| Company |  | Sempra Texas Services |  |
| Company Address |  | 2705 Bee Caves Road Suite 340 Austin, Texas 78746 |  |
| Phone Number |  | 512-314-8621 |  |
| Fax Number |  | 512-314-8699 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

CenterPoint proposed this new section to enable ERCOT to re-activate RMR negotiations with a particular Generation Resource that has Mothball status and for which ERCOT has previously indicated no need for RMR Service.

Centerpoint ‘s revision ignores fundamental differences between operating resources and mothballed plant differences that are likely to significantly change costs while providing a different quality of reliability service.  Their proposal attempts to fit a square peg into a round hole.  RMR units are a particular class of resources that (at the time of agreement) are operating but have provided (Section 6.5.9.1) written notification of an intention to cease or suspend operations for greater than one-hundred and eighty (180) days.  The round peg is an operating resource with an intention to cease operations.

A mothballed plant has been permitted to cease operations and as such may not have fuel, staff, equipment, environmental offsets, and other operational essentials.  This square peg may neither be able to provide the services it formerly provided nor may it be the best alternative given its mothball status.

For these reasons, Sempra opposes this PRR language and proposes alternative language that creates proper incentives for either the mothballed resource or other resources to provide a new service that accounts for restart and related costs and considers competitive alternatives that may be temporally, operationally and fiscally equal or superior.

In this case, Sempra supports reasonable evaluation of the alternatives but adamantly opposes a provision that requires an alternative to provide at least $1 million in annual savings over the projected net annualized costs for the mothballed RMR unit.  Protocol section 6.5.9.2 (3)(b) in this case would be unreasonable. .

Revised Proposed Protocol Language

Revise Centerpoint’s proposed new section.

New Section 6.5.9.4:

6.5.9.4 Initiation of RMR Negotiations

If, after having notified a Mothballed Generation Resource that the Resource is not required for RMR service, ERCOT discovers that the Resource is needed for reliability reasons, ERCOT may issue a request for proposals for subsequent reliability services through an MRA following the market Notification and negotiation steps described in sections 6.5.9.1 (2) through (10). MRA’s executed for subsequent reliability service are not subject to the requirements of 6.5.9.2 (3)(b).